Test Report

| To: | Andrew Rose |
| --- | --- |
| From: | Martyn Whitwood |
| Our reference: | Q3192 |
| Project number: | 674209 |
| Date of issue: | 23 September 2013 |

| Subject: | Superbainite |
| --- | --- |

Four samples identified as below were received on 17 September 2013, with a request to determine their retained austenite content by X-ray diffraction.

#### Results

The samples were examined on 20 and 21 September 2013 using the method described in Work Instruction MCP CPE 303.

Sample				% Retained Austenite

13FC5A					15.0

13FC5B					  3.4

13FC5C					  1.6

13FC5D					  7.1

The data files have been supplied to you in CSV format.

The multiline (8 lines in total) method was used and is the method that forms ASTM Designation E 975 – 95 and SAE standards for determination of austenite content. A relative error to within ± 10% or an absolute error to within ± 1% which ever is the greater is associated with the above results. The quoted errors are for samples having near random texture and are likely to be larger for samples with a significant amount of preferred orientation.

Martyn Whitwood

MCP

Pages of text: 1

Total pages: 1