## Navigation
Filename | 980022 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 20 | 1 | 5 | 15 | 19 | 50 | 2 | 5 | 4 | 3 | PHI | 8
Parsed? | YES | 2 | 55 | 65 | 69 | 100 | 2 | 5 | 4 | 3 | PHI | 8
Last row | 1000 | 3 | 105 | 115 | 119 | 150 | 2 | 5 | 4 | 3 | PHI | 8
Number of columns in STRAINS worksheet | 19 | 4 | 155 | 165 | 169 | 200 | 2 | 5 | 4 | 3 | PHI | 8
First drive column in STRAINS worksheet | 5 | 5 | 205 | 215 | 219 | 250 | 2 | 5 | 4 | 3 | PHI | 8
Last drive column in STRAINS worksheet | 13 | 6 | 255 | 265 | 269 | 300 | 2 | 5 | 4 | 3 | PHI | 8
Number of Grids | 0 | 7 | 305 | 315 | 319 | 350 | 2 | 5 | 4 | 3 | PHI | 8
Instrument | L3 | 8 | 355 | 365 | 369 | 400 | 2 | 5 | 4 | 3 | PHI | 8
|  | 9 | 405 | 415 | 419 | 450 | 2 | 5 | 4 | 3 | PHI | 8
|  | 10 | 455 | 465 | 469 | 500 | 2 | 5 | 4 | 3 | PHI | 8
|  | 11 | 505 | 515 | 519 | 550 | 2 | 5 | 4 | 3 | PHI | 8
|  | 12 | 555 | 565 | 569 | 600 | 2 | 5 | 4 | 3 | PHI | 8
|  | 13 | 605 | 615 | 619 | 650 | 2 | 5 | 4 | 3 | PHI | 8
|  | 14 | 655 | 665 | 669 | 700 | 2 | 5 | 4 | 3 | PHI | 8
|  | 15 | 705 | 715 | 719 | 750 | 2 | 5 | 4 | 3 | PHI | 8
|  | 16 | 755 | 765 | 769 | 800 | 2 | 5 | 4 | 3 | PHI | 8
|  | 17 | 805 | 815 | 819 | 850 | 2 | 5 | 4 | 3 | PHI | 8
|  | 18 | 855 | 865 | 869 | 900 | 2 | 5 | 4 | 3 | PHI | 8
|  | 19 | 905 | 915 | 919 | 950 | 2 | 5 | 4 | 3 | PHI | 8
|  | 20 | 955 | 965 | 969 | 1000 | 2 | 5 | 4 | 3 | PHI | 8

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min | I | DI | f | Df | FWHM | DFWHM | Bkgd | DBkgd | Slope | DSlope | c2
1 | 5 | 980022 | 2013-12-16 21:38 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 70968 | 323 | 249 | 9 | 48.1274 | 3.888 | -109.1991 | 0.047533 | 1.7146 | 0.20949 | 3.9347 | 3.1434 | **** | **** | 2.8976
2 | 4 | 980022 | 2013-12-16 21:44 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 232 | 514 | 5 | 97.5264 | 6.6119 | -102.655 | 0.02674 | 1.1171 | 0.063644 | 6.2837 | 1.3469 | **** | **** | 3.2672
3 | 3 | 980022 | 2013-12-16 21:49 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 234 | 403 | 18 | 53.1136 | 2.7903 | -83.4488 | 0.014522 | 0.7441 | 0.032649 | 6.464 | 0.45214 | **** | **** | 1.813
4 | 2 | 980022 | 2013-12-16 21:54 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 196 | 538 | 17 | 56.7775 | 4.3542 | -56.0784 | 0.013576 | 0.49773 | 0.02971 | 5.3297 | 0.44283 | **** | **** | 2.4901
5 | 1 | 980022 | 2013-12-16 21:58 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 113 | 672 | 5 | 114.2324 | 8.5614 | -48.0118 | 0.011669 | 0.4494 | 0.023724 | 4.4319 | 0.55539 | **** | **** | 2.738
6 | 1 | 980022 | 2013-12-16 22:01 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 113 | 612 | 9 | 107.1587 | 7.0708 | -48.018 | 0.01086 | 0.47342 | 0.022883 | 5.7126 | 0.54447 | **** | **** | 2.2919
7 | 2 | 980022 | 2013-12-16 22:03 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 196 | 567 | 22 | 55.0898 | 3.7845 | -56.0777 | 0.011412 | 0.47077 | 0.025088 | 5.1359 | 0.36592 | **** | **** | 2.1859
8 | 3 | 980022 | 2013-12-16 22:07 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 239 | 382 | 18 | 48.9657 | 3.0178 | -83.456 | 0.015793 | 0.68386 | 0.035081 | 6.1942 | 0.46235 | **** | **** | 2.0437
9 | 4 | 980022 | 2013-12-16 22:12 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 238 | 490 | 20 | 86.4604 | 4.2625 | -102.6317 | 0.017632 | 0.96563 | 0.041046 | 9.0255 | 0.87856 | **** | **** | 2.2051
10 | 5 | 980022 | 2013-12-16 22:17 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 701 | 518 | 41 | 36.7817 | 2.157 | -109.2303 | 0.029567 | 1.3275 | 0.092405 | 8.1232 | 1.0414 | **** | **** | 2.6696
11 | 5 | 980022 | 2013-12-16 22:29 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 679 | 521 | 52 | 34.6503 | 2.242 | -109.2305 | 0.031453 | 1.2634 | 0.093909 | 9.574 | 1.0203 | **** | **** | 2.7749
12 | 4 | 980022 | 2013-12-16 22:41 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 230 | 492 | 25 | 86.6472 | 3.8201 | -102.637 | 0.016537 | 1.0087 | 0.039852 | 9.8983 | 0.87026 | **** | **** | 1.9567
13 | 3 | 980022 | 2013-12-16 22:45 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 229 | 459 | 14 | 53.0462 | 3.7666 | -83.4515 | 0.017831 | 0.6855 | 0.039421 | 5.6179 | 0.53125 | **** | **** | 2.4684
14 | 2 | 980022 | 2013-12-16 22:50 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 190 | 544 | 15 | 56.4997 | 3.621 | -56.0809 | 0.010685 | 0.46578 | 0.022794 | 4.967 | 0.34409 | **** | **** | 2.0992
15 | 1 | 980022 | 2013-12-16 22:54 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 110 | 652 | 8 | 109.5858 | 7.4836 | -48.017 | 0.010398 | 0.44416 | 0.022026 | 5.3581 | 0.52399 | **** | **** | 2.389
16 | 1 | 980022 | 2013-12-16 22:57 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 108 | 689 | 7 | 108.182 | 8.8906 | -48.0132 | 0.012976 | 0.45704 | 0.027244 | 5.1835 | 0.63233 | **** | **** | 2.8656
17 | 2 | 980022 | 2013-12-16 22:59 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 192 | 551 | 19 | 57.0018 | 3.5749 | -56.0691 | 0.011122 | 0.49183 | 0.024155 | 5.4933 | 0.36787 | **** | **** | 2.0495
18 | 3 | 980022 | 2013-12-16 23:02 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 230 | 458 | 14 | 53.3502 | 3.6862 | -83.4428 | 0.018143 | 0.71543 | 0.04066 | 6.1338 | 0.55698 | **** | **** | 2.3886
19 | 4 | 980022 | 2013-12-16 23:08 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 229 | 495 | 20 | 88.6872 | 4.1812 | -102.659 | 0.017535 | 1.0004 | 0.041492 | 9.1717 | 0.91082 | **** | **** | 2.1404
20 | 5 | 980022 | 2013-12-16 23:13 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 678 | 556 | 45 | 38.9833 | 2.3843 | -109.2391 | 0.032808 | 1.4379 | 0.11342 | 8.1348 | 1.3917 | **** | **** | 2.8371

## 980022
Runs = | 20
Run : 1 Seq 1 Rec 5 File L3A:980022 Date 16-DEC-2013 21:38:27.84
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 250 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 323 | 70968 | 9 | 24.1449 | Run 1
2 | -110.889 | 323 | 70968 | 15 | 27.9606
3 | -110.774 | 323 | 70968 | 40 | 33.3401
4 | -110.662 | 323 | 70968 | 52 | 40.1656
5 | -110.55 | 323 | 70968 | 65 | 48.772
6 | -110.444 | 323 | 70968 | 82 | 58.6895
7 | -110.331 | 323 | 70968 | 90 | 71.1977
8 | -110.215 | 323 | 70968 | 100 | 86.0038
9 | -110.099 | 323 | 70968 | 90 | 102.4904
10 | -109.984 | 323 | 70968 | 107 | 119.9716
11 | -109.874 | 323 | 70968 | 105 | 137.087
12 | -109.759 | 323 | 70968 | 146 | 154.54
13 | -109.645 | 323 | 70968 | 148 | 170.4418
14 | -109.537 | 323 | 70968 | 201 | 183.3355
15 | -109.422 | 323 | 70968 | 245 | 193.8733
16 | -109.306 | 323 | 70968 | 249 | 200.4339
17 | -109.19 | 323 | 70968 | 247 | 202.4252
18 | -109.075 | 323 | 70968 | 216 | 199.7411
19 | -108.969 | 323 | 70968 | 219 | 193.3242
20 | -108.856 | 323 | 70968 | 178 | 182.7743
21 | -108.741 | 323 | 70968 | 158 | 168.8354
22 | -108.627 | 323 | 70968 | 130 | 152.737
23 | -108.508 | 323 | 70968 | 114 | 134.5703
24 | -108.392 | 323 | 70968 | 89 | 116.5389
25 | -108.285 | 323 | 70968 | 62 | 100.3965
26 | -108.18 | 323 | 70968 | 73 | 85.5698
27 | -108.066 | 323 | 70968 | 88 | 71.0536
28 | -107.946 | 323 | 70968 | 87 | 57.8585
29 | -107.841 | 323 | 70968 | 80 | 48.1613
30 | -107.722 | 323 | 70968 | 74 | 39.205
31 | -107.61 | 323 | 70968 | 67 | 32.5913
32 | -107.502 | 323 | 70968 | 75 | 27.6724
Run : 2 Seq 2 Rec 4 File L3A:980022 Date 16-DEC-2013 21:44:16.89
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 232 | 51000 | 5 | 27.2808 | Run 2
2 | -104.339 | 232 | 51000 | 17 | 27.7179
3 | -104.224 | 232 | 51000 | 39 | 28.7129
4 | -104.112 | 232 | 51000 | 60 | 30.6932
5 | -104 | 232 | 51000 | 61 | 34.4669
6 | -103.894 | 232 | 51000 | 71 | 40.764
7 | -103.781 | 232 | 51000 | 59 | 51.9635
8 | -103.665 | 232 | 51000 | 105 | 70.3253
9 | -103.549 | 232 | 51000 | 102 | 97.8005
10 | -103.434 | 232 | 51000 | 132 | 135.5863
11 | -103.324 | 232 | 51000 | 145 | 181.7087
12 | -103.209 | 232 | 51000 | 212 | 238.4714
13 | -103.095 | 232 | 51000 | 258 | 299.0224
14 | -102.987 | 232 | 51000 | 375 | 354.386
15 | -102.872 | 232 | 51000 | 423 | 403.6867
16 | -102.756 | 232 | 51000 | 445 | 435.8567
17 | -102.64 | 232 | 51000 | 514 | 445.0149
18 | -102.525 | 232 | 51000 | 461 | 429.8045
19 | -102.419 | 232 | 51000 | 416 | 396.5305
20 | -102.306 | 232 | 51000 | 338 | 346.0448
21 | -102.191 | 232 | 51000 | 274 | 286.1901
22 | -102.077 | 232 | 51000 | 213 | 226.054
23 | -101.958 | 232 | 51000 | 139 | 169.0773
24 | -101.842 | 232 | 51000 | 101 | 123.2581
25 | -101.735 | 232 | 51000 | 89 | 90.738
26 | -101.63 | 232 | 51000 | 72 | 67.471
27 | -101.516 | 232 | 51000 | 81 | 50.373
28 | -101.396 | 232 | 51000 | 62 | 39.309
29 | -101.291 | 232 | 51000 | 60 | 33.6524
30 | -101.172 | 232 | 51000 | 68 | 30.1074
31 | -101.06 | 232 | 51000 | 79 | 28.4179
32 | -100.952 | 232 | 51000 | 71 | 27.6153
Run : 3 Seq 3 Rec 3 File L3A:980022 Date 16-DEC-2013 21:48:43.05
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 234 | 51000 | 25 | 41.6207 | Run 3
2 | -85.139 | 234 | 51000 | 18 | 41.6209
3 | -85.024 | 234 | 51000 | 34 | 41.6221
4 | -84.912 | 234 | 51000 | 45 | 41.6282
5 | -84.8 | 234 | 51000 | 39 | 41.6573
6 | -84.694 | 234 | 51000 | 54 | 41.766
7 | -84.581 | 234 | 51000 | 52 | 42.1784
8 | -84.465 | 234 | 51000 | 46 | 43.5633
9 | -84.349 | 234 | 51000 | 68 | 47.534
10 | -84.234 | 234 | 51000 | 68 | 57.2278
11 | -84.124 | 234 | 51000 | 92 | 76.5079
12 | -84.009 | 234 | 51000 | 122 | 112.6793
13 | -83.895 | 234 | 51000 | 148 | 167.8343
14 | -83.787 | 234 | 51000 | 218 | 234.5165
15 | -83.672 | 234 | 51000 | 301 | 308.1274
16 | -83.556 | 234 | 51000 | 357 | 364.4994
17 | -83.44 | 234 | 51000 | 403 | 383.4772
18 | -83.325 | 234 | 51000 | 402 | 358.331
19 | -83.219 | 234 | 51000 | 293 | 304.122
20 | -83.106 | 234 | 51000 | 243 | 231.4653
21 | -82.991 | 234 | 51000 | 144 | 161.3367
22 | -82.877 | 234 | 51000 | 92 | 108.1286
23 | -82.758 | 234 | 51000 | 74 | 72.9606
24 | -82.642 | 234 | 51000 | 66 | 54.7511
25 | -82.535 | 234 | 51000 | 66 | 46.8432
26 | -82.43 | 234 | 51000 | 58 | 43.5111
27 | -82.316 | 234 | 51000 | 54 | 42.1742
28 | -82.196 | 234 | 51000 | 56 | 41.7527
29 | -82.091 | 234 | 51000 | 43 | 41.6541
30 | -81.972 | 234 | 51000 | 50 | 41.6269
31 | -81.86 | 234 | 51000 | 40 | 41.6218
32 | -81.752 | 234 | 51000 | 41 | 41.6209
Run : 4 Seq 4 Rec 2 File L3A:980022 Date 16-DEC-2013 21:53:41.02
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 70 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 196 | 42000 | 17 | 42.2499 | Run 4
2 | -57.739 | 196 | 42000 | 22 | 42.2499
3 | -57.624 | 196 | 42000 | 21 | 42.2499
4 | -57.512 | 196 | 42000 | 44 | 42.2499
5 | -57.4 | 196 | 42000 | 37 | 42.2499
6 | -57.294 | 196 | 42000 | 51 | 42.25
7 | -57.181 | 196 | 42000 | 37 | 42.2505
8 | -57.065 | 196 | 42000 | 48 | 42.2583
9 | -56.949 | 196 | 42000 | 65 | 42.3432
10 | -56.834 | 196 | 42000 | 60 | 43.006
11 | -56.724 | 196 | 42000 | 56 | 46.4932
12 | -56.609 | 196 | 42000 | 79 | 61.5296
13 | -56.495 | 196 | 42000 | 113 | 106.8002
14 | -56.387 | 196 | 42000 | 193 | 197.3239
15 | -56.272 | 196 | 42000 | 288 | 338.189
16 | -56.156 | 196 | 42000 | 503 | 463.0379
17 | -56.04 | 196 | 42000 | 538 | 484.9582
18 | -55.925 | 196 | 42000 | 381 | 388.0792
19 | -55.819 | 196 | 42000 | 232 | 254.1528
20 | -55.706 | 196 | 42000 | 116 | 137.5472
21 | -55.591 | 196 | 42000 | 107 | 73.7592
22 | -55.477 | 196 | 42000 | 86 | 50.1039
23 | -55.358 | 196 | 42000 | 59 | 43.6005
24 | -55.242 | 196 | 42000 | 70 | 42.4289
25 | -55.135 | 196 | 42000 | 46 | 42.2712
26 | -55.03 | 196 | 42000 | 59 | 42.252
27 | -54.916 | 196 | 42000 | 43 | 42.2501
28 | -54.796 | 196 | 42000 | 39 | 42.2499
29 | -54.691 | 196 | 42000 | 59 | 42.2499
30 | -54.572 | 196 | 42000 | 54 | 42.2499
31 | -54.46 | 196 | 42000 | 49 | 42.2499
32 | -54.352 | 196 | 42000 | 51 | 42.2499
Run : 5 Seq 5 Rec 1 File L3A:980022 Date 16-DEC-2013 21:58:23.68
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 40 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 113 | 24000 | 5 | 22.235 | Run 5
2 | -49.639 | 113 | 24000 | 13 | 22.235
3 | -49.524 | 113 | 24000 | 11 | 22.235
4 | -49.412 | 113 | 24000 | 9 | 22.235
5 | -49.3 | 113 | 24000 | 26 | 22.235
6 | -49.194 | 113 | 24000 | 23 | 22.235
7 | -49.081 | 113 | 24000 | 31 | 22.2351
8 | -48.965 | 113 | 24000 | 33 | 22.2372
9 | -48.849 | 113 | 24000 | 40 | 22.2729
10 | -48.734 | 113 | 24000 | 39 | 22.6803
11 | -48.624 | 113 | 24000 | 43 | 25.5755
12 | -48.509 | 113 | 24000 | 53 | 41.4863
13 | -48.395 | 113 | 24000 | 79 | 98.5895
14 | -48.287 | 113 | 24000 | 197 | 224.8932
15 | -48.172 | 113 | 24000 | 465 | 425.2008
16 | -48.056 | 113 | 24000 | 672 | 580.195
17 | -47.94 | 113 | 24000 | 521 | 556.1617
18 | -47.825 | 113 | 24000 | 325 | 377.1607
19 | -47.719 | 113 | 24000 | 204 | 198.839
20 | -47.606 | 113 | 24000 | 105 | 81.9793
21 | -47.491 | 113 | 24000 | 59 | 36.0685
22 | -47.377 | 113 | 24000 | 45 | 24.5019
23 | -47.258 | 113 | 24000 | 49 | 22.4695
24 | -47.142 | 113 | 24000 | 33 | 22.2526
25 | -47.035 | 113 | 24000 | 35 | 22.2361
26 | -46.93 | 113 | 24000 | 33 | 22.235
27 | -46.816 | 113 | 24000 | 26 | 22.235
28 | -46.696 | 113 | 24000 | 37 | 22.235
29 | -46.591 | 113 | 24000 | 33 | 22.235
30 | -46.472 | 113 | 24000 | 27 | 22.235
31 | -46.36 | 113 | 24000 | 27 | 22.235
32 | -46.252 | 113 | 24000 | 28 | 22.235
Run : 6 Seq 6 Rec 1 File L3A:980022 Date 16-DEC-2013 22:00:46.95
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 40 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 113 | 24000 | 9 | 27.2065 | Run 6
2 | -49.639 | 113 | 24000 | 13 | 27.2065
3 | -49.524 | 113 | 24000 | 20 | 27.2065
4 | -49.412 | 113 | 24000 | 23 | 27.2065
5 | -49.3 | 113 | 24000 | 29 | 27.2065
6 | -49.194 | 113 | 24000 | 31 | 27.2065
7 | -49.081 | 113 | 24000 | 27 | 27.2069
8 | -48.965 | 113 | 24000 | 26 | 27.2143
9 | -48.849 | 113 | 24000 | 40 | 27.3061
10 | -48.734 | 113 | 24000 | 43 | 28.1059
11 | -48.624 | 113 | 24000 | 58 | 32.6412
12 | -48.509 | 113 | 24000 | 58 | 53.0822
13 | -48.395 | 113 | 24000 | 105 | 115.2019
14 | -48.287 | 113 | 24000 | 193 | 235.7697
15 | -48.172 | 113 | 24000 | 457 | 407.8575
16 | -48.056 | 113 | 24000 | 612 | 528.5377
17 | -47.94 | 113 | 24000 | 482 | 500.5056
18 | -47.825 | 113 | 24000 | 291 | 349.0462
19 | -47.719 | 113 | 24000 | 199 | 196.0149
20 | -47.606 | 113 | 24000 | 118 | 89.6786
21 | -47.491 | 113 | 24000 | 57 | 43.6301
22 | -47.377 | 113 | 24000 | 55 | 30.3691
23 | -47.258 | 113 | 24000 | 33 | 27.6085
24 | -47.142 | 113 | 24000 | 34 | 27.2449
25 | -47.035 | 113 | 24000 | 27 | 27.2098
26 | -46.93 | 113 | 24000 | 25 | 27.2067
27 | -46.816 | 113 | 24000 | 37 | 27.2065
28 | -46.696 | 113 | 24000 | 38 | 27.2065
29 | -46.591 | 113 | 24000 | 37 | 27.2065
30 | -46.472 | 113 | 24000 | 31 | 27.2065
31 | -46.36 | 113 | 24000 | 26 | 27.2065
32 | -46.252 | 113 | 24000 | 41 | 27.2065
Run : 7 Seq 7 Rec 2 File L3A:980022 Date 16-DEC-2013 22:02:46.51
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 70 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 196 | 42000 | 22 | 43.0454 | Run 7
2 | -57.739 | 196 | 42000 | 22 | 43.0454
3 | -57.624 | 196 | 42000 | 28 | 43.0454
4 | -57.512 | 196 | 42000 | 30 | 43.0454
5 | -57.4 | 196 | 42000 | 46 | 43.0454
6 | -57.294 | 196 | 42000 | 43 | 43.0454
7 | -57.181 | 196 | 42000 | 48 | 43.0455
8 | -57.065 | 196 | 42000 | 45 | 43.0478
9 | -56.949 | 196 | 42000 | 54 | 43.0801
10 | -56.834 | 196 | 42000 | 60 | 43.4055
11 | -56.724 | 196 | 42000 | 57 | 45.5269
12 | -56.609 | 196 | 42000 | 89 | 56.5515
13 | -56.495 | 196 | 42000 | 104 | 95.2985
14 | -56.387 | 196 | 42000 | 152 | 182.5226
15 | -56.272 | 196 | 42000 | 313 | 330.9162
16 | -56.156 | 196 | 42000 | 512 | 470.6498
17 | -56.04 | 196 | 42000 | 567 | 496.6421
18 | -55.925 | 196 | 42000 | 340 | 387.9867
19 | -55.819 | 196 | 42000 | 219 | 242.9629
20 | -55.706 | 196 | 42000 | 132 | 125.0538
21 | -55.591 | 196 | 42000 | 100 | 66.8993
22 | -55.477 | 196 | 42000 | 77 | 48.1047
23 | -55.358 | 196 | 42000 | 54 | 43.7541
24 | -55.242 | 196 | 42000 | 52 | 43.1196
25 | -55.135 | 196 | 42000 | 45 | 43.0523
26 | -55.03 | 196 | 42000 | 50 | 43.0459
27 | -54.916 | 196 | 42000 | 50 | 43.0455
28 | -54.796 | 196 | 42000 | 54 | 43.0454
29 | -54.691 | 196 | 42000 | 46 | 43.0454
30 | -54.572 | 196 | 42000 | 48 | 43.0454
31 | -54.46 | 196 | 42000 | 38 | 43.0454
32 | -54.352 | 196 | 42000 | 48 | 43.0454
Run : 8 Seq 8 Rec 3 File L3A:980022 Date 16-DEC-2013 22:06:34.15
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 239 | 51000 | 24 | 43.3965 | Run 8
2 | -85.139 | 239 | 51000 | 18 | 43.3965
3 | -85.024 | 239 | 51000 | 34 | 43.3967
4 | -84.912 | 239 | 51000 | 33 | 43.3977
5 | -84.8 | 239 | 51000 | 58 | 43.4042
6 | -84.694 | 239 | 51000 | 47 | 43.4353
7 | -84.581 | 239 | 51000 | 63 | 43.5857
8 | -84.465 | 239 | 51000 | 47 | 44.2172
9 | -84.349 | 239 | 51000 | 46 | 46.4319
10 | -84.234 | 239 | 51000 | 65 | 52.8803
11 | -84.124 | 239 | 51000 | 85 | 67.747
12 | -84.009 | 239 | 51000 | 87 | 99.3759
13 | -83.895 | 239 | 51000 | 163 | 152.8399
14 | -83.787 | 239 | 51000 | 195 | 222.5789
15 | -83.672 | 239 | 51000 | 316 | 303.562
16 | -83.556 | 239 | 51000 | 378 | 366.7072
17 | -83.44 | 239 | 51000 | 382 | 385.9272
18 | -83.325 | 239 | 51000 | 380 | 353.2565
19 | -83.219 | 239 | 51000 | 281 | 289.2764
20 | -83.106 | 239 | 51000 | 196 | 209.3288
21 | -82.991 | 239 | 51000 | 135 | 138.5899
22 | -82.877 | 239 | 51000 | 90 | 90.4038
23 | -82.758 | 239 | 51000 | 63 | 62.4904
24 | -82.642 | 239 | 51000 | 66 | 50.1465
25 | -82.535 | 239 | 51000 | 70 | 45.642
26 | -82.43 | 239 | 51000 | 53 | 44.0648
27 | -82.316 | 239 | 51000 | 67 | 43.5511
28 | -82.196 | 239 | 51000 | 46 | 43.4245
29 | -82.091 | 239 | 51000 | 51 | 43.402
30 | -81.972 | 239 | 51000 | 40 | 43.3972
31 | -81.86 | 239 | 51000 | 61 | 43.3966
32 | -81.752 | 239 | 51000 | 67 | 43.3965
Run : 9 Seq 9 Rec 4 File L3A:980022 Date 16-DEC-2013 22:12:00.26
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 238 | 51000 | 21 | 44.8051 | Run 9
2 | -104.339 | 238 | 51000 | 20 | 44.8554
3 | -104.224 | 238 | 51000 | 37 | 45.0097
4 | -104.112 | 238 | 51000 | 44 | 45.4163
5 | -104 | 238 | 51000 | 64 | 46.4206
6 | -103.894 | 238 | 51000 | 57 | 48.5372
7 | -103.781 | 238 | 51000 | 71 | 53.2267
8 | -103.665 | 238 | 51000 | 91 | 62.711
9 | -103.549 | 238 | 51000 | 101 | 79.919
10 | -103.434 | 238 | 51000 | 110 | 108.0447
11 | -103.324 | 238 | 51000 | 159 | 147.9311
12 | -103.209 | 238 | 51000 | 181 | 204.0098
13 | -103.095 | 238 | 51000 | 237 | 271.3613
14 | -102.987 | 238 | 51000 | 328 | 339.4931
15 | -102.872 | 238 | 51000 | 402 | 406.0722
16 | -102.756 | 238 | 51000 | 479 | 454.4967
17 | -102.64 | 238 | 51000 | 490 | 473.6799
18 | -102.525 | 238 | 51000 | 469 | 459.4971
19 | -102.419 | 238 | 51000 | 435 | 419.7872
20 | -102.306 | 238 | 51000 | 369 | 357.7361
21 | -102.191 | 238 | 51000 | 290 | 285.5918
22 | -102.077 | 238 | 51000 | 202 | 216.6301
23 | -101.958 | 238 | 51000 | 140 | 156.0532
24 | -101.842 | 238 | 51000 | 111 | 111.9522
25 | -101.735 | 238 | 51000 | 69 | 84.0613
26 | -101.63 | 238 | 51000 | 77 | 66.4969
27 | -101.516 | 238 | 51000 | 69 | 55.3756
28 | -101.396 | 238 | 51000 | 70 | 49.3597
29 | -101.291 | 238 | 51000 | 62 | 46.8297
30 | -101.172 | 238 | 51000 | 66 | 45.5419
31 | -101.06 | 238 | 51000 | 55 | 45.0586
32 | -100.952 | 238 | 51000 | 81 | 44.8791
Run : 10 Seq 10 Rec 5 File L3A:980022 Date 16-DEC-2013 22:17:01.35
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 250 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 701 | 150000 | 65 | 89.0915 | Run 10
2 | -110.889 | 701 | 150000 | 41 | 91.3789
3 | -110.774 | 701 | 150000 | 82 | 95.4199
4 | -110.662 | 701 | 150000 | 127 | 101.7539
5 | -110.55 | 701 | 150000 | 102 | 111.4389
6 | -110.444 | 701 | 150000 | 138 | 124.693
7 | -110.331 | 701 | 150000 | 209 | 144.272
8 | -110.215 | 701 | 150000 | 203 | 171.1552
9 | -110.099 | 701 | 150000 | 195 | 205.3382
10 | -109.984 | 701 | 150000 | 231 | 245.9755
11 | -109.874 | 701 | 150000 | 247 | 289.6815
12 | -109.759 | 701 | 150000 | 311 | 337.7579
13 | -109.645 | 701 | 150000 | 387 | 384.1309
14 | -109.537 | 701 | 150000 | 431 | 422.979
15 | -109.422 | 701 | 150000 | 482 | 454.7554
16 | -109.306 | 701 | 150000 | 518 | 473.1835
17 | -109.19 | 701 | 150000 | 502 | 475.6878
18 | -109.075 | 701 | 150000 | 464 | 462.1413
19 | -108.969 | 701 | 150000 | 455 | 436.9061
20 | -108.856 | 701 | 150000 | 399 | 399.4314
21 | -108.741 | 701 | 150000 | 341 | 354.1195
22 | -108.627 | 701 | 150000 | 269 | 306.4411
23 | -108.508 | 701 | 150000 | 235 | 258.0379
24 | -108.392 | 701 | 150000 | 187 | 215.4523
25 | -108.285 | 701 | 150000 | 182 | 181.9329
26 | -108.18 | 701 | 150000 | 162 | 155.0541
27 | -108.066 | 701 | 150000 | 148 | 132.492
28 | -107.946 | 701 | 150000 | 141 | 115.3669
29 | -107.841 | 701 | 150000 | 153 | 104.9636
30 | -107.722 | 701 | 150000 | 142 | 97.1197
31 | -107.61 | 701 | 150000 | 128 | 92.5049
32 | -107.502 | 701 | 150000 | 143 | 89.7826
Run : 11 Seq 11 Rec 5 File L3A:980022 Date 16-DEC-2013 22:29:08.10
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 250 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 679 | 150000 | 73 | 108.4823 | Run 11
2 | -110.889 | 679 | 150000 | 52 | 110.035
3 | -110.774 | 679 | 150000 | 90 | 112.9492
4 | -110.662 | 679 | 150000 | 135 | 117.7832
5 | -110.55 | 679 | 150000 | 142 | 125.569
6 | -110.444 | 679 | 150000 | 171 | 136.7314
7 | -110.331 | 679 | 150000 | 179 | 153.9476
8 | -110.215 | 679 | 150000 | 191 | 178.5712
9 | -110.099 | 679 | 150000 | 216 | 211.0598
10 | -109.984 | 679 | 150000 | 260 | 250.9563
11 | -109.874 | 679 | 150000 | 264 | 295.0588
12 | -109.759 | 679 | 150000 | 325 | 344.7158
13 | -109.645 | 679 | 150000 | 354 | 393.5555
14 | -109.537 | 679 | 150000 | 430 | 435.0804
15 | -109.422 | 679 | 150000 | 500 | 469.4091
16 | -109.306 | 679 | 150000 | 497 | 489.4433
17 | -109.19 | 679 | 150000 | 521 | 492.1436
18 | -109.075 | 679 | 150000 | 517 | 477.341
19 | -108.969 | 679 | 150000 | 465 | 449.95
20 | -108.856 | 679 | 150000 | 434 | 409.6731
21 | -108.741 | 679 | 150000 | 346 | 361.6576
22 | -108.627 | 679 | 150000 | 288 | 312.0538
23 | -108.508 | 679 | 150000 | 234 | 262.8423
24 | -108.392 | 679 | 150000 | 176 | 220.7265
25 | -108.285 | 679 | 150000 | 179 | 188.5707
26 | -108.18 | 679 | 150000 | 182 | 163.614
27 | -108.066 | 679 | 150000 | 173 | 143.4348
28 | -107.946 | 679 | 150000 | 177 | 128.7815
29 | -107.841 | 679 | 150000 | 174 | 120.2905
30 | -107.722 | 679 | 150000 | 141 | 114.2027
31 | -107.61 | 679 | 150000 | 153 | 110.8189
32 | -107.502 | 679 | 150000 | 175 | 108.9355
Run : 12 Seq 12 Rec 4 File L3A:980022 Date 16-DEC-2013 22:40:33.93
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 230 | 51000 | 25 | 47.068 | Run 12
2 | -104.339 | 230 | 51000 | 30 | 47.1675
3 | -104.224 | 230 | 51000 | 29 | 47.4445
4 | -104.112 | 230 | 51000 | 47 | 48.1102
5 | -104 | 230 | 51000 | 59 | 49.6206
6 | -103.894 | 230 | 51000 | 67 | 52.5694
7 | -103.781 | 230 | 51000 | 73 | 58.6494
8 | -103.665 | 230 | 51000 | 69 | 70.1307
9 | -103.549 | 230 | 51000 | 102 | 89.694
10 | -103.434 | 230 | 51000 | 151 | 119.9245
11 | -103.324 | 230 | 51000 | 168 | 160.7651
12 | -103.209 | 230 | 51000 | 190 | 215.7787
13 | -103.095 | 230 | 51000 | 253 | 279.4078
14 | -102.987 | 230 | 51000 | 303 | 341.7832
15 | -102.872 | 230 | 51000 | 415 | 401.0803
16 | -102.756 | 230 | 51000 | 463 | 442.9908
17 | -102.64 | 230 | 51000 | 478 | 458.5501
18 | -102.525 | 230 | 51000 | 492 | 444.723
19 | -102.419 | 230 | 51000 | 401 | 408.5595
20 | -102.306 | 230 | 51000 | 369 | 352.3242
21 | -102.191 | 230 | 51000 | 278 | 286.3413
22 | -102.077 | 230 | 51000 | 196 | 222.1072
23 | -101.958 | 230 | 51000 | 161 | 164.1748
24 | -101.842 | 230 | 51000 | 108 | 120.5391
25 | -101.735 | 230 | 51000 | 92 | 91.8422
26 | -101.63 | 230 | 51000 | 79 | 72.9762
27 | -101.516 | 230 | 51000 | 72 | 60.4186
28 | -101.396 | 230 | 51000 | 74 | 53.2059
29 | -101.291 | 230 | 51000 | 67 | 49.9677
30 | -101.172 | 230 | 51000 | 59 | 48.2011
31 | -101.06 | 230 | 51000 | 63 | 47.483
32 | -100.952 | 230 | 51000 | 75 | 47.1935
Run : 13 Seq 13 Rec 3 File L3A:980022 Date 16-DEC-2013 22:44:50.79
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 229 | 51000 | 14 | 39.2653 | Run 13
2 | -85.139 | 229 | 51000 | 15 | 39.2653
3 | -85.024 | 229 | 51000 | 30 | 39.2654
4 | -84.912 | 229 | 51000 | 32 | 39.2665
5 | -84.8 | 229 | 51000 | 43 | 39.2734
6 | -84.694 | 229 | 51000 | 58 | 39.3063
7 | -84.581 | 229 | 51000 | 59 | 39.4648
8 | -84.465 | 229 | 51000 | 57 | 40.1302
9 | -84.349 | 229 | 51000 | 52 | 42.4642
10 | -84.234 | 229 | 51000 | 63 | 49.267
11 | -84.124 | 229 | 51000 | 79 | 64.981
12 | -84.009 | 229 | 51000 | 100 | 98.5115
13 | -83.895 | 229 | 51000 | 145 | 155.4298
14 | -83.787 | 229 | 51000 | 226 | 230.1005
15 | -83.672 | 229 | 51000 | 293 | 317.5581
16 | -83.556 | 229 | 51000 | 376 | 386.8863
17 | -83.44 | 229 | 51000 | 459 | 409.7315
18 | -83.325 | 229 | 51000 | 408 | 376.6153
19 | -83.219 | 229 | 51000 | 301 | 308.7704
20 | -83.106 | 229 | 51000 | 211 | 222.5811
21 | -82.991 | 229 | 51000 | 126 | 145.3573
22 | -82.877 | 229 | 51000 | 88 | 92.1505
23 | -82.758 | 229 | 51000 | 69 | 60.9761
24 | -82.642 | 229 | 51000 | 74 | 47.0261
25 | -82.535 | 229 | 51000 | 72 | 41.8754
26 | -82.43 | 229 | 51000 | 57 | 40.0509
27 | -82.316 | 229 | 51000 | 48 | 39.4494
28 | -82.196 | 229 | 51000 | 40 | 39.2991
29 | -82.091 | 229 | 51000 | 54 | 39.272
30 | -81.972 | 229 | 51000 | 55 | 39.2662
31 | -81.86 | 229 | 51000 | 45 | 39.2654
32 | -81.752 | 229 | 51000 | 63 | 39.2653
Run : 14 Seq 14 Rec 2 File L3A:980022 Date 16-DEC-2013 22:49:42.70
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 70 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 190 | 42000 | 15 | 42.0753 | Run 14
2 | -57.739 | 190 | 42000 | 27 | 42.0753
3 | -57.624 | 190 | 42000 | 39 | 42.0753
4 | -57.512 | 190 | 42000 | 42 | 42.0753
5 | -57.4 | 190 | 42000 | 45 | 42.0753
6 | -57.294 | 190 | 42000 | 44 | 42.0754
7 | -57.181 | 190 | 42000 | 48 | 42.0754
8 | -57.065 | 190 | 42000 | 39 | 42.0774
9 | -56.949 | 190 | 42000 | 46 | 42.1068
10 | -56.834 | 190 | 42000 | 56 | 42.4159
11 | -56.724 | 190 | 42000 | 61 | 44.4996
12 | -56.609 | 190 | 42000 | 76 | 55.6309
13 | -56.495 | 190 | 42000 | 99 | 95.5633
14 | -56.387 | 190 | 42000 | 157 | 186.603
15 | -56.272 | 190 | 42000 | 338 | 342.1945
16 | -56.156 | 190 | 42000 | 544 | 487.399
17 | -56.04 | 190 | 42000 | 516 | 510.5581
18 | -55.925 | 190 | 42000 | 369 | 392.8947
19 | -55.819 | 190 | 42000 | 230 | 241.2744
20 | -55.706 | 190 | 42000 | 116 | 121.4919
21 | -55.591 | 190 | 42000 | 101 | 64.3568
22 | -55.477 | 190 | 42000 | 68 | 46.6031
23 | -55.358 | 190 | 42000 | 56 | 42.6773
24 | -55.242 | 190 | 42000 | 59 | 42.1348
25 | -55.135 | 190 | 42000 | 55 | 42.0805
26 | -55.03 | 190 | 42000 | 44 | 42.0757
27 | -54.916 | 190 | 42000 | 56 | 42.0754
28 | -54.796 | 190 | 42000 | 35 | 42.0753
29 | -54.691 | 190 | 42000 | 34 | 42.0753
30 | -54.572 | 190 | 42000 | 55 | 42.0753
31 | -54.46 | 190 | 42000 | 40 | 42.0753
32 | -54.352 | 190 | 42000 | 45 | 42.0753
Run : 15 Seq 15 Rec 1 File L3A:980022 Date 16-DEC-2013 22:54:19.73
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 40 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 110 | 24000 | 21 | 27.1992 | Run 15
2 | -49.639 | 110 | 24000 | 8 | 27.1992
3 | -49.524 | 110 | 24000 | 16 | 27.1992
4 | -49.412 | 110 | 24000 | 20 | 27.1992
5 | -49.3 | 110 | 24000 | 24 | 27.1992
6 | -49.194 | 110 | 24000 | 31 | 27.1992
7 | -49.081 | 110 | 24000 | 24 | 27.1993
8 | -48.965 | 110 | 24000 | 33 | 27.201
9 | -48.849 | 110 | 24000 | 39 | 27.2323
10 | -48.734 | 110 | 24000 | 33 | 27.6042
11 | -48.624 | 110 | 24000 | 37 | 30.335
12 | -48.509 | 110 | 24000 | 65 | 45.7252
13 | -48.395 | 110 | 24000 | 91 | 101.8712
14 | -48.287 | 110 | 24000 | 187 | 226.8759
15 | -48.172 | 110 | 24000 | 461 | 424.0728
16 | -48.056 | 110 | 24000 | 652 | 571.7191
17 | -47.94 | 110 | 24000 | 535 | 539.0106
18 | -47.825 | 110 | 24000 | 298 | 358.5522
19 | -47.719 | 110 | 24000 | 176 | 186.8832
20 | -47.606 | 110 | 24000 | 135 | 78.9892
21 | -47.491 | 110 | 24000 | 74 | 38.5895
22 | -47.377 | 110 | 24000 | 40 | 28.9579
23 | -47.258 | 110 | 24000 | 38 | 27.3687
24 | -47.142 | 110 | 24000 | 36 | 27.211
25 | -47.035 | 110 | 24000 | 34 | 27.1999
26 | -46.93 | 110 | 24000 | 36 | 27.1993
27 | -46.816 | 110 | 24000 | 31 | 27.1992
28 | -46.696 | 110 | 24000 | 34 | 27.1992
29 | -46.591 | 110 | 24000 | 25 | 27.1992
30 | -46.472 | 110 | 24000 | 31 | 27.1992
31 | -46.36 | 110 | 24000 | 30 | 27.1992
32 | -46.252 | 110 | 24000 | 41 | 27.1992
Run : 16 Seq 16 Rec 1 File L3A:980022 Date 16-DEC-2013 22:56:43.04
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 40 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 108 | 24000 | 7 | 25.5707 | Run 16
2 | -49.639 | 108 | 24000 | 8 | 25.5707
3 | -49.524 | 108 | 24000 | 23 | 25.5707
4 | -49.412 | 108 | 24000 | 31 | 25.5707
5 | -49.3 | 108 | 24000 | 27 | 25.5707
6 | -49.194 | 108 | 24000 | 24 | 25.5707
7 | -49.081 | 108 | 24000 | 28 | 25.5708
8 | -48.965 | 108 | 24000 | 37 | 25.5739
9 | -48.849 | 108 | 24000 | 39 | 25.6208
10 | -48.734 | 108 | 24000 | 30 | 26.1103
11 | -48.624 | 108 | 24000 | 48 | 29.342
12 | -48.509 | 108 | 24000 | 55 | 45.993
13 | -48.395 | 108 | 24000 | 85 | 102.6353
14 | -48.287 | 108 | 24000 | 184 | 222.8323
15 | -48.172 | 108 | 24000 | 453 | 407.3899
16 | -48.056 | 108 | 24000 | 689 | 546.4093
17 | -47.94 | 108 | 24000 | 465 | 522.6389
18 | -47.825 | 108 | 24000 | 311 | 359.1287
19 | -47.719 | 108 | 24000 | 182 | 194.789
20 | -47.606 | 108 | 24000 | 145 | 84.6735
21 | -47.491 | 108 | 24000 | 67 | 39.8774
22 | -47.377 | 108 | 24000 | 46 | 28.0501
23 | -47.258 | 108 | 24000 | 39 | 25.8461
24 | -47.142 | 108 | 24000 | 48 | 25.5932
25 | -47.035 | 108 | 24000 | 40 | 25.5723
26 | -46.93 | 108 | 24000 | 20 | 25.5708
27 | -46.816 | 108 | 24000 | 34 | 25.5707
28 | -46.696 | 108 | 24000 | 35 | 25.5707
29 | -46.591 | 108 | 24000 | 31 | 25.5707
30 | -46.472 | 108 | 24000 | 30 | 25.5707
31 | -46.36 | 108 | 24000 | 34 | 25.5707
32 | -46.252 | 108 | 24000 | 31 | 25.5707
Run : 17 Seq 17 Rec 2 File L3A:980022 Date 16-DEC-2013 22:58:40.74
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 70 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 192 | 42000 | 19 | 44.0691 | Run 17
2 | -57.739 | 192 | 42000 | 26 | 44.0691
3 | -57.624 | 192 | 42000 | 31 | 44.0691
4 | -57.512 | 192 | 42000 | 40 | 44.0691
5 | -57.4 | 192 | 42000 | 48 | 44.0691
6 | -57.294 | 192 | 42000 | 54 | 44.0691
7 | -57.181 | 192 | 42000 | 49 | 44.0694
8 | -57.065 | 192 | 42000 | 52 | 44.0744
9 | -56.949 | 192 | 42000 | 55 | 44.1331
10 | -56.834 | 192 | 42000 | 53 | 44.6284
11 | -56.724 | 192 | 42000 | 74 | 47.4195
12 | -56.609 | 192 | 42000 | 62 | 60.2529
13 | -56.495 | 192 | 42000 | 118 | 101.2386
14 | -56.387 | 192 | 42000 | 152 | 187.6361
15 | -56.272 | 192 | 42000 | 349 | 329.3089
16 | -56.156 | 192 | 42000 | 460 | 463.4173
17 | -56.04 | 192 | 42000 | 551 | 496.9444
18 | -55.925 | 192 | 42000 | 395 | 404.5323
19 | -55.819 | 192 | 42000 | 227 | 267.3707
20 | -55.706 | 192 | 42000 | 151 | 144.9955
21 | -55.591 | 192 | 42000 | 107 | 77.3732
22 | -55.477 | 192 | 42000 | 60 | 52.2959
23 | -55.358 | 192 | 42000 | 62 | 45.46
24 | -55.242 | 192 | 42000 | 62 | 44.2491
25 | -55.135 | 192 | 42000 | 49 | 44.0899
26 | -55.03 | 192 | 42000 | 58 | 44.071
27 | -54.916 | 192 | 42000 | 50 | 44.0692
28 | -54.796 | 192 | 42000 | 43 | 44.0691
29 | -54.691 | 192 | 42000 | 41 | 44.0691
30 | -54.572 | 192 | 42000 | 56 | 44.0691
31 | -54.46 | 192 | 42000 | 37 | 44.0691
32 | -54.352 | 192 | 42000 | 43 | 44.0691
Run : 18 Seq 18 Rec 3 File L3A:980022 Date 16-DEC-2013 23:02:27.43
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 230 | 51000 | 14 | 41.0774 | Run 18
2 | -85.139 | 230 | 51000 | 18 | 41.0775
3 | -85.024 | 230 | 51000 | 33 | 41.0779
4 | -84.912 | 230 | 51000 | 47 | 41.0804
5 | -84.8 | 230 | 51000 | 44 | 41.094
6 | -84.694 | 230 | 51000 | 53 | 41.1516
7 | -84.581 | 230 | 51000 | 54 | 41.3975
8 | -84.465 | 230 | 51000 | 52 | 42.3215
9 | -84.349 | 230 | 51000 | 65 | 45.2569
10 | -84.234 | 230 | 51000 | 66 | 53.1094
11 | -84.124 | 230 | 51000 | 91 | 70.0085
12 | -84.009 | 230 | 51000 | 120 | 104.0046
13 | -83.895 | 230 | 51000 | 145 | 159.099
14 | -83.787 | 230 | 51000 | 200 | 229.1409
15 | -83.672 | 230 | 51000 | 293 | 309.8784
16 | -83.556 | 230 | 51000 | 372 | 374.4017
17 | -83.44 | 230 | 51000 | 458 | 398.3427
18 | -83.325 | 230 | 51000 | 370 | 372.4825
19 | -83.219 | 230 | 51000 | 333 | 313.4543
20 | -83.106 | 230 | 51000 | 236 | 234.3351
21 | -82.991 | 230 | 51000 | 136 | 159.322
22 | -82.877 | 230 | 51000 | 90 | 104.1535
23 | -82.758 | 230 | 51000 | 70 | 69.245
24 | -82.642 | 230 | 51000 | 80 | 52.152
25 | -82.535 | 230 | 51000 | 64 | 45.1911
26 | -82.43 | 230 | 51000 | 63 | 42.4572
27 | -82.316 | 230 | 51000 | 61 | 41.4455
28 | -82.196 | 230 | 51000 | 44 | 41.1561
29 | -82.091 | 230 | 51000 | 55 | 41.0953
30 | -81.972 | 230 | 51000 | 54 | 41.0803
31 | -81.86 | 230 | 51000 | 49 | 41.0779
32 | -81.752 | 230 | 51000 | 43 | 41.0775
Run : 19 Seq 19 Rec 4 File L3A:980022 Date 16-DEC-2013 23:07:52.20
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 85 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 229 | 51000 | 24 | 43.9873 | Run 19
2 | -104.339 | 229 | 51000 | 20 | 44.0981
3 | -104.224 | 229 | 51000 | 33 | 44.4073
4 | -104.112 | 229 | 51000 | 50 | 45.1516
5 | -104 | 229 | 51000 | 50 | 46.8406
6 | -103.894 | 229 | 51000 | 58 | 50.1349
7 | -103.781 | 229 | 51000 | 70 | 56.911
8 | -103.665 | 229 | 51000 | 84 | 69.656
9 | -103.549 | 229 | 51000 | 92 | 91.2486
10 | -103.434 | 229 | 51000 | 144 | 124.3632
11 | -103.324 | 229 | 51000 | 183 | 168.6786
12 | -103.209 | 229 | 51000 | 203 | 227.6528
13 | -103.095 | 229 | 51000 | 273 | 294.7803
14 | -102.987 | 229 | 51000 | 332 | 359.2107
15 | -102.872 | 229 | 51000 | 411 | 418.5206
16 | -102.756 | 229 | 51000 | 467 | 457.7621
17 | -102.64 | 229 | 51000 | 495 | 468.2648
18 | -102.525 | 229 | 51000 | 453 | 448.0722
19 | -102.419 | 229 | 51000 | 465 | 406.0303
20 | -102.306 | 229 | 51000 | 352 | 344.673
21 | -102.191 | 229 | 51000 | 248 | 275.448
22 | -102.077 | 229 | 51000 | 213 | 210.0984
23 | -101.958 | 229 | 51000 | 134 | 152.7804
24 | -101.842 | 229 | 51000 | 101 | 110.755
25 | -101.735 | 229 | 51000 | 75 | 83.8115
26 | -101.63 | 229 | 51000 | 77 | 66.5243
27 | -101.516 | 229 | 51000 | 75 | 55.3065
28 | -101.396 | 229 | 51000 | 61 | 49.0407
29 | -101.291 | 229 | 51000 | 77 | 46.3059
30 | -101.172 | 229 | 51000 | 53 | 44.8553
31 | -101.06 | 229 | 51000 | 76 | 44.2836
32 | -100.952 | 229 | 51000 | 73 | 44.0599
Run : 20 Seq 20 Rec 5 File L3A:980022 Date 16-DEC-2013 23:12:44.79
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600 * 250 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS= 25.725 YPOS= -74.750 ZPOS= 30.290 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 678 | 150000 | 45 | 85.7525 | Run 20
2 | -110.889 | 678 | 150000 | 51 | 89.6465
3 | -110.774 | 678 | 150000 | 87 | 95.9398
4 | -110.662 | 678 | 150000 | 123 | 105.0102
5 | -110.55 | 678 | 150000 | 124 | 117.8495
6 | -110.444 | 678 | 150000 | 143 | 134.2415
7 | -110.331 | 678 | 150000 | 167 | 156.9386
8 | -110.215 | 678 | 150000 | 219 | 186.2375
9 | -110.099 | 678 | 150000 | 228 | 221.4455
10 | -109.984 | 678 | 150000 | 250 | 261.2445
11 | -109.874 | 678 | 150000 | 273 | 302.2226
12 | -109.759 | 678 | 150000 | 308 | 345.5987
13 | -109.645 | 678 | 150000 | 391 | 386.0259
14 | -109.537 | 678 | 150000 | 400 | 418.8982
15 | -109.422 | 678 | 150000 | 491 | 445.0071
16 | -109.306 | 678 | 150000 | 556 | 459.4846
17 | -109.19 | 678 | 150000 | 481 | 460.5409
18 | -109.075 | 678 | 150000 | 452 | 448.2264
19 | -108.969 | 678 | 150000 | 460 | 426.1719
20 | -108.856 | 678 | 150000 | 360 | 393.5237
21 | -108.741 | 678 | 150000 | 349 | 353.6513
22 | -108.627 | 678 | 150000 | 285 | 310.8915
23 | -108.508 | 678 | 150000 | 217 | 266.2919
24 | -108.392 | 678 | 150000 | 190 | 225.6783
25 | -108.285 | 678 | 150000 | 165 | 192.4365
26 | -108.18 | 678 | 150000 | 187 | 164.6148
27 | -108.066 | 678 | 150000 | 182 | 140.071
28 | -107.946 | 678 | 150000 | 169 | 120.3025
29 | -107.841 | 678 | 150000 | 146 | 107.5033
30 | -107.722 | 678 | 150000 | 145 | 97.1693
31 | -107.61 | 678 | 150000 | 127 | 90.5995
32 | -107.502 | 678 | 150000 | 150 | 86.403

## Work
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min | I | DI | f | Df | FWHM | DFWHM | Bkgd | DBkgd | Slope | DSlope | c2
5 | 1 | 980022 | 41624.9156 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 113 | 672 | 5 | 114.2324 | 8.5614 | -48.0118 | 0.011669 | 0.4494 | 0.023724 | 4.4319 | 0.55539 | **** | **** | 2.738
6 | 1 | 980022 | 41624.9172 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 113 | 612 | 9 | 107.1587 | 7.0708 | -48.018 | 0.01086 | 0.47342 | 0.022883 | 5.7126 | 0.54447 | **** | **** | 2.2919
15 | 1 | 980022 | 41624.9544 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 110 | 652 | 8 | 109.5858 | 7.4836 | -48.017 | 0.010398 | 0.44416 | 0.022026 | 5.3581 | 0.52399 | **** | **** | 2.389
16 | 1 | 980022 | 41624.9561 | 71.88 | 35.94 | -45 | -48 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 24000 | 108 | 689 | 7 | 108.182 | 8.8906 | -48.0132 | 0.012976 | 0.45704 | 0.027244 | 5.1835 | 0.63233 | **** | **** | 2.8656
4 | 2 | 980022 | 41624.9123 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 196 | 538 | 17 | 56.7775 | 4.3542 | -56.0784 | 0.013576 | 0.49773 | 0.02971 | 5.3297 | 0.44283 | **** | **** | 2.4901
7 | 2 | 980022 | 41624.9186 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 196 | 567 | 22 | 55.0898 | 3.7845 | -56.0777 | 0.011412 | 0.47077 | 0.025088 | 5.1359 | 0.36592 | **** | **** | 2.1859
14 | 2 | 980022 | 41624.9512 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 190 | 544 | 15 | 56.4997 | 3.621 | -56.0809 | 0.010685 | 0.46578 | 0.022794 | 4.967 | 0.34409 | **** | **** | 2.0992
17 | 2 | 980022 | 41624.9574 | 71.88 | 35.94 | -45 | -56.1 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 42000 | 192 | 551 | 19 | 57.0018 | 3.5749 | -56.0691 | 0.011122 | 0.49183 | 0.024155 | 5.4933 | 0.36787 | **** | **** | 2.0495
3 | 3 | 980022 | 41624.9088 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 234 | 403 | 18 | 53.1136 | 2.7903 | -83.4488 | 0.014522 | 0.7441 | 0.032649 | 6.464 | 0.45214 | **** | **** | 1.813
8 | 3 | 980022 | 41624.9212 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 239 | 382 | 18 | 48.9657 | 3.0178 | -83.456 | 0.015793 | 0.68386 | 0.035081 | 6.1942 | 0.46235 | **** | **** | 2.0437
13 | 3 | 980022 | 41624.9478 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 229 | 459 | 14 | 53.0462 | 3.7666 | -83.4515 | 0.017831 | 0.6855 | 0.039421 | 5.6179 | 0.53125 | **** | **** | 2.4684
18 | 3 | 980022 | 41624.96 | 71.88 | 35.94 | -45 | -83.5 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 230 | 458 | 14 | 53.3502 | 3.6862 | -83.4428 | 0.018143 | 0.71543 | 0.04066 | 6.1338 | 0.55698 | **** | **** | 2.3886
2 | 4 | 980022 | 41624.9058 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 232 | 514 | 5 | 97.5264 | 6.6119 | -102.655 | 0.02674 | 1.1171 | 0.063644 | 6.2837 | 1.3469 | **** | **** | 3.2672
9 | 4 | 980022 | 41624.925 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 238 | 490 | 20 | 86.4604 | 4.2625 | -102.6317 | 0.017632 | 0.96563 | 0.041046 | 9.0255 | 0.87856 | **** | **** | 2.2051
12 | 4 | 980022 | 41624.9448 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 230 | 492 | 25 | 86.6472 | 3.8201 | -102.637 | 0.016537 | 1.0087 | 0.039852 | 9.8983 | 0.87026 | **** | **** | 1.9567
19 | 4 | 980022 | 41624.9638 | 71.88 | 35.94 | -45 | -102.7 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 51000 | 229 | 495 | 20 | 88.6872 | 4.1812 | -102.659 | 0.017535 | 1.0004 | 0.041492 | 9.1717 | 0.91082 | **** | **** | 2.1404
1 | 5 | 980022 | 41624.9017 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 70968 | 323 | 249 | 9 | 48.1274 | 3.888 | -109.1991 | 0.047533 | 1.7146 | 0.20949 | 3.9347 | 3.1434 | **** | **** | 2.8976
10 | 5 | 980022 | 41624.9285 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 701 | 518 | 41 | 36.7817 | 2.157 | -109.2303 | 0.029567 | 1.3275 | 0.092405 | 8.1232 | 1.0414 | **** | **** | 2.6696
11 | 5 | 980022 | 41624.9369 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 679 | 521 | 52 | 34.6503 | 2.242 | -109.2305 | 0.031453 | 1.2634 | 0.093909 | 9.574 | 1.0203 | **** | **** | 2.7749
20 | 5 | 980022 | 41624.9672 | 71.88 | 35.94 | -45 | -109.25 | 17 | 25.725 | -74.75 | 30.29 | 0 | OFF | 32 | 150000 | 678 | 556 | 45 | 38.9833 | 2.3843 | -109.2391 | 0.032808 | 1.4379 | 0.11342 | 8.1348 | 1.3917 | **** | **** | 2.8371
[21 empty] | -48.015 | 0.0057586
[21 empty] | -56.0765 | 0.0058758
[21 empty] | -83.4498 | 0.0083195
[21 empty] | -102.6457 | 0.010022
[21 empty] | -109.2248 | 0.018026