## Navigation
Filename | 980030 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 8 | 1 | 5 | 15 | 18 | 22 | 2 | 5 | 4 | 3 | YPOS | 11
Parsed? | YES | 2 | 27 | 37 | 40 | 91 | 2 | 5 | 4 | 3 | YPOS | 11
Last row | 505 | 3 | 96 | 106 | 109 | 160 | 2 | 5 | 4 | 3 | YPOS | 11
Number of columns in STRAINS worksheet | 19 | 4 | 165 | 175 | 178 | 229 | 2 | 5 | 4 | 3 | YPOS | 11
First drive column in STRAINS worksheet | 5 | 5 | 234 | 244 | 247 | 298 | 2 | 5 | 4 | 3 | YPOS | 11
Last drive column in STRAINS worksheet | 13 | 6 | 303 | 313 | 316 | 367 | 2 | 5 | 4 | 3 | YPOS | 11
Number of Grids | 0 | 7 | 372 | 382 | 385 | 436 | 2 | 5 | 4 | 3 | YPOS | 11
Instrument | L3 | 8 | 441 | 451 | 454 | 505 | 2 | 5 | 4 | 3 | YPOS | 11

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min
1 | 1 | 980030 | 2013-12-23 16:30 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -58.45 | -19 | 0 | 0 | OFF | 5 | 6000 | 27 | 197 | 171
2 | 1 | 980030 | 2013-12-23 16:39 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -58.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 237 | 78
3 | 2 | 980030 | 2013-12-23 17:05 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -50.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 220 | 85
4 | 3 | 980030 | 2013-12-23 17:31 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -46.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 234 | 78
5 | 4 | 980030 | 2013-12-23 17:57 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -34.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 228 | 91
6 | 5 | 980030 | 2013-12-23 18:23 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -22.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 216 | 85
7 | 6 | 980030 | 2013-12-23 18:49 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -18.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 221 | 83
8 | 7 | 980030 | 2013-12-23 19:15 | 71.88 | 35.94 | -41.5 | -90.5 | 17 | -10.45 | -19 | 0 | 0 | OFF | 52 | 6000 | 27 | 214 | 83

## 980030
Runs = | 7
Run : 1 Seq 1 Rec 1 File L3A:980030 Date 23-DEC-2013 16:29:57.53
Mode: MW_ANGLE Npts 54 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -58.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | YPOS | TIME | MON= DB | SIG= IC
1 | -19.005 | 27 | 6000 | 197
2 | -19.08 | 27 | 6000 | 171
3 | -19.135 | 27 | 6000 | 196
4 | -19.205 | 27 | 6000 | 193
5 | -19.265 | 27 | 6000 | 177
Run : 2 Seq 1 Rec 1 File L3A:980030 Date 23-DEC-2013 16:39:14.42
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -58.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 103.8927 | -21.2795 | 0.4669 | 96.4263 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.985 | 27 | 6000 | 205 | 200.319 | 0.10689 | 0.73895
2 | -19.075 | 27 | 6000 | 201 | 200.319 | 0.0023072
3 | -19.14 | 27 | 6000 | 198 | 200.319 | 0.027161
4 | -19.2 | 27 | 6000 | 188 | 200.319 | 0.80722
5 | -19.27 | 28 | 6000 | 202 | 200.319 | 0.013989
6 | -19.34 | 27 | 6000 | 211 | 200.319 | 0.54068
7 | -19.4 | 27 | 6000 | 205 | 200.319 | 0.10689
8 | -19.46 | 28 | 6000 | 202 | 200.319 | 0.013989
9 | -19.53 | 27 | 6000 | 198 | 200.319 | 0.027161
10 | -19.595 | 27 | 6000 | 206 | 200.319 | 0.15667
11 | -19.66 | 27 | 6000 | 208 | 200.319 | 0.28364
12 | -19.725 | 27 | 6000 | 193 | 200.319 | 0.27755
13 | -19.79 | 27 | 6000 | 195 | 200.319 | 0.14509
14 | -19.85 | 27 | 6000 | 204 | 200.319 | 0.06642
15 | -19.92 | 28 | 6000 | 201 | 200.319 | 0.0023072
16 | -19.99 | 27 | 6000 | 202 | 200.319 | 0.013989
17 | -20.05 | 27 | 6000 | 197 | 200.319 | 0.055918
18 | -20.11 | 27 | 6000 | 192 | 200.319 | 0.36045
19 | -20.18 | 27 | 6000 | 222 | 200.319 | 2.1174
20 | -20.245 | 27 | 6000 | 182 | 200.319 | 1.8439
21 | -20.305 | 27 | 6000 | 201 | 200.319 | 0.0023072
22 | -20.37 | 27 | 6000 | 199 | 200.319 | 0.0087427
23 | -20.44 | 26 | 6000 | 194 | 200.319 | 0.20582
24 | -20.51 | 27 | 6000 | 197 | 200.319 | 0.055918
25 | -20.57 | 27 | 6000 | 194 | 200.319 | 0.20582
26 | -20.635 | 27 | 6000 | 237 | 200.319 | 5.6772
27 | -20.705 | 28 | 6000 | 197 | 200.319 | 0.055918
28 | -20.765 | 27 | 6000 | 194 | 200.319 | 0.20582
29 | -20.83 | 27 | 6000 | 196 | 200.319 | 0.095173
30 | -20.895 | 27 | 6000 | 201 | 200.319 | 0.0023072
31 | -20.96 | 28 | 6000 | 210 | 200.2653 | 0.45126
32 | -21.025 | 27 | 6000 | 195 | 197.5938 | 0.034502
33 | -21.085 | 27 | 6000 | 179 | 191.5535 | 0.88039
34 | -21.16 | 27 | 6000 | 185 | 179.1777 | 0.18324
35 | -21.22 | 27 | 6000 | 166 | 165.4168 | 0.0020491
36 | -21.285 | 27 | 6000 | 150 | 146.6654 | 0.074129
37 | -21.345 | 28 | 6000 | 130 | 129.8129 | 0.00026931
38 | -21.415 | 27 | 6000 | 113 | 114.4885 | 0.019607
39 | -21.48 | 26 | 6000 | 106 | 104.4407 | 0.022939
40 | -21.545 | 27 | 6000 | 92 | 98.42 | 0.448
41 | -21.61 | 26 | 6000 | 90 | 96.4263 | 0.45886
42 | -21.68 | 27 | 6000 | 114 | 96.4263 | 2.7091
43 | -21.735 | 26 | 6000 | 92 | 96.4263 | 0.21296
44 | -21.8 | 27 | 6000 | 88 | 96.4263 | 0.80685
45 | -21.875 | 27 | 6000 | 110 | 96.4263 | 1.675
46 | -21.935 | 27 | 6000 | 94 | 96.4263 | 0.062628
47 | -21.995 | 27 | 6000 | 78 | 96.4263 | 4.3529
48 | -22.07 | 27 | 6000 | 112 | 96.4263 | 2.1655
49 | -22.135 | 27 | 6000 | 120 | 96.4263 | 4.631
50 | -22.195 | 27 | 6000 | 107 | 96.4263 | 1.0449
51 | -22.26 | 26 | 6000 | 85 | 96.4263 | 1.536
52 | -22.33 | 27 | 6000 | 92 | 96.4263 | 0.21296
Run : 3 Seq 2 Rec 2 File L3A:980030 Date 23-DEC-2013 17:05:18.44
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -50.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 100.0985 | -20.9074 | 0.43339 | 99.9077 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.99 | 27 | 6000 | 198 | 200.0063 | 0.020329 | 0.85567
2 | -19.07 | 28 | 6000 | 196 | 200.0063 | 0.081889
3 | -19.13 | 27 | 6000 | 200 | 200.0063 | 1.968e-07
4 | -19.2 | 27 | 6000 | 207 | 200.0063 | 0.23629
5 | -19.27 | 27 | 6000 | 214 | 200.0063 | 0.91507
6 | -19.34 | 27 | 6000 | 210 | 200.0063 | 0.47559
7 | -19.4 | 27 | 6000 | 194 | 200.0063 | 0.18596
8 | -19.465 | 27 | 6000 | 198 | 200.0063 | 0.020329
9 | -19.53 | 27 | 6000 | 213 | 200.0063 | 0.79266
10 | -19.59 | 26 | 6000 | 197 | 200.0063 | 0.045877
11 | -19.66 | 27 | 6000 | 186 | 200.0063 | 1.0547
12 | -19.725 | 27 | 6000 | 202 | 200.0063 | 0.019678
13 | -19.79 | 27 | 6000 | 219 | 200.0063 | 1.6473
14 | -19.85 | 27 | 6000 | 181 | 200.0063 | 1.9958
15 | -19.92 | 27 | 6000 | 196 | 200.0063 | 0.081889
16 | -19.99 | 27 | 6000 | 205 | 200.0063 | 0.12165
17 | -20.05 | 27 | 6000 | 203 | 200.0063 | 0.04415
18 | -20.11 | 27 | 6000 | 198 | 200.0063 | 0.020329
19 | -20.18 | 27 | 6000 | 211 | 200.0063 | 0.57281
20 | -20.25 | 27 | 6000 | 186 | 200.0063 | 1.0547
21 | -20.31 | 27 | 6000 | 203 | 200.0063 | 0.04415
22 | -20.37 | 27 | 6000 | 206 | 200.0063 | 0.17439
23 | -20.44 | 26 | 6000 | 208 | 200.0063 | 0.30721
24 | -20.51 | 27 | 6000 | 176 | 200.0063 | 3.2744
25 | -20.57 | 27 | 6000 | 199 | 200.0063 | 0.0050884
26 | -20.64 | 27 | 6000 | 220 | 199.1929 | 1.9679
27 | -20.705 | 27 | 6000 | 197 | 194.2348 | 0.038815
28 | -20.765 | 27 | 6000 | 165 | 185.6611 | 2.5871
29 | -20.83 | 27 | 6000 | 176 | 172.0429 | 0.088972
30 | -20.895 | 27 | 6000 | 145 | 153.9214 | 0.54891
31 | -20.96 | 26 | 6000 | 164 | 134.2471 | 5.3978
32 | -21.025 | 27 | 6000 | 124 | 118.9125 | 0.20873
33 | -21.085 | 26 | 6000 | 93 | 108.7544 | 2.6688
34 | -21.16 | 27 | 6000 | 95 | 101.4526 | 0.43828
35 | -21.22 | 27 | 6000 | 115 | 99.9077 | 1.9807
36 | -21.285 | 27 | 6000 | 110 | 99.9077 | 0.92594
37 | -21.35 | 27 | 6000 | 103 | 99.9077 | 0.092836
38 | -21.415 | 27 | 6000 | 99 | 99.9077 | 0.008323
39 | -21.475 | 27 | 6000 | 88 | 99.9077 | 1.6113
40 | -21.545 | 27 | 6000 | 103 | 99.9077 | 0.092836
41 | -21.615 | 26 | 6000 | 116 | 99.9077 | 2.2324
42 | -21.685 | 27 | 6000 | 85 | 99.9077 | 2.6146
43 | -21.735 | 27 | 6000 | 114 | 99.9077 | 1.742
44 | -21.805 | 27 | 6000 | 92 | 99.9077 | 0.6797
45 | -21.875 | 27 | 6000 | 104 | 99.9077 | 0.16103
46 | -21.935 | 27 | 6000 | 101 | 99.9077 | 0.011812
47 | -21.995 | 26 | 6000 | 101 | 99.9077 | 0.011812
48 | -22.07 | 27 | 6000 | 95 | 99.9077 | 0.25353
49 | -22.135 | 27 | 6000 | 91 | 99.9077 | 0.87195
50 | -22.19 | 27 | 6000 | 100 | 99.9077 | 8.5136e-05
51 | -22.26 | 27 | 6000 | 108 | 99.9077 | 0.60634
52 | -22.33 | 27 | 6000 | 98 | 99.9077 | 0.037137
Run : 4 Seq 3 Rec 3 File L3A:980030 Date 23-DEC-2013 17:31:29.22
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -46.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 109.0509 | -20.7689 | 0.44861 | 95.0147 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.985 | 27 | 6000 | 213 | 204.0656 | 0.37476 | 1.3409
2 | -19.08 | 27 | 6000 | 231 | 204.0656 | 3.1405
3 | -19.135 | 27 | 6000 | 193 | 204.0656 | 0.63444
4 | -19.2 | 27 | 6000 | 205 | 204.0656 | 0.0042593
5 | -19.265 | 27 | 6000 | 210 | 204.0656 | 0.1677
6 | -19.34 | 26 | 6000 | 176 | 204.0656 | 4.4754
7 | -19.395 | 27 | 6000 | 196 | 204.0656 | 0.33191
8 | -19.46 | 27 | 6000 | 219 | 204.0656 | 1.0184
9 | -19.535 | 27 | 6000 | 199 | 204.0656 | 0.12894
10 | -19.59 | 27 | 6000 | 224 | 204.0656 | 1.774
11 | -19.655 | 28 | 6000 | 231 | 204.0656 | 3.1405
12 | -19.72 | 27 | 6000 | 186 | 204.0656 | 1.7546
13 | -19.79 | 27 | 6000 | 221 | 204.0656 | 1.2976
14 | -19.85 | 27 | 6000 | 220 | 204.0656 | 1.1541
15 | -19.92 | 27 | 6000 | 191 | 204.0656 | 0.89376
16 | -19.99 | 27 | 6000 | 205 | 204.0656 | 0.0042593
17 | -20.05 | 27 | 6000 | 184 | 204.0656 | 2.1882
18 | -20.115 | 27 | 6000 | 207 | 204.0656 | 0.041598
19 | -20.175 | 27 | 6000 | 213 | 204.0656 | 0.37476
20 | -20.25 | 27 | 6000 | 175 | 204.0656 | 4.8275
21 | -20.31 | 27 | 6000 | 208 | 204.0656 | 0.074422
22 | -20.37 | 27 | 6000 | 234 | 204.0656 | 3.8294
23 | -20.44 | 27 | 6000 | 212 | 204.0656 | 0.29696
24 | -20.51 | 26 | 6000 | 169 | 202.2253 | 6.5321
25 | -20.57 | 27 | 6000 | 214 | 196.4852 | 1.4335
26 | -20.63 | 27 | 6000 | 174 | 186.8438 | 0.94806
27 | -20.705 | 27 | 6000 | 174 | 169.3056 | 0.12665
28 | -20.765 | 27 | 6000 | 165 | 150.8861 | 1.2073
29 | -20.83 | 26 | 6000 | 131 | 130.5694 | 0.0014152
30 | -20.895 | 27 | 6000 | 104 | 114.8147 | 1.1246
31 | -20.96 | 26 | 6000 | 103 | 103.6386 | 0.0039598
32 | -21.025 | 27 | 6000 | 99 | 97.0413 | 0.038752
33 | -21.085 | 27 | 6000 | 87 | 95.0154 | 0.73847
34 | -21.16 | 27 | 6000 | 88 | 95.0147 | 0.55916
35 | -21.22 | 26 | 6000 | 108 | 95.0147 | 1.5613
36 | -21.285 | 27 | 6000 | 112 | 95.0147 | 2.5759
37 | -21.345 | 27 | 6000 | 111 | 95.0147 | 2.3021
38 | -21.415 | 27 | 6000 | 99 | 95.0147 | 0.16043
39 | -21.475 | 27 | 6000 | 102 | 95.0147 | 0.47838
40 | -21.545 | 27 | 6000 | 98 | 95.0147 | 0.09094
41 | -21.61 | 27 | 6000 | 91 | 95.0147 | 0.17712
42 | -21.675 | 27 | 6000 | 92 | 95.0147 | 0.098786
43 | -21.735 | 27 | 6000 | 83 | 95.0147 | 1.7392
44 | -21.81 | 26 | 6000 | 110 | 95.0147 | 2.0415
45 | -21.87 | 27 | 6000 | 112 | 95.0147 | 2.5759
46 | -21.935 | 27 | 6000 | 98 | 95.0147 | 0.09094
47 | -21.995 | 26 | 6000 | 86 | 95.0147 | 0.94494
48 | -22.07 | 27 | 6000 | 87 | 95.0147 | 0.73834
49 | -22.135 | 27 | 6000 | 92 | 95.0147 | 0.098786
50 | -22.185 | 26 | 6000 | 99 | 95.0147 | 0.16043
51 | -22.26 | 27 | 6000 | 91 | 95.0147 | 0.17712
52 | -22.33 | 27 | 6000 | 78 | 95.0147 | 3.7115
Run : 5 Seq 4 Rec 4 File L3A:980030 Date 23-DEC-2013 17:57:11.21
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -34.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 95.6387 | -21.2698 | 0.56827 | 100.4673 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.995 | 28 | 6000 | 200 | 196.106 | 0.075816 | 0.7466
2 | -19.07 | 27 | 6000 | 179 | 196.106 | 1.6347
3 | -19.13 | 27 | 6000 | 204 | 196.106 | 0.30547
4 | -19.2 | 27 | 6000 | 193 | 196.106 | 0.049986
5 | -19.27 | 28 | 6000 | 202 | 196.106 | 0.17198
6 | -19.33 | 27 | 6000 | 209 | 196.106 | 0.79548
7 | -19.4 | 27 | 6000 | 177 | 196.106 | 2.0624
8 | -19.465 | 27 | 6000 | 194 | 196.106 | 0.022862
9 | -19.53 | 27 | 6000 | 225 | 196.106 | 3.7105
10 | -19.59 | 27 | 6000 | 198 | 196.106 | 0.018117
11 | -19.655 | 26 | 6000 | 180 | 196.106 | 1.4411
12 | -19.72 | 27 | 6000 | 182 | 196.106 | 1.0933
13 | -19.79 | 27 | 6000 | 177 | 196.106 | 2.0624
14 | -19.85 | 27 | 6000 | 200 | 196.106 | 0.075816
15 | -19.92 | 27 | 6000 | 177 | 196.106 | 2.0624
16 | -19.99 | 27 | 6000 | 200 | 196.106 | 0.075816
17 | -20.05 | 26 | 6000 | 197 | 196.106 | 0.0040571
18 | -20.11 | 27 | 6000 | 181 | 196.106 | 1.2607
19 | -20.18 | 27 | 6000 | 201 | 196.106 | 0.11916
20 | -20.25 | 27 | 6000 | 228 | 196.106 | 4.4615
21 | -20.31 | 27 | 6000 | 224 | 196.106 | 3.4736
22 | -20.375 | 27 | 6000 | 193 | 196.106 | 0.049986
23 | -20.44 | 27 | 6000 | 218 | 196.106 | 2.1988
24 | -20.51 | 26 | 6000 | 210 | 196.106 | 0.91925
25 | -20.57 | 27 | 6000 | 179 | 196.106 | 1.6347
26 | -20.63 | 27 | 6000 | 195 | 196.106 | 0.006273
27 | -20.705 | 27 | 6000 | 198 | 196.106 | 0.018117
28 | -20.765 | 27 | 6000 | 198 | 196.106 | 0.018117
29 | -20.83 | 27 | 6000 | 149 | 196.106 | 0
30 | -20.895 | 27 | 6000 | 196 | 195.8896 | 6.2168e-05
31 | -20.96 | 27 | 6000 | 195 | 193.5977 | 0.010085
32 | -21.025 | 26 | 6000 | 155 | 188.8032 | 0
33 | -21.085 | 26 | 6000 | 151 | 182.1564 | 0
34 | -21.16 | 27 | 6000 | 172 | 170.8493 | 0.0076985
35 | -21.22 | 27 | 6000 | 161 | 159.4047 | 0.015807
36 | -21.285 | 28 | 6000 | 146 | 144.7371 | 0.010925
37 | -21.345 | 27 | 6000 | 126 | 132.063 | 0.29174
38 | -21.415 | 27 | 6000 | 118 | 119.9715 | 0.03294
39 | -21.475 | 27 | 6000 | 116 | 111.9175 | 0.14368
40 | -21.545 | 27 | 6000 | 109 | 105.2161 | 0.13136
41 | -21.615 | 26 | 6000 | 100 | 101.417 | 0.02008
42 | -21.685 | 27 | 6000 | 103 | 100.4673 | 0.062275
43 | -21.735 | 26 | 6000 | 105 | 100.4673 | 0.19567
44 | -21.805 | 27 | 6000 | 93 | 100.4673 | 0.59958
45 | -21.875 | 27 | 6000 | 98 | 100.4673 | 0.06212
46 | -21.935 | 27 | 6000 | 91 | 100.4673 | 0.98495
47 | -21.995 | 27 | 6000 | 91 | 100.4673 | 0.98495
48 | -22.07 | 27 | 6000 | 104 | 100.4673 | 0.12
49 | -22.135 | 27 | 6000 | 103 | 100.4673 | 0.062275
50 | -22.19 | 27 | 6000 | 98 | 100.4673 | 0.06212
51 | -22.26 | 26 | 6000 | 110 | 100.4673 | 0.82611
52 | -22.33 | 27 | 6000 | 113 | 100.4673 | 1.39
Run : 6 Seq 5 Rec 5 File L3A:980030 Date 23-DEC-2013 18:22:43.95
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -22.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 87.5827 | -20.5459 | 0.49426 | 99.681 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.995 | 27 | 6000 | 175 | 187.2637 | 0.85942 | 0.94443
2 | -19.07 | 28 | 6000 | 186 | 187.2637 | 0.0085857
3 | -19.13 | 26 | 6000 | 148 | 187.2637 | 10.4165
4 | -19.2 | 27 | 6000 | 177 | 187.2637 | 0.59516
5 | -19.27 | 27 | 6000 | 190 | 187.2637 | 0.039407
6 | -19.34 | 26 | 6000 | 215 | 187.2637 | 3.5782
7 | -19.395 | 27 | 6000 | 203 | 187.2637 | 1.2199
8 | -19.46 | 26 | 6000 | 194 | 187.2637 | 0.23391
9 | -19.53 | 27 | 6000 | 189 | 187.2637 | 0.015951
10 | -19.59 | 27 | 6000 | 208 | 187.2637 | 2.0673
11 | -19.655 | 27 | 6000 | 216 | 187.2637 | 3.823
12 | -19.72 | 26 | 6000 | 183 | 187.2637 | 0.099339
13 | -19.79 | 27 | 6000 | 189 | 187.2637 | 0.015951
14 | -19.85 | 27 | 6000 | 184 | 187.2637 | 0.05789
15 | -19.92 | 26 | 6000 | 176 | 187.2637 | 0.72086
16 | -19.99 | 27 | 6000 | 182 | 187.2637 | 0.15223
17 | -20.05 | 27 | 6000 | 204 | 187.2637 | 1.3731
18 | -20.115 | 27 | 6000 | 193 | 187.2637 | 0.17049
19 | -20.18 | 27 | 6000 | 182 | 187.2637 | 0.15223
20 | -20.25 | 27 | 6000 | 168 | 186.235 | 1.9793
21 | -20.31 | 27 | 6000 | 180 | 182.64 | 0.038719
22 | -20.375 | 26 | 6000 | 190 | 175.8324 | 1.0564
23 | -20.44 | 27 | 6000 | 172 | 165.9954 | 0.20962
24 | -20.51 | 27 | 6000 | 151 | 152.0139 | 0.0068073
25 | -20.57 | 27 | 6000 | 129 | 137.6486 | 0.57983
26 | -20.63 | 26 | 6000 | 129 | 124.9389 | 0.12785
27 | -20.705 | 27 | 6000 | 107 | 112.6817 | 0.3017
28 | -20.765 | 28 | 6000 | 117 | 105.7799 | 1.076
29 | -20.83 | 26 | 6000 | 99 | 101.2157 | 0.049591
30 | -20.89 | 27 | 6000 | 105 | 99.6915 | 0.26838
31 | -20.965 | 27 | 6000 | 107 | 99.681 | 0.50064
32 | -21.02 | 27 | 6000 | 109 | 99.681 | 0.79673
33 | -21.085 | 26 | 6000 | 92 | 99.681 | 0.64128
34 | -21.16 | 27 | 6000 | 107 | 99.681 | 0.50064
35 | -21.215 | 27 | 6000 | 95 | 99.681 | 0.23065
36 | -21.285 | 26 | 6000 | 113 | 99.681 | 1.5699
37 | -21.345 | 27 | 6000 | 98 | 99.681 | 0.028834
38 | -21.415 | 27 | 6000 | 104 | 99.681 | 0.17936
39 | -21.475 | 27 | 6000 | 88 | 99.681 | 1.5505
40 | -21.545 | 27 | 6000 | 99 | 99.681 | 0.0046842
41 | -21.615 | 27 | 6000 | 100 | 99.681 | 0.0010177
42 | -21.675 | 27 | 6000 | 98 | 99.681 | 0.028834
43 | -21.74 | 26 | 6000 | 112 | 99.681 | 1.355
44 | -21.8 | 27 | 6000 | 85 | 99.681 | 2.5357
45 | -21.875 | 27 | 6000 | 87 | 99.681 | 1.8484
46 | -21.935 | 27 | 6000 | 96 | 99.681 | 0.14114
47 | -21.995 | 27 | 6000 | 104 | 99.681 | 0.17936
48 | -22.07 | 27 | 6000 | 108 | 99.681 | 0.6408
49 | -22.135 | 27 | 6000 | 105 | 99.681 | 0.26945
50 | -22.185 | 27 | 6000 | 98 | 99.681 | 0.028834
51 | -22.26 | 27 | 6000 | 91 | 99.681 | 0.82813
52 | -22.325 | 27 | 6000 | 104 | 99.681 | 0.17936
Run : 7 Seq 6 Rec 6 File L3A:980030 Date 23-DEC-2013 18:48:57.59
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -18.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 99.1834 | -20.6466 | 0.48979 | 97.8525 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.985 | 27 | 6000 | 204 | 197.0359 | 0.23774 | 0.68252
2 | -19.08 | 27 | 6000 | 219 | 197.0359 | 2.2028
3 | -19.135 | 27 | 6000 | 194 | 197.0359 | 0.047508
4 | -19.2 | 27 | 6000 | 210 | 197.0359 | 0.80033
5 | -19.27 | 26 | 6000 | 197 | 197.0359 | 6.5361e-06
6 | -19.33 | 27 | 6000 | 201 | 197.0359 | 0.07818
7 | -19.395 | 27 | 6000 | 204 | 197.0359 | 0.23774
8 | -19.46 | 27 | 6000 | 183 | 197.0359 | 1.0765
9 | -19.53 | 27 | 6000 | 190 | 197.0359 | 0.26055
10 | -19.59 | 27 | 6000 | 201 | 197.0359 | 0.07818
11 | -19.655 | 27 | 6000 | 200 | 197.0359 | 0.04393
12 | -19.72 | 27 | 6000 | 174 | 197.0359 | 3.0497
13 | -19.79 | 26 | 6000 | 198 | 197.0359 | 0.0046946
14 | -19.85 | 27 | 6000 | 187 | 197.0359 | 0.5386
15 | -19.92 | 27 | 6000 | 204 | 197.0359 | 0.23774
16 | -19.99 | 27 | 6000 | 185 | 197.0359 | 0.78304
17 | -20.055 | 26 | 6000 | 177 | 197.0359 | 2.268
18 | -20.11 | 26 | 6000 | 190 | 197.0359 | 0.26055
19 | -20.18 | 27 | 6000 | 221 | 197.0359 | 2.5985
20 | -20.25 | 27 | 6000 | 208 | 197.0359 | 0.57794
21 | -20.31 | 27 | 6000 | 196 | 196.997 | 0.0050715
22 | -20.37 | 27 | 6000 | 197 | 195.0275 | 0.019751
23 | -20.44 | 27 | 6000 | 201 | 188.9672 | 0.72033
24 | -20.51 | 28 | 6000 | 185 | 178.8552 | 0.2041
25 | -20.57 | 27 | 6000 | 165 | 166.9629 | 0.023351
26 | -20.63 | 28 | 6000 | 143 | 152.0937 | 0.57828
27 | -20.705 | 27 | 6000 | 138 | 132.1378 | 0.24902
28 | -20.765 | 27 | 6000 | 108 | 119.339 | 1.1905
29 | -20.83 | 27 | 6000 | 117 | 108.833 | 0.57009
30 | -20.89 | 27 | 6000 | 108 | 102.236 | 0.30763
31 | -20.965 | 27 | 6000 | 110 | 98.1759 | 1.271
32 | -21.02 | 27 | 6000 | 101 | 97.8525 | 0.098085
33 | -21.085 | 27 | 6000 | 88 | 97.8525 | 1.1031
34 | -21.16 | 27 | 6000 | 96 | 97.8525 | 0.035748
35 | -21.22 | 26 | 6000 | 88 | 97.8525 | 1.1031
36 | -21.285 | 28 | 6000 | 89 | 97.8525 | 0.88053
37 | -21.345 | 26 | 6000 | 93 | 97.8525 | 0.25319
38 | -21.415 | 27 | 6000 | 101 | 97.8525 | 0.098085
39 | -21.475 | 26 | 6000 | 105 | 97.8525 | 0.48654
40 | -21.545 | 26 | 6000 | 102 | 97.8525 | 0.16864
41 | -21.61 | 27 | 6000 | 83 | 97.8525 | 2.6578
42 | -21.675 | 27 | 6000 | 88 | 97.8525 | 1.1031
43 | -21.74 | 27 | 6000 | 92 | 97.8525 | 0.3723
44 | -21.81 | 27 | 6000 | 101 | 97.8525 | 0.098085
45 | -21.875 | 26 | 6000 | 105 | 97.8525 | 0.48654
46 | -21.935 | 27 | 6000 | 100 | 97.8525 | 0.046117
47 | -21.995 | 27 | 6000 | 114 | 97.8525 | 2.2872
48 | -22.07 | 27 | 6000 | 99 | 97.8525 | 0.0133
49 | -22.135 | 27 | 6000 | 104 | 97.8525 | 0.36338
50 | -22.19 | 27 | 6000 | 101 | 97.8525 | 0.098085
51 | -22.26 | 27 | 6000 | 105 | 97.8525 | 0.48654
52 | -22.33 | 27 | 6000 | 98 | 97.8525 | 0.00022194
Run : 8 Seq 7 Rec 7 File L3A:980030 Date 23-DEC-2013 19:14:41.95
Mode: MW_ANGLE Npts 52 Rpts 0
Cmon: Mon1[ DB]= 6000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -41.500 PHI= -90.500 DSRD= 17.000
Drv : XPOS= -10.450 YPOS= -19.000 ZPOS= 0.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | PHI
Com : Use COMMENT command to store text on this line. | [5 empty] | 91.2789 | -20.8409 | 0.34398 | 99.8349 | 90
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -18.995 | 27 | 6000 | 184 | 191.1138 | 0.27504 | 0.95377
2 | -19.07 | 27 | 6000 | 201 | 191.1138 | 0.48625
3 | -19.13 | 27 | 6000 | 192 | 191.1138 | 0.0040901
4 | -19.2 | 27 | 6000 | 201 | 191.1138 | 0.48625
5 | -19.27 | 26 | 6000 | 214 | 191.1138 | 2.4476
6 | -19.34 | 28 | 6000 | 183 | 191.1138 | 0.35975
7 | -19.4 | 27 | 6000 | 208 | 191.1138 | 1.3709
8 | -19.465 | 27 | 6000 | 199 | 191.1138 | 0.31252
9 | -19.53 | 27 | 6000 | 177 | 191.1138 | 1.1254
10 | -19.59 | 26 | 6000 | 178 | 191.1138 | 0.96614
11 | -19.655 | 27 | 6000 | 195 | 191.1138 | 0.077448
12 | -19.72 | 27 | 6000 | 207 | 191.1138 | 1.2192
13 | -19.79 | 26 | 6000 | 188 | 191.1138 | 0.051574
14 | -19.85 | 27 | 6000 | 189 | 191.1138 | 0.023642
15 | -19.92 | 27 | 6000 | 193 | 191.1138 | 0.018433
16 | -19.99 | 27 | 6000 | 183 | 191.1138 | 0.35975
17 | -20.05 | 27 | 6000 | 208 | 191.1138 | 1.3709
18 | -20.115 | 27 | 6000 | 175 | 191.1138 | 1.4837
19 | -20.18 | 27 | 6000 | 192 | 191.1138 | 0.0040901
20 | -20.25 | 26 | 6000 | 185 | 191.1138 | 0.20205
21 | -20.31 | 27 | 6000 | 181 | 191.1138 | 0.56514
22 | -20.37 | 27 | 6000 | 179 | 191.1138 | 0.8198
23 | -20.44 | 27 | 6000 | 183 | 191.1138 | 0.35975
24 | -20.51 | 27 | 6000 | 197 | 191.1138 | 0.17587
25 | -20.57 | 27 | 6000 | 208 | 191.1138 | 1.3709
26 | -20.63 | 27 | 6000 | 180 | 190.3055 | 0.59002
27 | -20.705 | 26 | 6000 | 182 | 182.2206 | 0.00026741
28 | -20.765 | 27 | 6000 | 182 | 169.5042 | 0.85795
29 | -20.83 | 27 | 6000 | 138 | 149.4602 | 0.95171
30 | -20.89 | 27 | 6000 | 134 | 128.8974 | 0.1943
31 | -20.965 | 27 | 6000 | 120 | 110.777 | 0.70887
32 | -21.025 | 26 | 6000 | 92 | 102.5291 | 1.205
33 | -21.085 | 26 | 6000 | 107 | 99.8349 | 0.4798
34 | -21.16 | 27 | 6000 | 118 | 99.8349 | 2.7964
35 | -21.22 | 26 | 6000 | 116 | 99.8349 | 2.2527
36 | -21.285 | 26 | 6000 | 92 | 99.8349 | 0.66724
37 | -21.345 | 27 | 6000 | 96 | 99.8349 | 0.1532
38 | -21.415 | 27 | 6000 | 96 | 99.8349 | 0.1532
39 | -21.475 | 26 | 6000 | 116 | 99.8349 | 2.2527
40 | -21.545 | 27 | 6000 | 90 | 99.8349 | 1.0747
41 | -21.61 | 27 | 6000 | 115 | 99.8349 | 1.9998
42 | -21.675 | 26 | 6000 | 100 | 99.8349 | 0.00027247
43 | -21.74 | 26 | 6000 | 83 | 99.8349 | 3.4146 |  |  |  |  | -22.5
44 | -21.8 | 28 | 6000 | 111 | 99.8349 | 1.1231 |  |  |  |  | -19.5
45 | -21.875 | 27 | 6000 | 96 | 99.8349 | 0.1532 |  |  |  |  | 3
46 | -21.935 | 28 | 6000 | 85 | 99.8349 | 2.5891 |  |  |  |  | 46.1538
47 | -21.995 | 27 | 6000 | 103 | 99.8349 | 0.097259 |  |  |  |  | -22.425
48 | -22.07 | 26 | 6000 | 84 | 99.8349 | 2.9851
49 | -22.135 | 26 | 6000 | 117 | 99.8349 | 2.5183
50 | -22.185 | 27 | 6000 | 103 | 99.8349 | 0.097259
51 | -22.26 | 27 | 6000 | 104 | 99.8349 | 0.16681
52 | -22.325 | 27 | 6000 | 94 | 99.8349 | 0.3622

## Setup
|  | Normal | Transverse | Transverse-Normal |  | Transverse |  |  | Depth = 0.15 mm |  |  |  | Depth = 2.5 mm |  |  |  | Mid-weld depth profile |  |  |  | Depth = 0.25 mm
X | X-AXIS | Y-Wall |  |  | X-AXIS | Ywall - Calc | REC | X | X-AXIS | Y-AXIS | REC | X | X-AXIS | Y-AXIS | REC | X | X-AXIS | Y-AXIS | Depth | REC | X | X-AXIS | Y-AXIS
-24 | -58.45 | -21.2083 | -21.2795 | -0.071214 | -24 | -21.2795 | 1 | -24 | -58.45 | -21.1295 | 55 | -24 | -58.45 | -18.7795 | 68 | 0 | -34.45 | -20.6962 | 0.45 | 76 | -24 | -58.45 | -21.0295
-16 | -50.45 | -20.916 | -20.9074 | 0.0085738 | -16 | -20.9074 | 2 | -16 | -50.45 | -20.7574 | 56 | -16 | -50.45 | -18.4074 | 69 | 0 | -34.45 | -20.3962 | 0.75 | 77 | -16 | -50.45 | -20.6574
-15 | -49.45 | -20.8477 |  |  | -15 | -20.8578 | 3 | -15 | -49.45 | -20.7078 | 57 | -12 | -46.45 | -18.2689 | 70 | 0 | -34.45 | -20.0962 | 1.05 | 78 | -15 | -49.45 | -20.6078
-14 | -48.45 | -20.8495 |  |  | -14 | -20.8595 | 4 | -14 | -48.45 | -20.7095 | 58 | -9 | -43.45 | -18.0976 | 71 | 0 | -34.45 | -19.7962 | 1.35 | 79 | -14 | -48.45 | -20.6095
-13 | -47.45 | -20.7888 |  |  | -13 | -20.7988 | 5 | -13 | -47.45 | -20.6488 | 59 | -6 | -40.45 | -18.3465 | 72 | 0 | -34.45 | -19.4962 | 1.65 | 80 | -13 | -47.45 | -20.5488
-12 | -46.45 | -20.7484 | -20.7689 | -0.020574 | -12 | -20.7689 | 6 | -12 | -46.45 | -20.6189 | 60 | -3 | -37.45 | -18.6129 | 73 | 0 | -34.45 | -19.1962 | 1.95 | 81 | -12 | -46.45 | -20.5189
-11 | -45.45 | -20.7119 |  |  | -11 | -20.7219 | 7 | -11 | -45.45 | -20.5719 | 61 | 0 | -34.45 | -18.6462 | 74 | 0 | -34.45 | -18.8962 | 2.25 | 82 | -11 | -45.45 | -20.4719
-10 | -44.45 | -20.6351 |  |  | -10 | -20.6451 | 8 | -10 | -44.45 | -20.4951 | 62 | 3 | -31.45 | -18.5432 | [5 empty] | 83 | -10 | -44.45 | -20.3951
-9 | -43.45 | -20.5876 |  |  | -9 | -20.5976 | 9 | -9 | -43.45 | -20.4476 | 63 | 6 | -28.45 | -18.191 |  |  | Ymax = | -18.8962 |  | 84 | -9 | -43.45 | -20.3476
-8 | -42.45 | -20.6589 |  |  | -8 | -20.6689 | 10 | -8 | -42.45 | -20.5189 | 64 | 9 | -25.45 | -17.9496 |  |  | Ymin = | -20.6962 |  | 85 | -8 | -42.45 | -20.4189
-7 | -41.45 | -20.7608 |  |  | -7 | -20.7708 | 11 | -7 | -41.45 | -20.6208 | 65 | 12 | -22.45 | -18.0459 | [5 empty] | 86 | -7 | -41.45 | -20.5208
-6 | -40.45 | -20.8365 |  |  | -6 | -20.8465 | 12 | -6 | -40.45 | -20.6965 | 66 | 16 | -18.45 | -18.1466 | [5 empty] | 87 | -6 | -40.45 | -20.5965
-5 | -39.45 | -20.9113 |  |  | -5 | -20.9214 | 13 | -5 | -39.45 | -20.7714 | 67 | 24 | -10.45 | -18.3409 | [5 empty] | 88 | -5 | -39.45 | -20.6714
-4 | -38.45 | -21.0012 |  |  | -4 | -21.0112 | 14 | -4 | -38.45 | -20.8612 | [9 empty] | 89 | -4 | -38.45 | -20.7612
-3 | -37.45 | -21.1029 |  |  | -3 | -21.1129 | 15 | -3 | -37.45 | -20.9629 |  |  | Ymax = | -17.9496 | [5 empty] | 90 | -3 | -37.45 | -20.8629
-2 | -36.45 | -21.1682 |  |  | -2 | -21.1782 | 16 | -2 | -36.45 | -21.0282 |  |  | Ymin = | -18.7795 | [5 empty] | 91 | -2 | -36.45 | -20.9282
-1 | -35.45 | -21.1788 |  |  | -1 | -21.1888 | 17 | -1 | -35.45 | -21.0388 | [9 empty] | 92 | -1 | -35.45 | -20.9388
0 | -34.45 | -21.1362 | -21.2698 |  | 0 | -21.1462 | 18 | 0 | -34.45 | -20.9962 |  |  | Ymax = | -17.94 | [5 empty] | 93 | 0 | -34.45 | -20.8962
1 | -33.45 | -21.1174 |  |  | 1 | -21.1275 | 19 | 1 | -33.45 | -20.9775 | [9 empty] | 94 | 1 | -33.45 | -20.8775
2 | -32.45 | -21.1217 |  |  | 2 | -21.1317 | 20 | 2 | -32.45 | -20.9817 | [9 empty] | 95 | 2 | -32.45 | -20.8817
3 | -31.45 | -21.0332 |  |  | 3 | -21.0432 | 21 | 3 | -31.45 | -20.8932 | [9 empty] | 96 | 3 | -31.45 | -20.7932
4 | -30.45 | -20.9388 |  |  | 4 | -20.9488 | 22 | 4 | -30.45 | -20.7988 | [9 empty] | 97 | 4 | -30.45 | -20.6988
5 | -29.45 | -20.8088 |  |  | 5 | -20.8188 | 23 | 5 | -29.45 | -20.6688 | [9 empty] | 98 | 5 | -29.45 | -20.5688
6 | -28.45 | -20.681 |  |  | 6 | -20.691 | 24 | 6 | -28.45 | -20.541 | [9 empty] | 99 | 6 | -28.45 | -20.441
7 | -27.45 | -20.6251 |  |  | 7 | -20.6351 | 25 | 7 | -27.45 | -20.4851 | [9 empty] | 100 | 7 | -27.45 | -20.3851
8 | -26.45 | -20.5253 |  |  | 8 | -20.5353 | 26 | 8 | -26.45 | -20.3853 | [9 empty] | 101 | 8 | -26.45 | -20.2853
9 | -25.45 | -20.4396 |  |  | 9 | -20.4496 | 27 | 9 | -25.45 | -20.2996 | [9 empty] | 102 | 9 | -25.45 | -20.1996
10 | -24.45 | -20.513 |  |  | 10 | -20.523 | 28 | 10 | -24.45 | -20.373 | [9 empty] | 103 | 10 | -24.45 | -20.273
11 | -23.45 | -20.5554 |  |  | 11 | -20.5654 | 29 | 11 | -23.45 | -20.4154 | [9 empty] | 104 | 11 | -23.45 | -20.3154
12 | -22.45 | -20.5775 | -20.5459 | 0.03153 | 12 | -20.5459 | 30 | 12 | -22.45 | -20.3959 | [9 empty] | 105 | 12 | -22.45 | -20.2959
13 | -21.45 | -20.6003 |  |  | 13 | -20.6103 | 31 | 13 | -21.45 | -20.4603 | [9 empty] | 106 | 13 | -21.45 | -20.3603
14 | -20.45 | -20.6363 |  |  | 14 | -20.6463 | 32 | 14 | -20.45 | -20.4963 | [9 empty] | 107 | 14 | -20.45 | -20.3963
15 | -19.45 | -20.6291 |  |  | 15 | -20.6391 | 33 | 15 | -19.45 | -20.4891 | [9 empty] | 108 | 15 | -19.45 | -20.3891
16 | -18.45 | -20.6433 | -20.6466 | -0.0033555 | 16 | -20.6466 | 34 | 16 | -18.45 | -20.4966 | [9 empty] | 109 | 16 | -18.45 | -20.3966
24 | -10.45 | -20.8359 | -20.8409 | -0.004986 | 24 | -20.8409 | 35 | 24 | -10.45 | -20.6909 | [9 empty] | 110 | 24 | -10.45 | -20.5909
-11.25 | -45.7 | -20.7175 |  |  | -11.25 | -20.7275 | 36 | -11.25 | -45.7 | -20.5775 | [9 empty] | 111 | -11.25 | -45.7 | -20.4775
-11 | -45.45 | -20.722 |  |  | -11 | -20.732 | 37 | -11 | -45.45 | -20.582 | [9 empty] | 112 | -11 | -45.45 | -20.482
-10.75 | -45.2 | -20.7084 |  |  | -10.75 | -20.7184 | 38 | -10.75 | -45.2 | -20.5684 | [9 empty] | 113 | -10.75 | -45.2 | -20.4684
-10.5 | -44.95 | -20.6789 |  |  | -10.5 | -20.6889 | 39 | -10.5 | -44.95 | -20.5389 | [9 empty] | 114 | -10.5 | -44.95 | -20.4389
-10.25 | -44.7 | -20.667 |  |  | -10.25 | -20.677 | 40 | -10.25 | -44.7 | -20.527 | [9 empty] | 115 | -10.25 | -44.7 | -20.427
-10 | -44.45 | -20.6171 |  |  | -10 | -20.6271 | 41 | -10 | -44.45 | -20.4771 | [9 empty] | 116 | -10 | -44.45 | -20.3771
-9.75 | -44.2 | -20.608 |  |  | -9.75 | -20.618 | 42 | -9.75 | -44.2 | -20.468 | [9 empty] | 117 | -9.75 | -44.2 | -20.368
-9.5 | -43.95 | -20.589 |  |  | -9.5 | -20.599 | 43 | -9.5 | -43.95 | -20.449 | [9 empty] | 118 | -9.5 | -43.95 | -20.349
-9.25 | -43.7 | -20.6178 |  |  | -9.25 | -20.6278 | 44 | -9.25 | -43.7 | -20.4778 | [9 empty] | 119 | -9.25 | -43.7 | -20.3778
9.26 | -25.19 | -20.4352 |  |  | 9.26 | -20.4452 | 45 | 9.26 | -25.19 | -20.2952 | [9 empty] | 120 | 9.26 | -25.19 | -20.1952
9.51 | -24.94 | -20.4357 |  |  | 9.51 | -20.4457 | 46 | 9.51 | -24.94 | -20.2957 | [9 empty] | 121 | 9.51 | -24.94 | -20.1957
9.76 | -24.69 | -20.4953 |  |  | 9.76 | -20.5053 | 47 | 9.76 | -24.69 | -20.3553 | [9 empty] | 122 | 9.76 | -24.69 | -20.2553
10.01 | -24.44 | -20.4961 |  |  | 10.01 | -20.5061 | 48 | 10.01 | -24.44 | -20.3561 | [9 empty] | 123 | 10.01 | -24.44 | -20.2561
10.26 | -24.19 | -20.5173 |  |  | 10.26 | -20.5273 | 49 | 10.26 | -24.19 | -20.3773 | [9 empty] | 124 | 10.26 | -24.19 | -20.2773
10.51 | -23.94 | -20.5335 |  |  | 10.51 | -20.5435 | 50 | 10.51 | -23.94 | -20.3935 | [9 empty] | 125 | 10.51 | -23.94 | -20.2935
10.76 | -23.69 | -20.5484 |  |  | 10.76 | -20.5584 | 51 | 10.76 | -23.69 | -20.4084 | [9 empty] | 126 | 10.76 | -23.69 | -20.3084
11.01 | -23.44 | -20.518 |  |  | 11.01 | -20.528 | 52 | 11.01 | -23.44 | -20.378 | [9 empty] | 127 | 11.01 | -23.44 | -20.278
11.26 | -23.19 | -20.5409 |  |  | 11.26 | -20.5509 | 53 | 11.26 | -23.19 | -20.4009 | [9 empty] | 128 | 11.26 | -23.19 | -20.3009
-0.010004
[9 empty] | Ymax = | -20.2952 | [11 empty] | Ymax | -20.1952
[9 empty] | Ymin = | -21.1295 | [11 empty] | Ymin = | -21.0295