## Navigation
Filename | 980033 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 11 | 1 | 5 | 15 | 18 | 54 | 2 | 5 | 4 | 3 | XPOS | 10
Parsed? | YES | 2 | 59 | 69 | 72 | 108 | 2 | 5 | 4 | 3 | XPOS | 10
Last row | 594 | 3 | 113 | 123 | 126 | 162 | 2 | 5 | 4 | 3 | XPOS | 10
Number of columns in STRAINS worksheet | 19 | 4 | 167 | 177 | 180 | 216 | 2 | 5 | 4 | 3 | XPOS | 10
First drive column in STRAINS worksheet | 5 | 5 | 221 | 231 | 234 | 270 | 2 | 5 | 4 | 3 | XPOS | 10
Last drive column in STRAINS worksheet | 13 | 6 | 275 | 285 | 288 | 324 | 2 | 5 | 4 | 3 | XPOS | 10
Number of Grids | 0 | 7 | 329 | 339 | 342 | 378 | 2 | 5 | 4 | 3 | XPOS | 10
Instrument | L3 | 8 | 383 | 393 | 396 | 432 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 9 | 437 | 447 | 450 | 486 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 10 | 491 | 501 | 504 | 540 | 2 | 5 | 4 | 3 | XPOS | 10
|  | 11 | 545 | 555 | 558 | 594 | 2 | 5 | 4 | 3 | XPOS | 10

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min
1 | 1 | 980033 | 2013-12-28 16:11 | 71.88 | 35.94 | -45 | -90.5 | 12 | -168.395 | -16.575 | 1.33 | 0 | OFF | 37 | 7000 | 37 | 227 | 48
2 | 2 | 980033 | 2013-12-28 16:36 | 71.88 | 35.94 | -45 | -90.5 | 12 | -168.66 | -16.825 | -9.295 | 0 | OFF | 37 | 7000 | 36 | 216 | 51
3 | 3 | 980033 | 2013-12-28 17:01 | 71.88 | 35.94 | -45 | -90.5 | 12 | -169.09 | -16.835 | -19.355 | 0 | OFF | 37 | 7000 | 36 | 212 | 51
4 | 4 | 980033 | 2013-12-28 17:26 | 71.88 | 35.94 | -45 | -90.5 | 12 | -167.905 | -16.88 | -28.96 | 0 | OFF | 37 | 7000 | 36 | 170 | 56
5 | 5 | 980033 | 2013-12-28 17:51 | 71.88 | 35.94 | -45 | -90.5 | 12 | -166.81 | -17.19 | -40.08 | 0 | OFF | 37 | 7000 | 37 | 185 | 53
6 | 6 | 980033 | 2013-12-28 18:15 | 71.88 | 35.94 | -45 | -90.5 | 12 | -168.02 | -17.19 | -49.095 | 0 | OFF | 37 | 7000 | 36 | 142 | 56
7 | 7 | 980033 | 2013-12-28 18:40 | 71.88 | 35.94 | -45 | -90.5 | 12 | -168.62 | -17.12 | -58.37 | 0 | OFF | 37 | 7000 | 37 | 196 | 36
8 | 8 | 980033 | 2013-12-28 19:05 | 71.88 | 35.94 | -45 | -90.5 | 12 | -167.95 | -17.225 | -67.325 | 0 | OFF | 37 | 7000 | 36 | 170 | 50
9 | 9 | 980033 | 2013-12-28 19:29 | 71.88 | 35.94 | -45 | -90.5 | 12 | -167.015 | -17.225 | -78.365 | 0 | OFF | 37 | 7000 | 33 | 199 | 56
10 | 10 | 980033 | 2013-12-28 19:52 | 71.88 | 35.94 | -45 | -90.5 | 12 | -167.015 | -17.225 | -89.21 | 0 | OFF | 37 | 7000 | 34 | 236 | 53
11 | 11 | 980033 | 2013-12-28 20:15 | 71.88 | 35.94 | -45 | -90.5 | 12 | -167.925 | -17.595 | -100 | 0 | OFF | 37 | 7000 | 35 | 198 | 57

## 980033
Runs = | 1
Run : 1 Seq 1 Rec 1 File L3A:980033 Date 28-DEC-2013 16:11:22.04
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-168.395 YPOS= -16.575 ZPOS= 1.330 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 121.5203 | -167.1306 | 0.42464 | 61.5072 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.395 | 36 | 7000 | 52 | 61.5072 | 1.7382 | 1.634
2 | -168.325 | 37 | 7000 | 55 | 61.5072 | 0.76989
3 | -168.26 | 36 | 7000 | 58 | 61.5072 | 0.21208
4 | -168.19 | 36 | 7000 | 67 | 61.5072 | 0.45031
5 | -168.125 | 37 | 7000 | 74 | 61.5072 | 2.109
6 | -168.06 | 36 | 7000 | 68 | 61.5072 | 0.61994
7 | -167.995 | 37 | 7000 | 62 | 61.5072 | 0.0039164
8 | -167.935 | 36 | 7000 | 63 | 61.5072 | 0.035371
9 | -167.865 | 37 | 7000 | 68 | 61.5072 | 0.61994
10 | -167.795 | 37 | 7000 | 56 | 61.5072 | 0.5416
11 | -167.73 | 38 | 7000 | 48 | 61.5072 | 3.8009
12 | -167.675 | 37 | 7000 | 53 | 61.5072 | 1.3655
13 | -167.61 | 37 | 7000 | 75 | 61.5072 | 2.4274
14 | -167.545 | 37 | 7000 | 73 | 61.5072 | 1.8094
15 | -167.48 | 37 | 7000 | 53 | 61.5072 | 1.3655
16 | -167.405 | 36 | 7000 | 80 | 61.9575 | 4.0691
17 | -167.345 | 37 | 7000 | 71 | 66.4739 | 0.28853
18 | -167.285 | 37 | 7000 | 78 | 75.8425 | 0.059678
19 | -167.215 | 37 | 7000 | 93 | 92.905 | 9.7035e-05
20 | -167.155 | 36 | 7000 | 96 | 112.7865 | 2.9353
21 | -167.085 | 37 | 7000 | 160 | 139.314 | 2.6745
22 | -167.015 | 37 | 7000 | 153 | 160.0408 | 0.32401
23 | -166.96 | 36 | 7000 | 175 | 171.6931 | 0.062487
24 | -166.895 | 36 | 7000 | 197 | 180.2076 | 1.4314
25 | -166.83 | 36 | 7000 | 201 | 183.0275 | 1.607
26 | -166.755 | 36 | 7000 | 194 | 183.0275 | 0.62059
27 | -166.69 | 37 | 7000 | 187 | 183.0275 | 0.084388
28 | -166.635 | 36 | 7000 | 227 | 183.0275 | 8.518
29 | -166.555 | 36 | 7000 | 194 | 183.0275 | 0.62059
30 | -166.505 | 37 | 7000 | 198 | 183.0275 | 1.1322
31 | -166.44 | 37 | 7000 | 183 | 183.0275 | 4.141e-06
32 | -166.375 | 36 | 7000 | 168 | 183.0275 | 1.3442
33 | -166.31 | 36 | 7000 | 173 | 183.0275 | 0.58122
34 | -166.245 | 36 | 7000 | 180 | 183.0275 | 0.050922
35 | -166.17 | 37 | 7000 | 169 | 183.0275 | 1.1643
36 | -166.115 | 36 | 7000 | 154 | 183.0275 | 5.4714
37 | -166.04 | 37 | 7000 | 161 | 183.0275 | 3.0137
Run : 2 Seq 2 Rec 2 File L3A:980033 Date 28-DEC-2013 16:36:28.83
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-168.660 YPOS= -16.825 ZPOS= -9.295 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 119.6581 | -167.3236 | 0.28167 | 63.6699 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.67 | 37 | 7000 | 68 | 63.6699 | 0.27573 | 1.3117
2 | -168.59 | 36 | 7000 | 76 | 63.6699 | 2.0004
3 | -168.525 | 37 | 7000 | 51 | 63.6699 | 3.1476
4 | -168.455 | 37 | 7000 | 57 | 63.6699 | 0.78049
5 | -168.395 | 36 | 7000 | 61 | 63.6699 | 0.11686
6 | -168.33 | 37 | 7000 | 71 | 63.6699 | 0.75676
7 | -168.265 | 38 | 7000 | 65 | 63.6699 | 0.027218
8 | -168.2 | 37 | 7000 | 52 | 63.6699 | 2.619
9 | -168.135 | 36 | 7000 | 70 | 63.6699 | 0.57243
10 | -168.065 | 36 | 7000 | 64 | 63.6699 | 0.0017025
11 | -168.005 | 36 | 7000 | 65 | 63.6699 | 0.027218
12 | -167.94 | 36 | 7000 | 65 | 63.6699 | 0.027218
13 | -167.87 | 36 | 7000 | 66 | 63.6699 | 0.082263
14 | -167.81 | 36 | 7000 | 73 | 63.6699 | 1.1925
15 | -167.745 | 36 | 7000 | 57 | 63.6699 | 0.78049
16 | -167.67 | 38 | 7000 | 52 | 63.6699 | 2.619
17 | -167.61 | 37 | 7000 | 60 | 63.6699 | 0.22447
18 | -167.545 | 36 | 7000 | 87 | 63.6699 | 6.2562
19 | -167.485 | 36 | 7000 | 83 | 65.8242 | 3.5543
20 | -167.42 | 36 | 7000 | 71 | 79.6069 | 1.0434
21 | -167.355 | 37 | 7000 | 113 | 106.1344 | 0.41714
22 | -167.28 | 38 | 7000 | 134 | 146.8385 | 1.2301
23 | -167.22 | 37 | 7000 | 186 | 169.5604 | 1.453
24 | -167.15 | 37 | 7000 | 189 | 182.3441 | 0.2344
25 | -167.085 | 37 | 7000 | 201 | 183.328 | 1.5537
26 | -167.025 | 37 | 7000 | 216 | 183.328 | 4.9419
27 | -166.965 | 36 | 7000 | 182 | 183.328 | 0.0096903
28 | -166.895 | 36 | 7000 | 181 | 183.328 | 0.029943
29 | -166.825 | 37 | 7000 | 193 | 183.328 | 0.4847
30 | -166.77 | 37 | 7000 | 191 | 183.328 | 0.30816
31 | -166.705 | 36 | 7000 | 175 | 183.328 | 0.39632
32 | -166.63 | 35 | 7000 | 165 | 183.328 | 2.0359
33 | -166.575 | 37 | 7000 | 186 | 183.328 | 0.038384
34 | -166.51 | 37 | 7000 | 183 | 183.328 | 0.00058796
35 | -166.425 | 36 | 7000 | 160 | 183.328 | 3.4012
36 | -166.365 | 37 | 7000 | 173 | 183.328 | 0.61658
37 | -166.315 | 36 | 7000 | 181 | 183.328 | 0.029943
Run : 3 Seq 3 Rec 3 File L3A:980033 Date 28-DEC-2013 17:01:03.72
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-169.090 YPOS= -16.835 ZPOS= -19.355 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 111.6417 | -167.8849 | 0.30859 | 66.373 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -169.09 | 37 | 7000 | 84 | 66.373 | 3.6989 | 1.3318
2 | -169.005 | 35 | 7000 | 65 | 66.373 | 0.029002
3 | -168.945 | 37 | 7000 | 51 | 66.373 | 4.6339
4 | -168.885 | 37 | 7000 | 69 | 66.373 | 0.10002
5 | -168.82 | 37 | 7000 | 66 | 66.373 | 0.0021082
6 | -168.76 | 35 | 7000 | 62 | 66.373 | 0.30844
7 | -168.69 | 36 | 7000 | 69 | 66.373 | 0.10002
8 | -168.625 | 36 | 7000 | 55 | 66.373 | 2.3517
9 | -168.56 | 36 | 7000 | 71 | 66.373 | 0.30154
10 | -168.495 | 37 | 7000 | 69 | 66.373 | 0.10002
11 | -168.435 | 36 | 7000 | 73 | 66.373 | 0.6016
12 | -168.37 | 36 | 7000 | 60 | 66.373 | 0.67692
13 | -168.3 | 37 | 7000 | 75 | 66.373 | 0.99233
14 | -168.235 | 37 | 7000 | 67 | 66.373 | 0.0058674
15 | -168.175 | 37 | 7000 | 70 | 66.373 | 0.18793
16 | -168.11 | 37 | 7000 | 69 | 66.373 | 0.10002
17 | -168.04 | 37 | 7000 | 73 | 71.0447 | 0.052372
18 | -167.98 | 37 | 7000 | 83 | 84.1462 | 0.015828
19 | -167.905 | 36 | 7000 | 119 | 112.3934 | 0.36678
20 | -167.845 | 37 | 7000 | 127 | 140.7507 | 1.4888
21 | -167.775 | 36 | 7000 | 173 | 164.2683 | 0.44071
22 | -167.705 | 37 | 7000 | 190 | 176.2965 | 0.98835
23 | -167.645 | 37 | 7000 | 177 | 178.0147 | 0.0058169
24 | -167.59 | 37 | 7000 | 176 | 178.0147 | 0.023062
25 | -167.525 | 36 | 7000 | 212 | 178.0147 | 5.4481
26 | -167.455 | 37 | 7000 | 148 | 178.0147 | 6.087
27 | -167.38 | 37 | 7000 | 210 | 178.0147 | 4.8717
28 | -167.32 | 37 | 7000 | 193 | 178.0147 | 1.1635
29 | -167.255 | 37 | 7000 | 176 | 178.0147 | 0.023062
30 | -167.2 | 37 | 7000 | 185 | 178.0147 | 0.26375
31 | -167.135 | 36 | 7000 | 194 | 178.0147 | 1.3172
32 | -167.065 | 37 | 7000 | 160 | 178.0147 | 2.0283
33 | -166.99 | 36 | 7000 | 158 | 178.0147 | 2.5354
34 | -166.93 | 37 | 7000 | 184 | 178.0147 | 0.1947
35 | -166.865 | 36 | 7000 | 183 | 178.0147 | 0.13581
36 | -166.81 | 37 | 7000 | 162 | 178.0147 | 1.5831
37 | -166.745 | 36 | 7000 | 167 | 178.0147 | 0.72649
Run : 4 Seq 4 Rec 4 File L3A:980033 Date 28-DEC-2013 17:25:33.55
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-167.905 YPOS= -16.880 ZPOS= -28.960 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 94.7229 | -166.5363 | 0.35 | 68.0738 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.91 | 36 | 7000 | 61 | 68.0738 | 0.8203 | 1.1212
2 | -167.835 | 36 | 7000 | 65 | 68.0738 | 0.14535
3 | -167.76 | 37 | 7000 | 62 | 68.0738 | 0.59501
4 | -167.69 | 36 | 7000 | 62 | 68.0738 | 0.59501
5 | -167.63 | 38 | 7000 | 67 | 68.0738 | 0.017208
6 | -167.565 | 36 | 7000 | 56 | 68.0738 | 2.6031
7 | -167.51 | 36 | 7000 | 64 | 68.0738 | 0.25931
8 | -167.43 | 36 | 7000 | 74 | 68.0738 | 0.4746
9 | -167.37 | 38 | 7000 | 72 | 68.0738 | 0.2141
10 | -167.305 | 36 | 7000 | 64 | 68.0738 | 0.25931
11 | -167.245 | 37 | 7000 | 65 | 68.0738 | 0.14535
12 | -167.175 | 37 | 7000 | 64 | 68.0738 | 0.25931
13 | -167.11 | 36 | 7000 | 63 | 68.0738 | 0.40862
14 | -167.045 | 37 | 7000 | 77 | 68.0738 | 1.0348
15 | -166.98 | 36 | 7000 | 75 | 68.0738 | 0.63964
16 | -166.915 | 36 | 7000 | 82 | 68.0738 | 2.3651
17 | -166.86 | 36 | 7000 | 63 | 68.0738 | 0.40862
18 | -166.795 | 37 | 7000 | 75 | 68.0738 | 0.63964
19 | -166.73 | 37 | 7000 | 91 | 70.31 | 4.7041
20 | -166.655 | 37 | 7000 | 117 | 80.897 | 11.1404
21 | -166.585 | 36 | 7000 | 96 | 98.6266 | 0.071866
22 | -166.52 | 37 | 7000 | 107 | 121.4648 | 1.9554
23 | -166.47 | 36 | 7000 | 124 | 137.4089 | 1.45
24 | -166.4 | 36 | 7000 | 157 | 153.2355 | 0.090264
25 | -166.34 | 37 | 7000 | 166 | 160.7698 | 0.16479
26 | -166.275 | 37 | 7000 | 169 | 162.7966 | 0.2277
27 | -166.205 | 37 | 7000 | 162 | 162.7966 | 0.0039175
28 | -166.13 | 37 | 7000 | 167 | 162.7966 | 0.1058
29 | -166.07 | 36 | 7000 | 167 | 162.7966 | 0.1058
30 | -166.015 | 37 | 7000 | 170 | 162.7966 | 0.30523
31 | -165.945 | 37 | 7000 | 159 | 162.7966 | 0.090657
32 | -165.885 | 37 | 7000 | 157 | 162.7966 | 0.21402
33 | -165.81 | 37 | 7000 | 163 | 162.7966 | 0.00025373
34 | -165.745 | 36 | 7000 | 145 | 162.7966 | 2.1843
35 | -165.68 | 37 | 7000 | 147 | 162.7966 | 1.6975
36 | -165.615 | 37 | 7000 | 145 | 162.7966 | 2.1843
37 | -165.56 | 36 | 7000 | 151 | 162.7966 | 0.92159
Run : 5 Seq 5 Rec 5 File L3A:980033 Date 28-DEC-2013 17:50:31.45
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-166.810 YPOS= -17.190 ZPOS= -40.080 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 85.4934 | -165.4496 | 0.35 | 62.8356 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -166.81 | 37 | 7000 | 53 | 62.8356 | 1.8253 | 1.58
2 | -166.73 | 37 | 7000 | 63 | 62.8356 | 0.00042883
3 | -166.665 | 36 | 7000 | 61 | 62.8356 | 0.055239
4 | -166.605 | 37 | 7000 | 69 | 62.8356 | 0.55072
5 | -166.54 | 37 | 7000 | 65 | 62.8356 | 0.072069
6 | -166.48 | 37 | 7000 | 53 | 62.8356 | 1.8253
7 | -166.41 | 37 | 7000 | 66 | 62.8356 | 0.15172
8 | -166.33 | 37 | 7000 | 61 | 62.8356 | 0.055239
9 | -166.265 | 37 | 7000 | 58 | 62.8356 | 0.40316
10 | -166.2 | 36 | 7000 | 63 | 62.8356 | 0.00042883
11 | -166.15 | 37 | 7000 | 73 | 62.8356 | 1.4153
12 | -166.085 | 37 | 7000 | 63 | 62.8356 | 0.00042883
13 | -166.02 | 37 | 7000 | 62 | 62.8356 | 0.011263
14 | -165.95 | 37 | 7000 | 55 | 62.8356 | 1.1163
15 | -165.885 | 36 | 7000 | 74 | 62.8356 | 1.6844
16 | -165.82 | 36 | 7000 | 56 | 62.8356 | 0.83439
17 | -165.76 | 37 | 7000 | 64 | 62.8356 | 0.021184
18 | -165.7 | 37 | 7000 | 67 | 62.8356 | 0.25884
19 | -165.63 | 36 | 7000 | 70 | 65.98 | 0.23086
20 | -165.555 | 36 | 7000 | 95 | 76.9326 | 3.4361
21 | -165.495 | 37 | 7000 | 111 | 91.3476 | 3.4794
22 | -165.43 | 37 | 7000 | 103 | 112.0962 | 0.80332
23 | -165.37 | 37 | 7000 | 112 | 128.6661 | 2.48
24 | -165.31 | 36 | 7000 | 120 | 140.211 | 3.404
25 | -165.24 | 37 | 7000 | 135 | 147.3291 | 1.126
26 | -165.17 | 36 | 7000 | 120 | 148.329 | 6.6878
27 | -165.11 | 37 | 7000 | 152 | 148.329 | 0.088659
28 | -165.04 | 37 | 7000 | 157 | 148.329 | 0.47889
29 | -164.975 | 37 | 7000 | 143 | 148.329 | 0.19859
30 | -164.91 | 36 | 7000 | 166 | 148.329 | 1.8811
31 | -164.855 | 36 | 7000 | 159 | 148.329 | 0.71616
32 | -164.775 | 37 | 7000 | 185 | 148.329 | 7.269
33 | -164.715 | 37 | 7000 | 172 | 148.329 | 3.2576
34 | -164.65 | 36 | 7000 | 142 | 148.329 | 0.28209
35 | -164.585 | 37 | 7000 | 139 | 148.329 | 0.62612
36 | -164.525 | 37 | 7000 | 168 | 148.329 | 2.3033
37 | -164.47 | 37 | 7000 | 163 | 148.329 | 1.3205
Run : 6 Seq 6 Rec 6 File L3A:980033 Date 28-DEC-2013 18:14:58.05
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-168.020 YPOS= -17.190 ZPOS= -49.095 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 48.6773 | -166.8212 | 0.35 | 64.015 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.02 | 37 | 7000 | 69 | 64.015 | 0.36015 | 0.78845
2 | -167.945 | 37 | 7000 | 70 | 64.015 | 0.51172
3 | -167.885 | 36 | 7000 | 62 | 64.015 | 0.065487
4 | -167.81 | 36 | 7000 | 66 | 64.015 | 0.0597
5 | -167.75 | 37 | 7000 | 56 | 64.015 | 1.1471
6 | -167.69 | 36 | 7000 | 61 | 64.015 | 0.14902
7 | -167.62 | 37 | 7000 | 69 | 64.015 | 0.36015
8 | -167.56 | 36 | 7000 | 59 | 64.015 | 0.42627
9 | -167.495 | 37 | 7000 | 61 | 64.015 | 0.14902
10 | -167.425 | 37 | 7000 | 72 | 64.015 | 0.88556
11 | -167.365 | 37 | 7000 | 59 | 64.015 | 0.42627
12 | -167.3 | 36 | 7000 | 61 | 64.015 | 0.14902
13 | -167.23 | 37 | 7000 | 70 | 64.015 | 0.51172
14 | -167.165 | 37 | 7000 | 63 | 64.015 | 0.016353
15 | -167.105 | 37 | 7000 | 70 | 64.015 | 0.51172
16 | -167.03 | 36 | 7000 | 69 | 64.6107 | 0.27922
17 | -166.975 | 36 | 7000 | 59 | 67.505 | 1.226
18 | -166.905 | 36 | 7000 | 72 | 74.6657 | 0.098696
19 | -166.845 | 37 | 7000 | 101 | 83.9029 | 2.8942
20 | -166.775 | 37 | 7000 | 92 | 96.5972 | 0.22972
21 | -166.71 | 37 | 7000 | 94 | 105.3147 | 1.362
22 | -166.645 | 36 | 7000 | 120 | 110.6746 | 0.72469
23 | -166.58 | 36 | 7000 | 115 | 112.6767 | 0.046937
24 | -166.515 | 37 | 7000 | 142 | 112.6923 | 6.0489
25 | -166.455 | 37 | 7000 | 125 | 112.6923 | 1.2118
26 | -166.385 | 37 | 7000 | 111 | 112.6923 | 0.0258
27 | -166.325 | 37 | 7000 | 100 | 112.6923 | 1.6109
28 | -166.26 | 37 | 7000 | 109 | 112.6923 | 0.12507
29 | -166.185 | 36 | 7000 | 112 | 112.6923 | 0.0042788
30 | -166.13 | 36 | 7000 | 113 | 112.6923 | 0.00083806
31 | -166.055 | 36 | 7000 | 113 | 112.6923 | 0.00083806
32 | -166 | 37 | 7000 | 102 | 112.6923 | 1.1208
33 | -165.935 | 37 | 7000 | 109 | 112.6923 | 0.12507
34 | -165.87 | 37 | 7000 | 105 | 112.6923 | 0.56353
35 | -165.8 | 37 | 7000 | 119 | 112.6923 | 0.33435
36 | -165.74 | 37 | 7000 | 74 | 112.6923 | 20.231
37 | -165.675 | 36 | 7000 | 78 | 112.6923 | 15.4302
Run : 7 Seq 7 Rec 7 File L3A:980033 Date 28-DEC-2013 18:39:47.05
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-168.620 YPOS= -17.120 ZPOS= -58.370 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 95.6993 | -167.4495 | 0.35 | 60.5781 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -168.615 | 37 | 7000 | 61 | 60.5781 | 0.0029183 | 2.2315
2 | -168.54 | 36 | 7000 | 68 | 60.5781 | 0.81007
3 | -168.48 | 37 | 7000 | 61 | 60.5781 | 0.0029183
4 | -168.415 | 36 | 7000 | 62 | 60.5781 | 0.032611
5 | -168.355 | 37 | 7000 | 70 | 60.5781 | 1.2682
6 | -168.28 | 37 | 7000 | 50 | 60.5781 | 2.2379
7 | -168.215 | 37 | 7000 | 70 | 60.5781 | 1.2682
8 | -168.155 | 36 | 7000 | 76 | 60.5781 | 3.1294
9 | -168.08 | 37 | 7000 | 65 | 60.5781 | 0.30082
10 | -168.02 | 37 | 7000 | 55 | 60.5781 | 0.56573
11 | -167.955 | 37 | 7000 | 36 | 60.5781 | 16.7801
12 | -167.895 | 36 | 7000 | 74 | 60.5781 | 2.4344
13 | -167.825 | 36 | 7000 | 79 | 60.5781 | 4.2958
14 | -167.765 | 37 | 7000 | 53 | 60.5781 | 1.0835
15 | -167.695 | 37 | 7000 | 62 | 60.5813 | 0.032464
16 | -167.63 | 37 | 7000 | 61 | 64.0872 | 0.15625
17 | -167.565 | 37 | 7000 | 76 | 74.1945 | 0.042893
18 | -167.51 | 37 | 7000 | 101 | 87.9028 | 1.6984
19 | -167.43 | 36 | 7000 | 103 | 115.6832 | 1.5618
20 | -167.37 | 37 | 7000 | 137 | 134.2405 | 0.055582
21 | -167.305 | 37 | 7000 | 145 | 147.9969 | 0.061942
22 | -167.235 | 37 | 7000 | 169 | 155.429 | 1.0898
23 | -167.175 | 37 | 7000 | 196 | 156.2774 | 8.0505
24 | -167.11 | 36 | 7000 | 153 | 156.2774 | 0.070203
25 | -167.045 | 36 | 7000 | 157 | 156.2774 | 0.0033263
26 | -166.98 | 37 | 7000 | 147 | 156.2774 | 0.5855
27 | -166.91 | 37 | 7000 | 134 | 156.2774 | 3.7036
28 | -166.845 | 38 | 7000 | 125 | 156.2774 | 7.8262
29 | -166.78 | 37 | 7000 | 141 | 156.2774 | 1.6553
30 | -166.725 | 37 | 7000 | 122 | 156.2774 | 9.6306
31 | -166.65 | 37 | 7000 | 120 | 156.2774 | 10.9671
32 | -166.585 | 36 | 7000 | 125 | 156.2774 | 7.8262
33 | -166.52 | 36 | 7000 | 103 | 156.2774 | 27.558
34 | -166.46 | 37 | 7000 | 95 | 156.2774 | 39.5254
35 | -166.395 | 37 | 7000 | 96 | 156.2774 | 37.8475
36 | -166.335 | 36 | 7000 | 101 | 156.2774 | 30.2533
37 | -166.275 | 37 | 7000 | 107 | 156.2774 | 22.694
Run : 8 Seq 8 Rec 8 File L3A:980033 Date 28-DEC-2013 19:04:32.22
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-167.950 YPOS= -17.225 ZPOS= -67.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 90.0754 | -166.6833 | 0.37285 | 61.3607 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.95 | 37 | 7000 | 65 | 61.3607 | 0.20376 | 0.88058
2 | -167.885 | 36 | 7000 | 66 | 61.3607 | 0.3261
3 | -167.81 | 37 | 7000 | 57 | 61.3607 | 0.33361
4 | -167.74 | 36 | 7000 | 59 | 61.3607 | 0.094458
5 | -167.685 | 37 | 7000 | 79 | 61.3607 | 3.9385
6 | -167.62 | 37 | 7000 | 56 | 61.3607 | 0.51317
7 | -167.55 | 36 | 7000 | 61 | 61.3607 | 0.0021331
8 | -167.48 | 37 | 7000 | 75 | 61.3607 | 2.4804
9 | -167.41 | 36 | 7000 | 53 | 61.3607 | 1.3189
10 | -167.345 | 37 | 7000 | 59 | 61.3607 | 0.094458
11 | -167.285 | 36 | 7000 | 68 | 61.3607 | 0.64824
12 | -167.23 | 37 | 7000 | 58 | 61.3607 | 0.19473
13 | -167.155 | 36 | 7000 | 59 | 61.3607 | 0.094458
14 | -167.095 | 37 | 7000 | 72 | 61.3607 | 1.5721
15 | -167.025 | 37 | 7000 | 55 | 61.3607 | 0.73561
16 | -166.96 | 37 | 7000 | 61 | 61.3607 | 0.0021331
17 | -166.9 | 37 | 7000 | 50 | 62.7913 | 3.2724
18 | -166.835 | 37 | 7000 | 79 | 69.4868 | 1.1456
19 | -166.77 | 36 | 7000 | 81 | 81.6573 | 0.0053338
20 | -166.695 | 37 | 7000 | 108 | 102.5036 | 0.27973
21 | -166.63 | 37 | 7000 | 118 | 122.7793 | 0.19357
22 | -166.565 | 36 | 7000 | 128 | 137.7561 | 0.7436
23 | -166.515 | 37 | 7000 | 154 | 145.551 | 0.46354
24 | -166.445 | 36 | 7000 | 160 | 151.0213 | 0.50386
25 | -166.385 | 36 | 7000 | 148 | 151.4362 | 0.079778
26 | -166.305 | 37 | 7000 | 138 | 151.4362 | 1.3082
27 | -166.245 | 37 | 7000 | 160 | 151.4362 | 0.45837
28 | -166.185 | 38 | 7000 | 167 | 151.4362 | 1.4505
29 | -166.12 | 36 | 7000 | 134 | 151.4362 | 2.2688
30 | -166.06 | 37 | 7000 | 148 | 151.4362 | 0.079778
31 | -165.995 | 37 | 7000 | 158 | 151.4362 | 0.27268
32 | -165.915 | 36 | 7000 | 146 | 151.4362 | 0.20241
33 | -165.855 | 37 | 7000 | 151 | 151.4362 | 0.0012598
34 | -165.79 | 37 | 7000 | 170 | 151.4362 | 2.0272
35 | -165.725 | 36 | 7000 | 155 | 151.4362 | 0.081942
36 | -165.67 | 37 | 7000 | 138 | 151.4362 | 1.3082
37 | -165.605 | 36 | 7000 | 159 | 151.4362 | 0.35982
Run : 9 Seq 9 Rec 9 File L3A:980033 Date 28-DEC-2013 19:29:01.13
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-167.015 YPOS= -17.225 ZPOS= -78.365 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 99.1137 | -165.7032 | 0.3818 | 66.2023 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.02 | 37 | 7000 | 78 | 66.2023 | 1.7844 | 0.96223
2 | -166.94 | 36 | 7000 | 59 | 66.2023 | 0.8792
3 | -166.865 | 38 | 7000 | 67 | 66.2023 | 0.0094977
4 | -166.805 | 36 | 7000 | 69 | 66.2023 | 0.11344
5 | -166.745 | 37 | 7000 | 63 | 66.2023 | 0.16277
6 | -166.68 | 36 | 7000 | 57 | 66.2023 | 1.4857
7 | -166.62 | 37 | 7000 | 72 | 66.2023 | 0.46685
8 | -166.545 | 37 | 7000 | 56 | 66.2023 | 1.8587
9 | -166.475 | 36 | 7000 | 61 | 66.2023 | 0.44367
10 | -166.41 | 37 | 7000 | 75 | 66.2023 | 1.032
11 | -166.36 | 37 | 7000 | 66 | 66.2023 | 0.00062
12 | -166.29 | 36 | 7000 | 72 | 66.2023 | 0.46685
13 | -166.225 | 36 | 7000 | 69 | 66.2023 | 0.11344
14 | -166.16 | 36 | 7000 | 62 | 66.2023 | 0.28483
15 | -166.085 | 35 | 7000 | 82 | 66.2023 | 3.0435
16 | -166.025 | 34 | 7000 | 61 | 66.2023 | 0.44367
17 | -165.97 | 33 | 7000 | 64 | 66.2092 | 0.076259
18 | -165.905 | 32 | 7000 | 70 | 69.3636 | 0.0057852
19 | -165.835 | 33 | 7000 | 92 | 79.1859 | 1.7848
20 | -165.77 | 33 | 7000 | 95 | 94.2729 | 0.0055652
21 | -165.7 | 33 | 7000 | 100 | 116.9316 | 2.8668
22 | -165.635 | 34 | 7000 | 145 | 137.6378 | 0.3738
23 | -165.58 | 33 | 7000 | 157 | 150.6711 | 0.25513
24 | -165.515 | 32 | 7000 | 177 | 160.7706 | 1.4881
25 | -165.45 | 33 | 7000 | 167 | 165.1249 | 0.021054
26 | -165.385 | 33 | 7000 | 168 | 165.316 | 0.042882
27 | -165.315 | 32 | 7000 | 143 | 165.316 | 3.4825
28 | -165.24 | 33 | 7000 | 154 | 165.316 | 0.8315
29 | -165.18 | 33 | 7000 | 169 | 165.316 | 0.080309
30 | -165.125 | 33 | 7000 | 166 | 165.316 | 0.0028188
31 | -165.055 | 33 | 7000 | 153 | 165.316 | 0.99139
32 | -164.995 | 34 | 7000 | 177 | 165.316 | 0.77128
33 | -164.92 | 32 | 7000 | 164 | 165.316 | 0.010559
34 | -164.855 | 32 | 7000 | 165 | 165.316 | 0.000605
35 | -164.79 | 32 | 7000 | 163 | 165.316 | 0.032906
36 | -164.73 | 33 | 7000 | 158 | 165.316 | 0.33875
37 | -164.66 | 33 | 7000 | 199 | 165.316 | 5.7016
Run : 10 Seq 10 Rec 10 File L3A:980033 Date 28-DEC-2013 19:51:57.33
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-167.015 YPOS= -17.225 ZPOS= -89.210 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi | -166.5363
Com : Use COMMENT command to store text on this line. | [5 empty] | 122.8507 | -165.8334 | 0.33233 | 60.4337 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.02 | 33 | 7000 | 63 | 60.4337 | 0.10454 | 1.2582
2 | -166.94 | 33 | 7000 | 53 | 60.4337 | 1.0426
3 | -166.865 | 32 | 7000 | 63 | 60.4337 | 0.10454
4 | -166.805 | 33 | 7000 | 57 | 60.4337 | 0.20685
5 | -166.745 | 32 | 7000 | 56 | 60.4337 | 0.35103
6 | -166.685 | 33 | 7000 | 63 | 60.4337 | 0.10454
7 | -166.61 | 33 | 7000 | 58 | 60.4337 | 0.10212
8 | -166.54 | 33 | 7000 | 54 | 60.4337 | 0.76653
9 | -166.475 | 33 | 7000 | 68 | 60.4337 | 0.8419
10 | -166.41 | 32 | 7000 | 67 | 60.4337 | 0.64353
11 | -166.36 | 33 | 7000 | 61 | 60.4337 | 0.0052575
12 | -166.295 | 32 | 7000 | 53 | 60.4337 | 1.0426
13 | -166.23 | 33 | 7000 | 66 | 60.4337 | 0.46945
14 | -166.155 | 34 | 7000 | 71 | 60.4337 | 1.5725
15 | -166.09 | 33 | 7000 | 57 | 60.4337 | 0.20685
16 | -166.025 | 34 | 7000 | 65 | 62.5315 | 0.093744
17 | -165.97 | 34 | 7000 | 75 | 71.21 | 0.19152
18 | -165.905 | 34 | 7000 | 93 | 90.1425 | 0.087801
19 | -165.835 | 33 | 7000 | 109 | 121.0427 | 1.3305
20 | -165.77 | 34 | 7000 | 160 | 150.545 | 0.55873
21 | -165.705 | 34 | 7000 | 173 | 170.6536 | 0.031825
22 | -165.64 | 34 | 7000 | 193 | 181.363 | 0.70165
23 | -165.58 | 34 | 7000 | 194 | 183.2844 | 0.59187
24 | -165.51 | 33 | 7000 | 202 | 183.2844 | 1.734
25 | -165.45 | 34 | 7000 | 190 | 183.2844 | 0.23736
26 | -165.385 | 34 | 7000 | 236 | 183.2844 | 11.7751
27 | -165.315 | 34 | 7000 | 186 | 183.2844 | 0.039647
28 | -165.24 | 34 | 7000 | 182 | 183.2844 | 0.0090645
29 | -165.18 | 34 | 7000 | 200 | 183.2844 | 1.3971
30 | -165.125 | 35 | 7000 | 185 | 183.2844 | 0.015909
31 | -165.06 | 33 | 7000 | 170 | 183.2844 | 1.0381
32 | -164.995 | 34 | 7000 | 191 | 183.2844 | 0.31168
33 | -164.915 | 34 | 7000 | 157 | 183.2844 | 4.4005
34 | -164.855 | 34 | 7000 | 169 | 183.2844 | 1.2074
35 | -164.79 | 35 | 7000 | 178 | 183.2844 | 0.15688
36 | -164.73 | 35 | 7000 | 178 | 183.2844 | 0.15688
37 | -164.66 | 34 | 7000 | 149 | 183.2844 | 7.8887
Run : 11 Seq 11 Rec 11 File L3A:980033 Date 28-DEC-2013 20:14:34.96
Mode: MW_ANGLE Npts 37 Rpts 0
Cmon: Mon1[ DB]= 7000 * 1 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -45.000 PHI= -90.500 DSRD= 12.000
Drv : XPOS=-167.925 YPOS= -17.595 ZPOS=-100.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line. | [5 empty] | Amp | Xcentre | Width | Back | Phi
Com : Use COMMENT command to store text on this line. | [5 empty] | 113.9797 | -166.7239 | 0.29414 | 64.0865 | 90
POINT | XPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -167.925 | 35 | 7000 | 66 | 64.0865 | 0.055478 | 0.8933
2 | -167.86 | 35 | 7000 | 63 | 64.0865 | 0.018737
3 | -167.785 | 34 | 7000 | 57 | 64.0865 | 0.88102
4 | -167.72 | 35 | 7000 | 57 | 64.0865 | 0.88102
5 | -167.66 | 35 | 7000 | 66 | 64.0865 | 0.055478
6 | -167.59 | 35 | 7000 | 73 | 64.0865 | 1.0884
7 | -167.53 | 36 | 7000 | 60 | 64.0865 | 0.27832
8 | -167.465 | 37 | 7000 | 70 | 64.0865 | 0.49957
9 | -167.4 | 37 | 7000 | 64 | 64.0865 | 0.00011688
10 | -167.33 | 36 | 7000 | 65 | 64.0865 | 0.012839
11 | -167.26 | 36 | 7000 | 63 | 64.0865 | 0.018737
12 | -167.205 | 36 | 7000 | 60 | 64.0865 | 0.27832
13 | -167.135 | 36 | 7000 | 59 | 64.0865 | 0.43851
14 | -167.065 | 36 | 7000 | 78 | 64.0865 | 2.4819
15 | -167.01 | 36 | 7000 | 66 | 64.0865 | 0.055478
16 | -166.94 | 36 | 7000 | 69 | 64.0865 | 0.34989
17 | -166.88 | 36 | 7000 | 62 | 67.6298 | 0.51121
18 | -166.815 | 36 | 7000 | 85 | 82.0781 | 0.10044
19 | -166.75 | 36 | 7000 | 111 | 107.6588 | 0.10057
20 | -166.68 | 36 | 7000 | 140 | 142.5848 | 0.047721
21 | -166.62 | 36 | 7000 | 159 | 163.7866 | 0.1441
22 | -166.54 | 36 | 7000 | 187 | 177.3004 | 0.50312
23 | -166.485 | 36 | 7000 | 197 | 178.0662 | 1.8197
24 | -166.425 | 36 | 7000 | 197 | 178.0662 | 1.8197
25 | -166.355 | 36 | 7000 | 167 | 178.0662 | 0.7333
26 | -166.29 | 36 | 7000 | 168 | 178.0662 | 0.60314
27 | -166.225 | 37 | 7000 | 184 | 178.0662 | 0.19136
28 | -166.16 | 35 | 7000 | 197 | 178.0662 | 1.8197
29 | -166.09 | 36 | 7000 | 175 | 178.0662 | 0.053723
30 | -166.035 | 36 | 7000 | 182 | 178.0662 | 0.085027
31 | -165.97 | 36 | 7000 | 198 | 178.0662 | 2.0069
32 | -165.9 | 36 | 7000 | 147 | 178.0662 | 6.5654
33 | -165.835 | 36 | 7000 | 166 | 178.0662 | 0.87707
34 | -165.77 | 36 | 7000 | 180 | 178.0662 | 0.020776
35 | -165.705 | 35 | 7000 | 156 | 178.0662 | 3.1213
36 | -165.645 | 36 | 7000 | 182 | 178.0662 | 0.085027
37 | -165.58 | 35 | 7000 | 191 | 178.0662 | 0.87583

## Setup
| Plate G2 | [5 empty] | 0.15 mm deoth |  |  | 2.5 mm depth
Tooth | Xtel | X-AXIS | Y-AXIS | Z-AXIS | Xwall |  | X-AXIS | Y-AXIS | Z-AXIS | X-AXIS | Y-AXIS | Z-AXIS | X-AXIS | Y-AXIS | Z-AXIS | Depth
I | -167.195 | -168.395 | -16.575 | 1.33 | -167.1306 | 0.06442 | -166.9806 | -16.575 | 1.33 | -164.6306 | -16.575 | 1.33 | -166.3712 | -17.19 | -49.095 | 0.45
E | -167.46 | -168.66 | -16.825 | -9.295 | -167.3236 | 0.13637 | -167.1736 | -16.825 | -9.295 | -164.8236 | -16.825 | -9.295 | -166.0712 | -17.19 | -49.095 | 0.75
D | -167.89 | -169.09 | -16.835 | -19.355 | -167.8849 | 0.0050787 | -167.7349 | -16.835 | -19.355 | -165.3849 | -16.835 | -19.355 | -165.7712 | -17.19 | -49.095 | 1.05
C | -166.705 | -167.905 | -16.88 | -28.96 | -166.5363 | 0.16871 | -166.3863 | -16.88 | -28.96 | -164.0363 | -16.88 | -28.96 | -165.4712 | -17.19 | -49.095 | 1.35
B | -165.61 | -166.81 | -17.19 | -40.08 | -165.4496 | 0.16036 | -165.2996 | -17.19 | -40.08 | -162.9496 | -17.19 | -40.08 | -165.1712 | -17.19 | -49.095 | 1.65
A | -166.82 | -168.02 | -17.19 | -49.095 | -166.8212 | -0.0012299 | -166.6712 | -17.19 | -49.095 | -164.3212 | -17.19 | -49.095 | -164.8712 | -17.19 | -49.095 | 1.95
1 | -167.42 | -168.62 | -17.12 | -58.37 | -167.4495 | -0.029534 | -167.2995 | -17.12 | -58.37 | -164.9495 | -17.12 | -58.37 | -164.5712 | -17.19 | -49.095 | 2.25
2 | -166.75 | -167.95 | -17.225 | -67.325 | -166.6833 | 0.066658 | -166.5333 | -17.225 | -67.325 | -164.1833 | -17.225 | -67.325
3 | -165.815 | -167.015 | -17.225 | -78.365 | -165.7032 | 0.11179 | -165.5532 | -17.225 | -78.365 | -163.2032 | -17.225 | -78.365
4 | -165.815 | -167.015 | -17.225 | -89.21 | -165.8334 | -0.018433 | -165.6834 | -17.225 | -89.21 | -163.3334 | -17.225 | -89.21
5 | -166.725 | -167.925 | -17.595 | -100 | -166.7239 | 0.0011244 | -166.5739 | -17.595 | -100 | -164.2239 | -17.595 | -100