## Navigation
Filename | 980048 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 20 | 1 | 5 | 15 | 19 | 50 | 2 | 5 | 4 | 3 | PHI | 8
Parsed? | YES | 2 | 55 | 65 | 69 | 100 | 2 | 5 | 4 | 3 | PHI | 8
Last row | 1000 | 3 | 105 | 115 | 119 | 150 | 2 | 5 | 4 | 3 | PHI | 8
Number of columns in STRAINS worksheet | 19 | 4 | 155 | 165 | 169 | 200 | 2 | 5 | 4 | 3 | PHI | 8
First drive column in STRAINS worksheet | 5 | 5 | 205 | 215 | 219 | 250 | 2 | 5 | 4 | 3 | PHI | 8
Last drive column in STRAINS worksheet | 13 | 6 | 255 | 265 | 269 | 300 | 2 | 5 | 4 | 3 | PHI | 8
Number of Grids | 0 | 7 | 305 | 315 | 319 | 350 | 2 | 5 | 4 | 3 | PHI | 8
Instrument | L3 | 8 | 355 | 365 | 369 | 400 | 2 | 5 | 4 | 3 | PHI | 8
|  | 9 | 405 | 415 | 419 | 450 | 2 | 5 | 4 | 3 | PHI | 8
|  | 10 | 455 | 465 | 469 | 500 | 2 | 5 | 4 | 3 | PHI | 8
|  | 11 | 505 | 515 | 519 | 550 | 2 | 5 | 4 | 3 | PHI | 8
|  | 12 | 555 | 565 | 569 | 600 | 2 | 5 | 4 | 3 | PHI | 8
|  | 13 | 605 | 615 | 619 | 650 | 2 | 5 | 4 | 3 | PHI | 8
|  | 14 | 655 | 665 | 669 | 700 | 2 | 5 | 4 | 3 | PHI | 8
|  | 15 | 705 | 715 | 719 | 750 | 2 | 5 | 4 | 3 | PHI | 8
|  | 16 | 755 | 765 | 769 | 800 | 2 | 5 | 4 | 3 | PHI | 8
|  | 17 | 805 | 815 | 819 | 850 | 2 | 5 | 4 | 3 | PHI | 8
|  | 18 | 855 | 865 | 869 | 900 | 2 | 5 | 4 | 3 | PHI | 8
|  | 19 | 905 | 915 | 919 | 950 | 2 | 5 | 4 | 3 | PHI | 8
|  | 20 | 955 | 965 | 969 | 1000 | 2 | 5 | 4 | 3 | PHI | 8

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min | I | DI | f | Df | FWHM | DFWHM | Bkgd | DBkgd | Slope | DSlope | c2
1 | 1 | 980048 | 2014-01-03 10:34 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 22640 | 106 | 361 | 5 | 59.9148 | 4.197 | -48.0194 | 0.01072 | 0.43421 | 0.022328 | 3.5256 | 0.32392 | **** | **** | 1.7704
2 | 1 | 980048 | 2014-01-03 10:37 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23184 | 107 | 317 | 9 | 55.7984 | 3.5492 | -48.0065 | 0.010416 | 0.45969 | 0.022023 | 4.0178 | 0.31082 | **** | **** | 1.553
3 | 2 | 980048 | 2014-01-03 10:39 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50021 | 230 | 345 | 18 | 28.3893 | 2.2893 | -56.0928 | 0.013282 | 0.45544 | 0.029287 | 3.666 | 0.24984 | **** | **** | 1.9714
4 | 2 | 980048 | 2014-01-03 10:44 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50078 | 231 | 361 | 23 | 29.9401 | 1.7769 | -56.0776 | 0.0097934 | 0.44824 | 0.021294 | 3.8275 | 0.19331 | **** | **** | 1.5056
5 | 3 | 980048 | 2014-01-03 10:48 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 63379 | 296 | 282 | 23 | 26.1737 | 1.2951 | -83.4454 | 0.013117 | 0.68599 | 0.030023 | 5.0201 | 0.23499 | **** | **** | 1.2855
6 | 3 | 980048 | 2014-01-03 10:55 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 59994 | 280 | 271 | 25 | 25.3207 | 1.6314 | -83.4342 | 0.016417 | 0.66587 | 0.037747 | 5.0297 | 0.28878 | **** | **** | 1.5853
7 | 4 | 980048 | 2014-01-03 11:00 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50056 | 230 | 256 | 15 | 41.8709 | 2.7424 | -102.6553 | 0.024662 | 0.998 | 0.060924 | 6.7777 | 0.69737 | **** | **** | 1.928
8 | 4 | 980048 | 2014-01-03 11:05 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50111 | 231 | 265 | 18 | 44.3 | 2.5232 | -102.6461 | 0.021574 | 0.99763 | 0.052942 | 7.4452 | 0.65233 | **** | **** | 1.7261
9 | 5 | 980048 | 2014-01-03 11:09 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125746 | 581 | 254 | 51 | 15.5385 | 1.0349 | -109.2403 | 0.030803 | 1.1456 | 0.088068 | 7.417 | 0.46402 | **** | **** | 1.6016
10 | 5 | 980048 | 2014-01-03 11:19 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 578 | 259 | 39 | 16.2503 | 1.2504 | -109.2572 | 0.036612 | 1.2047 | 0.11055 | 7.5631 | 0.59901 | **** | **** | 1.8707
11 | 5 | 980048 | 2014-01-03 11:29 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 577 | 245 | 44 | 16.2284 | 1.1348 | -109.2371 | 0.033422 | 1.1937 | 0.097889 | 7.3 | 0.53716 | **** | **** | 1.7261
12 | 5 | 980048 | 2014-01-03 11:39 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 578 | 238 | 58 | 14.3446 | 0.89349 | -109.2695 | 0.028506 | 1.1328 | 0.082312 | 7.7861 | 0.40357 | **** | **** | 1.3905
13 | 4 | 980048 | 2014-01-03 11:49 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 234 | 257 | 21 | 42.4567 | 2.2763 | -102.6712 | 0.019971 | 0.97989 | 0.048934 | 6.9897 | 0.57311 | **** | **** | 1.5936
14 | 4 | 980048 | 2014-01-03 11:53 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 232 | 253 | 21 | 42.0159 | 1.9475 | -102.6365 | 0.016624 | 0.93144 | 0.039965 | 7.3322 | 0.4733 | **** | **** | 1.3699
15 | 3 | 980048 | 2014-01-03 11:57 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 60000 | 279 | 274 | 26 | 25.8391 | 1.4845 | -83.4607 | 0.014789 | 0.67178 | 0.033869 | 4.9935 | 0.26311 | **** | **** | 1.4353
16 | 3 | 980048 | 2014-01-03 12:03 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 60000 | 281 | 290 | 22 | 25.9531 | 1.6213 | -83.4597 | 0.015601 | 0.66342 | 0.036198 | 4.7683 | 0.27549 | **** | **** | 1.5584
17 | 2 | 980048 | 2014-01-03 12:08 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 233 | 361 | 22 | 27.0439 | 2.0065 | -56.0915 | 0.011585 | 0.43208 | 0.025947 | 3.8097 | 0.2174 | **** | **** | 1.7472
18 | 2 | 980048 | 2014-01-03 12:13 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 233 | 367 | 22 | 29.853 | 1.7348 | -56.101 | 0.0093164 | 0.44027 | 0.020233 | 3.6084 | 0.1815 | **** | **** | 1.4736
19 | 1 | 980048 | 2014-01-03 12:17 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23000 | 109 | 310 | 10 | 54.293 | 3.2163 | -48.0213 | 0.0090789 | 0.4301 | 0.018868 | 3.7014 | 0.26292 | **** | **** | 1.4275
20 | 1 | 980048 | 2014-01-03 12:19 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23000 | 108 | 327 | 7 | 54.1127 | 3.6431 | -48.0085 | 0.010154 | 0.43188 | 0.02156 | 3.5842 | 0.291 | **** | **** | 1.6063

## 980048
Runs = | 18
Run : 1 Seq 1 Rec 1 File L3A:980048 Date 3-JAN-2014 10:33:49.43
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 106 | 22640 | 17 | 17.2697 | Run 1
2 | -49.639 | 106 | 22640 | 5 | 17.2697
3 | -49.524 | 106 | 22640 | 20 | 17.2697
4 | -49.412 | 106 | 22640 | 13 | 17.2697
5 | -49.3 | 106 | 22640 | 17 | 17.2697
6 | -49.194 | 106 | 22640 | 11 | 17.2697
7 | -49.081 | 106 | 22640 | 16 | 17.2697
8 | -48.965 | 106 | 22640 | 11 | 17.2703
9 | -48.849 | 106 | 22640 | 30 | 17.2815
10 | -48.734 | 106 | 22640 | 25 | 17.4304
11 | -48.624 | 106 | 22640 | 31 | 18.6276
12 | -48.509 | 106 | 22640 | 25 | 25.9104
13 | -48.395 | 106 | 22640 | 54 | 54.1259
14 | -48.287 | 106 | 22640 | 109 | 119.6429
15 | -48.172 | 106 | 22640 | 219 | 225.6378
16 | -48.056 | 106 | 22640 | 361 | 305.0236
17 | -47.94 | 106 | 22640 | 270 | 284.7745
18 | -47.825 | 106 | 22640 | 161 | 185.6346
19 | -47.719 | 106 | 22640 | 105 | 95.1258
20 | -47.606 | 106 | 22640 | 45 | 41.0469
21 | -47.491 | 106 | 22640 | 39 | 22.1053
22 | -47.377 | 106 | 22640 | 37 | 17.9489
23 | -47.258 | 106 | 22640 | 24 | 17.3279
24 | -47.142 | 106 | 22640 | 29 | 17.2732
25 | -47.035 | 106 | 22640 | 20 | 17.2699
26 | -46.93 | 106 | 22640 | 18 | 17.2697
27 | -46.816 | 106 | 22640 | 19 | 17.2697
28 | -46.696 | 106 | 22640 | 19 | 17.2697
29 | -46.591 | 106 | 22640 | 16 | 17.2697
30 | -46.472 | 106 | 22640 | 19 | 17.2697
31 | -46.36 | 106 | 22640 | 19 | 17.2697
32 | -46.252 | 106 | 22640 | 25 | 17.2697
Run : 2 Seq 1 Rec 1 File L3A:980048 Date 3-JAN-2014 10:37:03.94
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 107 | 23184 | 11 | 19.0364 | Run 2
2 | -49.639 | 107 | 23184 | 14 | 19.0364
3 | -49.524 | 107 | 23184 | 9 | 19.0364
4 | -49.412 | 107 | 23184 | 12 | 19.0364
5 | -49.3 | 107 | 23184 | 17 | 19.0364
6 | -49.194 | 107 | 23184 | 13 | 19.0364
7 | -49.081 | 107 | 23184 | 27 | 19.0365
8 | -48.965 | 107 | 23184 | 15 | 19.0379
9 | -48.849 | 107 | 23184 | 21 | 19.0602
10 | -48.734 | 107 | 23184 | 18 | 19.2911
11 | -48.624 | 107 | 23184 | 27 | 20.8112
12 | -48.509 | 107 | 23184 | 32 | 28.6558
13 | -48.395 | 107 | 23184 | 52 | 55.5115
14 | -48.287 | 107 | 23184 | 97 | 113.1725
15 | -48.172 | 107 | 23184 | 214 | 203.5679
16 | -48.056 | 107 | 23184 | 317 | 275.033
17 | -47.94 | 107 | 23184 | 260 | 268.5215
18 | -47.825 | 107 | 23184 | 163 | 190.6594
19 | -47.719 | 107 | 23184 | 113 | 108.4353
20 | -47.606 | 107 | 23184 | 60 | 51.2744
21 | -47.491 | 107 | 23184 | 37 | 27.1302
22 | -47.377 | 107 | 23184 | 36 | 20.4965
23 | -47.258 | 107 | 23184 | 27 | 19.2062
24 | -47.142 | 107 | 23184 | 23 | 19.051
25 | -47.035 | 107 | 23184 | 23 | 19.0375
26 | -46.93 | 107 | 23184 | 25 | 19.0365
27 | -46.816 | 107 | 23184 | 22 | 19.0364
28 | -46.696 | 107 | 23184 | 26 | 19.0364
29 | -46.591 | 107 | 23184 | 23 | 19.0364
30 | -46.472 | 107 | 23184 | 26 | 19.0364
31 | -46.36 | 107 | 23184 | 21 | 19.0364
32 | -46.252 | 107 | 23184 | 31 | 19.0364
Run : 3 Seq 2 Rec 2 File L3A:980048 Date 3-JAN-2014 10:39:10.09
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 230 | 50021 | 22 | 37.8254 | Run 3
2 | -57.739 | 230 | 50021 | 18 | 37.8254
3 | -57.624 | 230 | 50021 | 21 | 37.8254
4 | -57.512 | 230 | 50021 | 27 | 37.8254
5 | -57.4 | 230 | 50021 | 37 | 37.8254
6 | -57.294 | 230 | 50021 | 35 | 37.8254
7 | -57.181 | 230 | 50021 | 37 | 37.8254
8 | -57.065 | 230 | 50021 | 51 | 37.8263
9 | -56.949 | 230 | 50021 | 41 | 37.8417
10 | -56.834 | 230 | 50021 | 42 | 38.015
11 | -56.724 | 230 | 50021 | 54 | 39.2514
12 | -56.609 | 230 | 50021 | 62 | 46.1445
13 | -56.495 | 230 | 50021 | 82 | 71.5398
14 | -56.387 | 230 | 50021 | 110 | 129.9523
15 | -56.272 | 230 | 50021 | 219 | 228.5395
16 | -56.156 | 230 | 50021 | 345 | 315.5251
17 | -56.04 | 230 | 50021 | 336 | 320.0162
18 | -55.925 | 230 | 50021 | 223 | 238.8455
19 | -55.819 | 230 | 50021 | 133 | 145.342
20 | -55.706 | 230 | 50021 | 79 | 77.463
21 | -55.591 | 230 | 50021 | 78 | 47.938
22 | -55.477 | 230 | 50021 | 54 | 39.6671
23 | -55.358 | 230 | 50021 | 60 | 38.0403
24 | -55.242 | 230 | 50021 | 45 | 37.8438
25 | -55.135 | 230 | 50021 | 45 | 37.8268
26 | -55.03 | 230 | 50021 | 48 | 37.8255
27 | -54.916 | 230 | 50021 | 51 | 37.8254
28 | -54.796 | 230 | 50021 | 43 | 37.8254
29 | -54.691 | 230 | 50021 | 54 | 37.8254
30 | -54.572 | 230 | 50021 | 34 | 37.8254
31 | -54.46 | 230 | 50021 | 43 | 37.8254
32 | -54.352 | 230 | 50021 | 37 | 37.8254
Run : 4 Seq 2 Rec 2 File L3A:980048 Date 3-JAN-2014 10:43:34.91
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 600000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 231 | 50078 | 31 | 40.1717 | Run 4
2 | -57.739 | 231 | 50078 | 23 | 40.1717
3 | -57.624 | 231 | 50078 | 29 | 40.1717
4 | -57.512 | 231 | 50078 | 27 | 40.1717
5 | -57.4 | 231 | 50078 | 42 | 40.1717
6 | -57.294 | 231 | 50078 | 44 | 40.1717
7 | -57.181 | 231 | 50078 | 44 | 40.1717
8 | -57.065 | 231 | 50078 | 49 | 40.1722
9 | -56.949 | 231 | 50078 | 58 | 40.1806
10 | -56.834 | 231 | 50078 | 43 | 40.2887
11 | -56.724 | 231 | 50078 | 47 | 41.1558
12 | -56.609 | 231 | 50078 | 50 | 46.5513
13 | -56.495 | 231 | 50078 | 76 | 68.554
14 | -56.387 | 231 | 50078 | 103 | 124.0198
15 | -56.272 | 231 | 50078 | 233 | 226.6968
16 | -56.156 | 231 | 50078 | 353 | 328.8466
17 | -56.04 | 231 | 50078 | 361 | 348.3441
18 | -55.925 | 231 | 50078 | 243 | 268.0622
19 | -55.819 | 231 | 50078 | 156 | 165.0598
20 | -55.706 | 231 | 50078 | 97 | 86.9188
21 | -55.591 | 231 | 50078 | 74 | 52.1472
22 | -55.477 | 231 | 50078 | 52 | 42.337
23 | -55.358 | 231 | 50078 | 56 | 40.4195
24 | -55.242 | 231 | 50078 | 44 | 40.1923
25 | -55.135 | 231 | 50078 | 42 | 40.1732
26 | -55.03 | 231 | 50078 | 42 | 40.1718
27 | -54.916 | 231 | 50078 | 48 | 40.1717
28 | -54.796 | 231 | 50078 | 37 | 40.1717
29 | -54.691 | 231 | 50078 | 36 | 40.1717
30 | -54.572 | 231 | 50078 | 47 | 40.1717
31 | -54.46 | 231 | 50078 | 46 | 40.1717
32 | -54.352 | 231 | 50078 | 33 | 40.1717
Run : 5 Seq 3 Rec 3 File L3A:980048 Date 3-JAN-2014 10:48:05.87
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 500000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 296 | 63379 | 36 | 43.5716 | Run 5
2 | -85.139 | 296 | 63379 | 23 | 43.5716
3 | -85.024 | 296 | 63379 | 35 | 43.5717
4 | -84.912 | 296 | 63379 | 49 | 43.5723
5 | -84.8 | 296 | 63379 | 36 | 43.5762
6 | -84.694 | 296 | 63379 | 49 | 43.5949
7 | -84.581 | 296 | 63379 | 54 | 43.6855
8 | -84.465 | 296 | 63379 | 55 | 44.0684
9 | -84.349 | 296 | 63379 | 45 | 45.4211
10 | -84.234 | 296 | 63379 | 60 | 49.3928
11 | -84.124 | 296 | 63379 | 67 | 58.6372
12 | -84.009 | 296 | 63379 | 75 | 78.5281
13 | -83.895 | 296 | 63379 | 116 | 112.6098
14 | -83.787 | 296 | 63379 | 143 | 157.7926
15 | -83.672 | 296 | 63379 | 212 | 211.4344
16 | -83.556 | 296 | 63379 | 259 | 254.9457
17 | -83.44 | 296 | 63379 | 282 | 270.708
18 | -83.325 | 296 | 63379 | 256 | 252.1543
19 | -83.219 | 296 | 63379 | 207 | 211.5386
20 | -83.106 | 296 | 63379 | 153 | 158.8203
21 | -82.991 | 296 | 63379 | 111 | 110.8788
22 | -82.877 | 296 | 63379 | 77 | 77.434
23 | -82.758 | 296 | 63379 | 55 | 57.6108
24 | -82.642 | 296 | 63379 | 64 | 48.6398
25 | -82.535 | 296 | 63379 | 48 | 45.2921
26 | -82.43 | 296 | 63379 | 40 | 44.0943
27 | -82.316 | 296 | 63379 | 50 | 43.6954
28 | -82.196 | 296 | 63379 | 47 | 43.5946
29 | -82.091 | 296 | 63379 | 37 | 43.5762
30 | -81.972 | 296 | 63379 | 50 | 43.5722
31 | -81.86 | 296 | 63379 | 56 | 43.5717
32 | -81.752 | 296 | 63379 | 56 | 43.5716
Run : 6 Seq 3 Rec 3 File L3A:980048 Date 3-JAN-2014 10:54:31.86
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 500000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 280 | 59994 | 25 | 42.5721 | Run 6
2 | -85.139 | 280 | 59994 | 26 | 42.5721
3 | -85.024 | 280 | 59994 | 35 | 42.5721
4 | -84.912 | 280 | 59994 | 51 | 42.5723
5 | -84.8 | 280 | 59994 | 35 | 42.5739
6 | -84.694 | 280 | 59994 | 38 | 42.5826
7 | -84.581 | 280 | 59994 | 36 | 42.6295
8 | -84.465 | 280 | 59994 | 48 | 42.8509
9 | -84.349 | 280 | 59994 | 41 | 43.7157
10 | -84.234 | 280 | 59994 | 57 | 46.4967
11 | -84.124 | 280 | 59994 | 71 | 53.5064
12 | -84.009 | 280 | 59994 | 88 | 69.7208
13 | -83.895 | 280 | 59994 | 85 | 99.3754
14 | -83.787 | 280 | 59994 | 138 | 140.9756
15 | -83.672 | 280 | 59994 | 188 | 193.049
16 | -83.556 | 280 | 59994 | 225 | 237.899
17 | -83.44 | 280 | 59994 | 268 | 256.8455
18 | -83.325 | 280 | 59994 | 271 | 241.4947
19 | -83.219 | 280 | 59994 | 207 | 203.0103
20 | -83.106 | 280 | 59994 | 133 | 151.8566
21 | -82.991 | 280 | 59994 | 107 | 105.3276
22 | -82.877 | 280 | 59994 | 65 | 73.329
23 | -82.758 | 280 | 59994 | 64 | 54.8564
24 | -82.642 | 280 | 59994 | 55 | 46.8063
25 | -82.535 | 280 | 59994 | 52 | 43.9376
26 | -82.43 | 280 | 59994 | 49 | 42.9634
27 | -82.316 | 280 | 59994 | 63 | 42.6583
28 | -82.196 | 280 | 59994 | 57 | 42.5868
29 | -82.091 | 280 | 59994 | 43 | 42.5748
30 | -81.972 | 280 | 59994 | 50 | 42.5724
31 | -81.86 | 280 | 59994 | 60 | 42.5721
32 | -81.752 | 280 | 59994 | 41 | 42.5721
Run : 7 Seq 4 Rec 4 File L3A:980048 Date 3-JAN-2014 10:59:30.67
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 500000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 230 | 50056 | 15 | 31.9614 | Run 7
2 | -104.339 | 230 | 50056 | 15 | 32.0095
3 | -104.224 | 230 | 50056 | 28 | 32.1446
4 | -104.112 | 230 | 50056 | 29 | 32.4723
5 | -104 | 230 | 50056 | 37 | 33.2209
6 | -103.894 | 230 | 50056 | 54 | 34.6902
7 | -103.781 | 230 | 50056 | 44 | 37.7306
8 | -103.665 | 230 | 50056 | 57 | 43.4841
9 | -103.549 | 230 | 50056 | 68 | 53.2886
10 | -103.434 | 230 | 50056 | 80 | 68.4093
11 | -103.324 | 230 | 50056 | 95 | 88.7514
12 | -103.209 | 230 | 50056 | 111 | 115.964
13 | -103.095 | 230 | 50056 | 116 | 147.107
14 | -102.987 | 230 | 50056 | 150 | 177.1705
15 | -102.872 | 230 | 50056 | 215 | 205.0456
16 | -102.756 | 230 | 50056 | 256 | 223.7324
17 | -102.64 | 230 | 50056 | 236 | 229.0985
18 | -102.525 | 230 | 50056 | 228 | 220.1227
19 | -102.419 | 230 | 50056 | 216 | 200.8307
20 | -102.306 | 230 | 50056 | 170 | 172.4188
21 | -102.191 | 230 | 50056 | 147 | 140.2079
22 | -102.077 | 230 | 50056 | 98 | 109.7093
23 | -101.958 | 230 | 50056 | 80 | 82.9069
24 | -101.842 | 230 | 50056 | 53 | 63.2316
25 | -101.735 | 230 | 50056 | 44 | 50.6098
26 | -101.63 | 230 | 50056 | 49 | 42.5105
27 | -101.516 | 230 | 50056 | 41 | 37.2562
28 | -101.396 | 230 | 50056 | 52 | 34.3234
29 | -101.291 | 230 | 50056 | 55 | 33.0448
30 | -101.172 | 230 | 50056 | 44 | 32.3675
31 | -101.06 | 230 | 50056 | 46 | 32.1011
32 | -100.952 | 230 | 50056 | 45 | 31.9971
Run : 8 Seq 4 Rec 4 File L3A:980048 Date 3-JAN-2014 11:04:33.69
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 500000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 231 | 50111 | 18 | 35.1571 | Run 8
2 | -104.339 | 231 | 50111 | 23 | 35.2037
3 | -104.224 | 231 | 50111 | 30 | 35.3356
4 | -104.112 | 231 | 50111 | 31 | 35.6577
5 | -104 | 231 | 50111 | 44 | 36.3985
6 | -103.894 | 231 | 50111 | 47 | 37.8623
7 | -103.781 | 231 | 50111 | 44 | 40.9121
8 | -103.665 | 231 | 50111 | 71 | 46.725
9 | -103.549 | 231 | 50111 | 75 | 56.7047
10 | -103.434 | 231 | 50111 | 70 | 72.2129
11 | -103.324 | 231 | 50111 | 96 | 93.2388
12 | -103.209 | 231 | 50111 | 100 | 121.6022
13 | -103.095 | 231 | 50111 | 157 | 154.3717
14 | -102.987 | 231 | 50111 | 161 | 186.3568
15 | -102.872 | 231 | 50111 | 247 | 216.4696
16 | -102.756 | 231 | 50111 | 227 | 237.2567
17 | -102.64 | 231 | 50111 | 265 | 244.1537
18 | -102.525 | 231 | 50111 | 238 | 235.8093
19 | -102.419 | 231 | 50111 | 209 | 216.2025
20 | -102.306 | 231 | 50111 | 216 | 186.5957
21 | -102.191 | 231 | 50111 | 168 | 152.5338
22 | -102.077 | 231 | 50111 | 91 | 119.9365
23 | -101.958 | 231 | 50111 | 93 | 91.0334
24 | -101.842 | 231 | 50111 | 60 | 69.6472
25 | -101.735 | 231 | 50111 | 57 | 55.8324
26 | -101.63 | 231 | 50111 | 60 | 46.9126
27 | -101.516 | 231 | 50111 | 41 | 41.0911
28 | -101.396 | 231 | 50111 | 53 | 37.8214
29 | -101.291 | 231 | 50111 | 48 | 36.3874
30 | -101.172 | 231 | 50111 | 39 | 35.6237
31 | -101.06 | 231 | 50111 | 47 | 35.3215
32 | -100.952 | 231 | 50111 | 39 | 35.2029
Run : 9 Seq 5 Rec 5 File L3A:980048 Date 3-JAN-2014 11:08:42.41
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 500000 * 1 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 581 | 125746 | 51 | 76.7147 | Run 9
2 | -110.889 | 581 | 125746 | 51 | 76.9941
3 | -110.774 | 581 | 125746 | 69 | 77.5936
4 | -110.662 | 581 | 125746 | 88 | 78.7206
5 | -110.55 | 581 | 125746 | 93 | 80.7558
6 | -110.444 | 581 | 125746 | 78 | 83.9866
7 | -110.331 | 581 | 125746 | 99 | 89.4609
8 | -110.215 | 581 | 125746 | 126 | 98.0134
9 | -110.099 | 581 | 125746 | 117 | 110.2265
10 | -109.984 | 581 | 125746 | 130 | 126.2873
11 | -109.874 | 581 | 125746 | 120 | 145.0761
12 | -109.759 | 581 | 125746 | 165 | 167.2382
13 | -109.645 | 581 | 125746 | 193 | 189.841
14 | -109.537 | 581 | 125746 | 198 | 209.5138
15 | -109.422 | 581 | 125746 | 231 | 225.9097
16 | -109.306 | 581 | 125746 | 241 | 235.2493
17 | -109.19 | 581 | 125746 | 254 | 235.8497
18 | -109.075 | 581 | 125746 | 216 | 227.7173
19 | -108.969 | 581 | 125746 | 227 | 213.6314
20 | -108.856 | 581 | 125746 | 187 | 193.7625
21 | -108.741 | 581 | 125746 | 172 | 171.1054
22 | -108.627 | 581 | 125746 | 176 | 148.864
23 | -108.508 | 581 | 125746 | 103 | 128.0901
24 | -108.392 | 581 | 125746 | 104 | 111.5166
25 | -108.285 | 581 | 125746 | 96 | 99.7861
26 | -108.18 | 581 | 125746 | 94 | 91.384
27 | -108.066 | 581 | 125746 | 94 | 85.1814
28 | -107.946 | 581 | 125746 | 89 | 81.1339
29 | -107.841 | 581 | 125746 | 98 | 79.0407
30 | -107.722 | 581 | 125746 | 96 | 77.7098
31 | -107.61 | 581 | 125746 | 89 | 77.0639
32 | -107.502 | 581 | 125746 | 97 | 76.7508
Run : 10 Seq 1 Rec 5 File L3A:980048 Date 3-JAN-2014 11:19:28.97
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 125 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 578 | 125000 | 39 | 74.2086 | Run 10
2 | -110.889 | 578 | 125000 | 62 | 74.7023
3 | -110.774 | 578 | 125000 | 59 | 75.6781
4 | -110.662 | 578 | 125000 | 75 | 77.3753
5 | -110.55 | 578 | 125000 | 81 | 80.2273
6 | -110.444 | 578 | 125000 | 81 | 84.4691
7 | -110.331 | 578 | 125000 | 127 | 91.2285
8 | -110.215 | 578 | 125000 | 116 | 101.1825
9 | -110.099 | 578 | 125000 | 124 | 114.6382
10 | -109.984 | 578 | 125000 | 128 | 131.4719
11 | -109.874 | 578 | 125000 | 139 | 150.3111
12 | -109.759 | 578 | 125000 | 151 | 171.646
13 | -109.645 | 578 | 125000 | 183 | 192.5787
14 | -109.537 | 578 | 125000 | 200 | 210.1293
15 | -109.422 | 578 | 125000 | 235 | 224.123
16 | -109.306 | 578 | 125000 | 259 | 231.4105
17 | -109.19 | 578 | 125000 | 248 | 230.7658
18 | -109.075 | 578 | 125000 | 239 | 222.3894
19 | -108.969 | 578 | 125000 | 210 | 208.8786
20 | -108.856 | 578 | 125000 | 181 | 190.1866
21 | -108.741 | 578 | 125000 | 161 | 168.9253
22 | -108.627 | 578 | 125000 | 125 | 147.8892
23 | -108.508 | 578 | 125000 | 122 | 127.9236
24 | -108.392 | 578 | 125000 | 104 | 111.6212
25 | -108.285 | 578 | 125000 | 108 | 99.7541
26 | -108.18 | 578 | 125000 | 109 | 90.9794
27 | -108.066 | 578 | 125000 | 99 | 84.2522
28 | -107.946 | 578 | 125000 | 89 | 79.6558
29 | -107.841 | 578 | 125000 | 88 | 77.1561
30 | -107.722 | 578 | 125000 | 105 | 75.4784
31 | -107.61 | 578 | 125000 | 92 | 74.6118
32 | -107.502 | 578 | 125000 | 109 | 74.1639
Run : 11 Seq 2 Rec 5 File L3A:980048 Date 3-JAN-2014 11:29:13.63
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 125 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 577 | 125000 | 44 | 72.1976 | Run 11
2 | -110.889 | 577 | 125000 | 54 | 72.6042
3 | -110.774 | 577 | 125000 | 79 | 73.4259
4 | -110.662 | 577 | 125000 | 59 | 74.887
5 | -110.55 | 577 | 125000 | 73 | 77.3939
6 | -110.444 | 577 | 125000 | 95 | 81.1963
7 | -110.331 | 577 | 125000 | 93 | 87.3737
8 | -110.215 | 577 | 125000 | 123 | 96.65
9 | -110.099 | 577 | 125000 | 93 | 109.4346
10 | -109.984 | 577 | 125000 | 99 | 125.7361
11 | -109.874 | 577 | 125000 | 139 | 144.3237
12 | -109.759 | 577 | 125000 | 183 | 165.7878
13 | -109.645 | 577 | 125000 | 192 | 187.3127
14 | -109.537 | 577 | 125000 | 215 | 205.8348
15 | -109.422 | 577 | 125000 | 245 | 221.1905
16 | -109.306 | 577 | 125000 | 242 | 229.9962
17 | -109.19 | 577 | 125000 | 231 | 230.775
18 | -109.075 | 577 | 125000 | 221 | 223.5036
19 | -108.969 | 577 | 125000 | 189 | 210.6225
20 | -108.856 | 577 | 125000 | 179 | 192.1563
21 | -108.741 | 577 | 125000 | 175 | 170.707
22 | -108.627 | 577 | 125000 | 140 | 149.1877
23 | -108.508 | 577 | 125000 | 139 | 128.5575
24 | -108.392 | 577 | 125000 | 101 | 111.588
25 | -108.285 | 577 | 125000 | 99 | 99.1725
26 | -108.18 | 577 | 125000 | 108 | 89.9614
27 | -108.066 | 577 | 125000 | 98 | 82.8844
28 | -107.946 | 577 | 125000 | 97 | 78.0441
29 | -107.841 | 577 | 125000 | 89 | 75.4123
30 | -107.722 | 577 | 125000 | 80 | 73.6482
31 | -107.61 | 577 | 125000 | 90 | 72.7392
32 | -107.502 | 577 | 125000 | 106 | 72.2709
Run : 12 Seq 3 Rec 5 File L3A:980048 Date 3-JAN-2014 11:38:57.21
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 125 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-109.250 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-109.250 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -110.998 | 578 | 125000 | 58 | 80.9483 | Run 12
2 | -110.889 | 578 | 125000 | 59 | 81.2288
3 | -110.774 | 578 | 125000 | 70 | 81.8321
4 | -110.662 | 578 | 125000 | 81 | 82.9674
5 | -110.55 | 578 | 125000 | 89 | 85.0164
6 | -110.444 | 578 | 125000 | 110 | 88.2628
7 | -110.331 | 578 | 125000 | 109 | 93.7446
8 | -110.215 | 578 | 125000 | 106 | 102.263
9 | -110.099 | 578 | 125000 | 122 | 114.3372
10 | -109.984 | 578 | 125000 | 135 | 130.0608
11 | -109.874 | 578 | 125000 | 125 | 148.2306
12 | -109.759 | 578 | 125000 | 165 | 169.3215
13 | -109.645 | 578 | 125000 | 185 | 190.3634
14 | -109.537 | 578 | 125000 | 206 | 208.1152
15 | -109.422 | 578 | 125000 | 238 | 222.1303
16 | -109.306 | 578 | 125000 | 224 | 228.9913
17 | -109.19 | 578 | 125000 | 234 | 227.4025
18 | -109.075 | 578 | 125000 | 229 | 217.7484
19 | -108.969 | 578 | 125000 | 220 | 203.0613
20 | -108.856 | 578 | 125000 | 183 | 183.4885
21 | -108.741 | 578 | 125000 | 138 | 162.0406
22 | -108.627 | 578 | 125000 | 138 | 141.6629
23 | -108.508 | 578 | 125000 | 112 | 123.1943
24 | -108.392 | 578 | 125000 | 131 | 108.8837
25 | -108.285 | 578 | 125000 | 101 | 99.03
26 | -108.18 | 578 | 125000 | 85 | 92.1556
27 | -108.066 | 578 | 125000 | 93 | 87.2185
28 | -107.946 | 578 | 125000 | 106 | 84.0923
29 | -107.841 | 578 | 125000 | 87 | 82.5237
30 | -107.722 | 578 | 125000 | 96 | 81.5563
31 | -107.61 | 578 | 125000 | 86 | 81.102
32 | -107.502 | 578 | 125000 | 97 | 80.8887
Run : 13 Seq 4 Rec 4 File L3A:980048 Date 3-JAN-2014 11:48:42.19
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 50 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 234 | 50000 | 22 | 33.5281 | Run 13
2 | -104.339 | 234 | 50000 | 21 | 33.5719
3 | -104.224 | 234 | 50000 | 26 | 33.6984
4 | -104.112 | 234 | 50000 | 33 | 34.013
5 | -104 | 234 | 50000 | 35 | 34.748
6 | -103.894 | 234 | 50000 | 29 | 36.2184
7 | -103.781 | 234 | 50000 | 51 | 39.3128
8 | -103.665 | 234 | 50000 | 70 | 45.254
9 | -103.549 | 234 | 50000 | 69 | 55.4966
10 | -103.434 | 234 | 50000 | 70 | 71.4244
11 | -103.324 | 234 | 50000 | 95 | 92.9538
12 | -103.209 | 234 | 50000 | 105 | 121.7835
13 | -103.095 | 234 | 50000 | 140 | 154.6584
14 | -102.987 | 234 | 50000 | 175 | 186.0908
15 | -102.872 | 234 | 50000 | 238 | 214.6498
16 | -102.756 | 234 | 50000 | 240 | 232.8394
17 | -102.64 | 234 | 50000 | 257 | 236.4554
18 | -102.525 | 234 | 50000 | 211 | 224.8497
19 | -102.419 | 234 | 50000 | 199 | 202.887
20 | -102.306 | 234 | 50000 | 200 | 171.9852
21 | -102.191 | 234 | 50000 | 127 | 138.0923
22 | -102.077 | 234 | 50000 | 102 | 106.9382
23 | -101.958 | 234 | 50000 | 72 | 80.3648
24 | -101.842 | 234 | 50000 | 61 | 61.459
25 | -101.735 | 234 | 50000 | 46 | 49.7072
26 | -101.63 | 234 | 50000 | 47 | 42.4017
27 | -101.516 | 234 | 50000 | 57 | 37.8229
28 | -101.396 | 234 | 50000 | 53 | 35.3656
29 | -101.291 | 234 | 50000 | 34 | 34.3372
30 | -101.172 | 234 | 50000 | 45 | 33.8149
31 | -101.06 | 234 | 50000 | 30 | 33.6188
32 | -100.952 | 234 | 50000 | 55 | 33.5458
Run : 14 Seq 5 Rec 4 File L3A:980048 Date 3-JAN-2014 11:53:03.68
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 50 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI=-102.700 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC=-102.700 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -104.448 | 232 | 50000 | 21 | 36.9816 | Run 14
2 | -104.339 | 232 | 50000 | 21 | 36.9958
3 | -104.224 | 232 | 50000 | 36 | 37.0431
4 | -104.112 | 232 | 50000 | 38 | 37.1774
5 | -104 | 232 | 50000 | 37 | 37.5327
6 | -103.894 | 232 | 50000 | 40 | 38.3292
7 | -103.781 | 232 | 50000 | 52 | 40.198
8 | -103.665 | 232 | 50000 | 53 | 44.1869
9 | -103.549 | 232 | 50000 | 61 | 51.7837
10 | -103.434 | 232 | 50000 | 71 | 64.736
11 | -103.324 | 232 | 50000 | 93 | 83.7636
12 | -103.209 | 232 | 50000 | 102 | 111.3179
13 | -103.095 | 232 | 50000 | 133 | 145.2077
14 | -102.987 | 232 | 50000 | 165 | 180.0673
15 | -102.872 | 232 | 50000 | 222 | 214.4513
16 | -102.756 | 232 | 50000 | 242 | 239.4108
17 | -102.64 | 232 | 50000 | 253 | 248.8516
18 | -102.525 | 232 | 50000 | 248 | 240.6032
19 | -102.419 | 232 | 50000 | 232 | 219.125
20 | -102.306 | 232 | 50000 | 179 | 186.4185
21 | -102.191 | 232 | 50000 | 152 | 149.3353
22 | -102.077 | 232 | 50000 | 120 | 114.885
23 | -101.958 | 232 | 50000 | 77 | 85.6288
24 | -101.842 | 232 | 50000 | 58 | 65.1565
25 | -101.735 | 232 | 50000 | 49 | 52.7547
26 | -101.63 | 232 | 50000 | 49 | 45.2937
27 | -101.516 | 232 | 50000 | 46 | 40.8081
28 | -101.396 | 232 | 50000 | 53 | 38.5254
29 | -101.291 | 232 | 50000 | 44 | 37.6264
30 | -101.172 | 232 | 50000 | 45 | 37.1992
31 | -101.06 | 232 | 50000 | 37 | 37.051
32 | -100.952 | 232 | 50000 | 59 | 37.0001
Run : 15 Seq 6 Rec 3 File L3A:980048 Date 3-JAN-2014 11:57:02.57
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 60 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 279 | 60000 | 26 | 41.8987 | Run 15
2 | -85.139 | 279 | 60000 | 39 | 41.8987
3 | -85.024 | 279 | 60000 | 26 | 41.8987
4 | -84.912 | 279 | 60000 | 33 | 41.8992
5 | -84.8 | 279 | 60000 | 32 | 41.9022
6 | -84.694 | 279 | 60000 | 40 | 41.9176
7 | -84.581 | 279 | 60000 | 48 | 41.9957
8 | -84.465 | 279 | 60000 | 59 | 42.3398
9 | -84.349 | 279 | 60000 | 44 | 43.5986
10 | -84.234 | 279 | 60000 | 58 | 47.3979
11 | -84.124 | 279 | 60000 | 67 | 56.419
12 | -84.009 | 279 | 60000 | 82 | 76.0793
13 | -83.895 | 279 | 60000 | 105 | 109.9275
14 | -83.787 | 279 | 60000 | 141 | 154.5926
15 | -83.672 | 279 | 60000 | 201 | 206.6728
16 | -83.556 | 279 | 60000 | 254 | 246.9274
17 | -83.44 | 279 | 60000 | 274 | 258.1374
18 | -83.325 | 279 | 60000 | 229 | 235.5282
19 | -83.219 | 279 | 60000 | 203 | 193.3446
20 | -83.106 | 279 | 60000 | 145 | 142.006
21 | -82.991 | 279 | 60000 | 79 | 97.8141
22 | -82.877 | 279 | 60000 | 76 | 68.6374
23 | -82.758 | 279 | 60000 | 57 | 52.339
24 | -82.642 | 279 | 60000 | 52 | 45.4293
25 | -82.535 | 279 | 60000 | 46 | 43.0203
26 | -82.43 | 279 | 60000 | 59 | 42.2162
27 | -82.316 | 279 | 60000 | 56 | 41.9679
28 | -82.196 | 279 | 60000 | 46 | 41.9104
29 | -82.091 | 279 | 60000 | 47 | 41.9008
30 | -81.972 | 279 | 60000 | 40 | 41.8989
31 | -81.86 | 279 | 60000 | 42 | 41.8987
32 | -81.752 | 279 | 60000 | 59 | 41.8987
Run : 16 Seq 7 Rec 3 File L3A:980048 Date 3-JAN-2014 12:02:45.05
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 60 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -83.500 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -83.500 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -85.248 | 281 | 60000 | 22 | 40.5135 | Run 16
2 | -85.139 | 281 | 60000 | 29 | 40.5135
3 | -85.024 | 281 | 60000 | 31 | 40.5135
4 | -84.912 | 281 | 60000 | 33 | 40.5139
5 | -84.8 | 281 | 60000 | 43 | 40.5162
6 | -84.694 | 281 | 60000 | 49 | 40.5285
7 | -84.581 | 281 | 60000 | 51 | 40.5936
8 | -84.465 | 281 | 60000 | 42 | 40.8924
9 | -84.349 | 281 | 60000 | 37 | 42.0262
10 | -84.234 | 281 | 60000 | 57 | 45.5621
11 | -84.124 | 281 | 60000 | 73 | 54.1944
12 | -84.009 | 281 | 60000 | 73 | 73.47
13 | -83.895 | 281 | 60000 | 110 | 107.3516
14 | -83.787 | 281 | 60000 | 129 | 152.8059
15 | -83.672 | 281 | 60000 | 207 | 206.5176
16 | -83.556 | 281 | 60000 | 254 | 248.5086
17 | -83.44 | 281 | 60000 | 290 | 260.4814
18 | -83.325 | 281 | 60000 | 241 | 237.2013
19 | -83.219 | 281 | 60000 | 186 | 193.5894
20 | -83.106 | 281 | 60000 | 128 | 140.7768
21 | -82.991 | 281 | 60000 | 88 | 95.7708
22 | -82.877 | 281 | 60000 | 73 | 66.483
23 | -82.758 | 281 | 60000 | 73 | 50.4286
24 | -82.642 | 281 | 60000 | 45 | 43.7801
25 | -82.535 | 281 | 60000 | 46 | 41.5228
26 | -82.43 | 281 | 60000 | 55 | 40.7905
27 | -82.316 | 281 | 60000 | 60 | 40.5717
28 | -82.196 | 281 | 60000 | 45 | 40.5229
29 | -82.091 | 281 | 60000 | 32 | 40.5151
30 | -81.972 | 281 | 60000 | 39 | 40.5137
31 | -81.86 | 281 | 60000 | 45 | 40.5135
32 | -81.752 | 281 | 60000 | 51 | 40.5135
Run : 17 Seq 8 Rec 2 File L3A:980048 Date 3-JAN-2014 12:07:32.45
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 50 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 233 | 50000 | 22 | 41.4159 | Run 17
2 | -57.739 | 233 | 50000 | 26 | 41.4159
3 | -57.624 | 233 | 50000 | 26 | 41.4159
4 | -57.512 | 233 | 50000 | 46 | 41.4159
5 | -57.4 | 233 | 50000 | 46 | 41.4159
6 | -57.294 | 233 | 50000 | 43 | 41.4159
7 | -57.181 | 233 | 50000 | 45 | 41.4159
8 | -57.065 | 233 | 50000 | 41 | 41.4161
9 | -56.949 | 233 | 50000 | 49 | 41.4212
10 | -56.834 | 233 | 50000 | 48 | 41.4976
11 | -56.724 | 233 | 50000 | 38 | 42.1886
12 | -56.609 | 233 | 50000 | 69 | 46.9244
13 | -56.495 | 233 | 50000 | 79 | 67.6117
14 | -56.387 | 233 | 50000 | 108 | 121.7949
15 | -56.272 | 233 | 50000 | 207 | 222.6363
16 | -56.156 | 233 | 50000 | 340 | 317.7994
17 | -56.04 | 233 | 50000 | 361 | 324.0598
18 | -55.925 | 233 | 50000 | 206 | 236.1956
19 | -55.819 | 233 | 50000 | 127 | 139.0067
20 | -55.706 | 233 | 50000 | 94 | 73.7633
21 | -55.591 | 233 | 50000 | 69 | 48.539
22 | -55.477 | 233 | 50000 | 49 | 42.4944
23 | -55.358 | 233 | 50000 | 53 | 41.5155
24 | -55.242 | 233 | 50000 | 47 | 41.4224
25 | -55.135 | 233 | 50000 | 50 | 41.4162
26 | -55.03 | 233 | 50000 | 59 | 41.4159
27 | -54.916 | 233 | 50000 | 32 | 41.4159
28 | -54.796 | 233 | 50000 | 37 | 41.4159
29 | -54.691 | 233 | 50000 | 49 | 41.4159
30 | -54.572 | 233 | 50000 | 44 | 41.4159
31 | -54.46 | 233 | 50000 | 43 | 41.4159
32 | -54.352 | 233 | 50000 | 44 | 41.4159
Run : 18 Seq 9 Rec 2 File L3A:980048 Date 3-JAN-2014 12:12:55.81
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 50 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -56.100 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -56.100 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -57.848 | 233 | 50000 | 31 | 38.498 | Run 18
2 | -57.739 | 233 | 50000 | 22 | 38.498
3 | -57.624 | 233 | 50000 | 28 | 38.498
4 | -57.512 | 233 | 50000 | 37 | 38.498
5 | -57.4 | 233 | 50000 | 36 | 38.498
6 | -57.294 | 233 | 50000 | 34 | 38.498
7 | -57.181 | 233 | 50000 | 42 | 38.4981
8 | -57.065 | 233 | 50000 | 27 | 38.4986
9 | -56.949 | 233 | 50000 | 47 | 38.5089
10 | -56.834 | 233 | 50000 | 43 | 38.6443
11 | -56.724 | 233 | 50000 | 47 | 39.7332
12 | -56.609 | 233 | 50000 | 62 | 46.4368
13 | -56.495 | 233 | 50000 | 76 | 73.059
14 | -56.387 | 233 | 50000 | 129 | 137.32
15 | -56.272 | 233 | 50000 | 232 | 248.0945
16 | -56.156 | 233 | 50000 | 367 | 343.4938
17 | -56.04 | 233 | 50000 | 361 | 340.5093
18 | -55.925 | 233 | 50000 | 222 | 243.0315
19 | -55.819 | 233 | 50000 | 136 | 140.6453
20 | -55.706 | 233 | 50000 | 74 | 72.6995
21 | -55.591 | 233 | 50000 | 69 | 46.2172
22 | -55.477 | 233 | 50000 | 58 | 39.713
23 | -55.358 | 233 | 50000 | 44 | 38.6166
24 | -55.242 | 233 | 50000 | 41 | 38.5064
25 | -55.135 | 233 | 50000 | 55 | 38.4985
26 | -55.03 | 233 | 50000 | 40 | 38.4981
27 | -54.916 | 233 | 50000 | 45 | 38.498
28 | -54.796 | 233 | 50000 | 49 | 38.498
29 | -54.691 | 233 | 50000 | 36 | 38.498
30 | -54.572 | 233 | 50000 | 42 | 38.498
31 | -54.46 | 233 | 50000 | 39 | 38.498
32 | -54.352 | 233 | 50000 | 31 | 38.498
Run : 19 Seq 10 Rec 1 File L3A:980048 Date 3-JAN-2014 12:16:58.75
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 23 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 109 | 23000 | 17 | 18.5944 | Run 19
2 | -49.639 | 109 | 23000 | 10 | 18.5944
3 | -49.524 | 109 | 23000 | 14 | 18.5944
4 | -49.412 | 109 | 23000 | 14 | 18.5944
5 | -49.3 | 109 | 23000 | 17 | 18.5944
6 | -49.194 | 109 | 23000 | 13 | 18.5944
7 | -49.081 | 109 | 23000 | 18 | 18.5944
8 | -48.965 | 109 | 23000 | 16 | 18.5948
9 | -48.849 | 109 | 23000 | 15 | 18.6039
10 | -48.734 | 109 | 23000 | 26 | 18.729
11 | -48.624 | 109 | 23000 | 23 | 19.7721
12 | -48.509 | 109 | 23000 | 27 | 26.3089
13 | -48.395 | 109 | 23000 | 43 | 52.2113
14 | -48.287 | 109 | 23000 | 104 | 113.2405
15 | -48.172 | 109 | 23000 | 236 | 212.6201
16 | -48.056 | 109 | 23000 | 310 | 286.455
17 | -47.94 | 109 | 23000 | 254 | 265.6449
18 | -47.825 | 109 | 23000 | 148 | 171.7212
19 | -47.719 | 109 | 23000 | 91 | 87.9517
20 | -47.606 | 109 | 23000 | 59 | 39.1693
21 | -47.491 | 109 | 23000 | 44 | 22.6269
22 | -47.377 | 109 | 23000 | 32 | 19.1364
23 | -47.258 | 109 | 23000 | 19 | 18.6384
24 | -47.142 | 109 | 23000 | 25 | 18.5969
25 | -47.035 | 109 | 23000 | 22 | 18.5945
26 | -46.93 | 109 | 23000 | 24 | 18.5944
27 | -46.816 | 109 | 23000 | 18 | 18.5944
28 | -46.696 | 109 | 23000 | 16 | 18.5944
29 | -46.591 | 109 | 23000 | 25 | 18.5944
30 | -46.472 | 109 | 23000 | 22 | 18.5944
31 | -46.36 | 109 | 23000 | 17 | 18.5944
32 | -46.252 | 109 | 23000 | 27 | 18.5944
Run : 20 Seq 11 Rec 1 File L3A:980048 Date 3-JAN-2014 12:19:19.27
Mode: MW CENTR_PHI Npts 1 Mon1[ DB]= 1000 * 23 Mon2[CF]=* 1
Temp: Temperature control hardware not installed.
Monx: GE331 [ 1.29790] Wavelength Approx. 1.52357
Drv : 2TM= 71.880 TMFR= 35.940 PSI= -30.000 PHI= -48.000 DSRD= 17.000
Drv : XPOS=-108.220 YPOS= -10.200 ZPOS= 64.325 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
MWsp: MDCALW.032 DSN ?? NDet 32 LDet 1 CDet 16 RDet 32
MWdc: PhiC= -48.000 PhiW= 0.000 DPhi= 0.113 NSteps= 1
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | PHI | TIME | MON= DB | SIG= 32W | Fit
1 | -49.748 | 108 | 23000 | 12 | 17.932 | Run 20
2 | -49.639 | 108 | 23000 | 7 | 17.932
3 | -49.524 | 108 | 23000 | 15 | 17.932
4 | -49.412 | 108 | 23000 | 17 | 17.932
5 | -49.3 | 108 | 23000 | 22 | 17.932
6 | -49.194 | 108 | 23000 | 18 | 17.932
7 | -49.081 | 108 | 23000 | 15 | 17.932
8 | -48.965 | 108 | 23000 | 15 | 17.9323
9 | -48.849 | 108 | 23000 | 20 | 17.9395
10 | -48.734 | 108 | 23000 | 23 | 18.0404
11 | -48.624 | 108 | 23000 | 22 | 18.9028
12 | -48.509 | 108 | 23000 | 30 | 24.4727
13 | -48.395 | 108 | 23000 | 52 | 47.3326
14 | -48.287 | 108 | 23000 | 83 | 103.4294
15 | -48.172 | 108 | 23000 | 205 | 199.9188
16 | -48.056 | 108 | 23000 | 327 | 279.7453
17 | -47.94 | 108 | 23000 | 257 | 270.4002
18 | -47.825 | 108 | 23000 | 168 | 182.0139
19 | -47.719 | 108 | 23000 | 87 | 95.7946
20 | -47.606 | 108 | 23000 | 57 | 42.2797
21 | -47.491 | 108 | 23000 | 50 | 22.9831
22 | -47.377 | 108 | 23000 | 35 | 18.6526
23 | -47.258 | 108 | 23000 | 17 | 17.9945
24 | -47.142 | 108 | 23000 | 24 | 17.9358
25 | -47.035 | 108 | 23000 | 19 | 17.9322
26 | -46.93 | 108 | 23000 | 17 | 17.932
27 | -46.816 | 108 | 23000 | 27 | 17.932
28 | -46.696 | 108 | 23000 | 15 | 17.932
29 | -46.591 | 108 | 23000 | 16 | 17.932
30 | -46.472 | 108 | 23000 | 20 | 17.932
31 | -46.36 | 108 | 23000 | 28 | 17.932
32 | -46.252 | 108 | 23000 | 17 | 17.932

## Work
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min | I | DI | f | Df | FWHM | DFWHM | Bkgd | DBkgd | Slope | DSlope | c2
1 | 1 | 980048 | 41642.4402 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 22640 | 106 | 361 | 5 | 59.9148 | 4.197 | -48.0194 | 0.01072 | 0.43421 | 0.022328 | 3.5256 | 0.32392 | **** | **** | 1.7704
2 | 1 | 980048 | 41642.4424 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23184 | 107 | 317 | 9 | 55.7984 | 3.5492 | -48.0065 | 0.010416 | 0.45969 | 0.022023 | 4.0178 | 0.31082 | **** | **** | 1.553
19 | 1 | 980048 | 41642.5118 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23000 | 109 | 310 | 10 | 54.293 | 3.2163 | -48.0213 | 0.0090789 | 0.4301 | 0.018868 | 3.7014 | 0.26292 | **** | **** | 1.4275
20 | 1 | 980048 | 41642.5134 | 71.88 | 35.94 | -30 | -48 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 23000 | 108 | 327 | 7 | 54.1127 | 3.6431 | -48.0085 | 0.010154 | 0.43188 | 0.02156 | 3.5842 | 0.291 | **** | **** | 1.6063
3 | 2 | 980048 | 41642.4439 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50021 | 230 | 345 | 18 | 28.3893 | 2.2893 | -56.0928 | 0.013282 | 0.45544 | 0.029287 | 3.666 | 0.24984 | **** | **** | 1.9714
4 | 2 | 980048 | 41642.4469 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50078 | 231 | 361 | 23 | 29.9401 | 1.7769 | -56.0776 | 0.0097934 | 0.44824 | 0.021294 | 3.8275 | 0.19331 | **** | **** | 1.5056
17 | 2 | 980048 | 41642.5052 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 233 | 361 | 22 | 27.0439 | 2.0065 | -56.0915 | 0.011585 | 0.43208 | 0.025947 | 3.8097 | 0.2174 | **** | **** | 1.7472
18 | 2 | 980048 | 41642.509 | 71.88 | 35.94 | -30 | -56.1 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 233 | 367 | 22 | 29.853 | 1.7348 | -56.101 | 0.0093164 | 0.44027 | 0.020233 | 3.6084 | 0.1815 | **** | **** | 1.4736
5 | 3 | 980048 | 41642.4501 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 63379 | 296 | 282 | 23 | 26.1737 | 1.2951 | -83.4454 | 0.013117 | 0.68599 | 0.030023 | 5.0201 | 0.23499 | **** | **** | 1.2855
6 | 3 | 980048 | 41642.4545 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 59994 | 280 | 271 | 25 | 25.3207 | 1.6314 | -83.4342 | 0.016417 | 0.66587 | 0.037747 | 5.0297 | 0.28878 | **** | **** | 1.5853
15 | 3 | 980048 | 41642.4979 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 60000 | 279 | 274 | 26 | 25.8391 | 1.4845 | -83.4607 | 0.014789 | 0.67178 | 0.033869 | 4.9935 | 0.26311 | **** | **** | 1.4353
16 | 3 | 980048 | 41642.5019 | 71.88 | 35.94 | -30 | -83.5 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 60000 | 281 | 290 | 22 | 25.9531 | 1.6213 | -83.4597 | 0.015601 | 0.66342 | 0.036198 | 4.7683 | 0.27549 | **** | **** | 1.5584
7 | 4 | 980048 | 41642.458 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50056 | 230 | 256 | 15 | 41.8709 | 2.7424 | -102.6553 | 0.024662 | 0.998 | 0.060924 | 6.7777 | 0.69737 | **** | **** | 1.928
8 | 4 | 980048 | 41642.4615 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50111 | 231 | 265 | 18 | 44.3 | 2.5232 | -102.6461 | 0.021574 | 0.99763 | 0.052942 | 7.4452 | 0.65233 | **** | **** | 1.7261
13 | 4 | 980048 | 41642.4922 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 234 | 257 | 21 | 42.4567 | 2.2763 | -102.6712 | 0.019971 | 0.97989 | 0.048934 | 6.9897 | 0.57311 | **** | **** | 1.5936
14 | 4 | 980048 | 41642.4952 | 71.88 | 35.94 | -30 | -102.7 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 50000 | 232 | 253 | 21 | 42.0159 | 1.9475 | -102.6365 | 0.016624 | 0.93144 | 0.039965 | 7.3322 | 0.4733 | **** | **** | 1.3699
9 | 5 | 980048 | 41642.4644 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125746 | 581 | 254 | 51 | 15.5385 | 1.0349 | -109.2403 | 0.030803 | 1.1456 | 0.088068 | 7.417 | 0.46402 | **** | **** | 1.6016
10 | 5 | 980048 | 41642.4719 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 578 | 259 | 39 | 16.2503 | 1.2504 | -109.2572 | 0.036612 | 1.2047 | 0.11055 | 7.5631 | 0.59901 | **** | **** | 1.8707
11 | 5 | 980048 | 41642.4786 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 577 | 245 | 44 | 16.2284 | 1.1348 | -109.2371 | 0.033422 | 1.1937 | 0.097889 | 7.3 | 0.53716 | **** | **** | 1.7261
12 | 5 | 980048 | 41642.4854 | 71.88 | 35.94 | -30 | -109.25 | 17 | -108.22 | -10.2 | 64.325 | 0 | OFF | 32 | 125000 | 578 | 238 | 58 | 14.3446 | 0.89349 | -109.2695 | 0.028506 | 1.1328 | 0.082312 | 7.7861 | 0.40357 | **** | **** | 1.3905
[21 empty] | -48.0139 | 0.0050556
[21 empty] | -56.0907 | 0.0055528
[21 empty] | -83.45 | 0.0075152
[21 empty] | -102.6523 | 0.010455
[21 empty] | -109.251 | 0.016238