## Navigation
Filename | 980010 | Run | Header start | Header end | Data start | Data end | PHI | SIG | MON | TIME | VAR | VARCOL
Number of runs | 13 | 1 | 5 | 15 | 18 | 40 | 2 | 5 | 4 | 3 | YPOS | 11
Parsed? | YES | 2 | 45 | 55 | 58 | 80 | 2 | 5 | 4 | 3 | YPOS | 11
Last row | 520 | 3 | 85 | 95 | 98 | 120 | 2 | 5 | 4 | 3 | YPOS | 11
Number of columns in STRAINS worksheet | 19 | 4 | 125 | 135 | 138 | 160 | 2 | 5 | 4 | 3 | YPOS | 11
First drive column in STRAINS worksheet | 5 | 5 | 165 | 175 | 178 | 200 | 2 | 5 | 4 | 3 | YPOS | 11
Last drive column in STRAINS worksheet | 13 | 6 | 205 | 215 | 218 | 240 | 2 | 5 | 4 | 3 | YPOS | 11
Number of Grids | 0 | 7 | 245 | 255 | 258 | 280 | 2 | 5 | 4 | 3 | YPOS | 11
Instrument | L3 | 8 | 285 | 295 | 298 | 320 | 2 | 5 | 4 | 3 | YPOS | 11
|  | 9 | 325 | 335 | 338 | 360 | 2 | 5 | 4 | 3 | YPOS | 11
|  | 10 | 365 | 375 | 378 | 400 | 2 | 5 | 4 | 3 | YPOS | 11
|  | 11 | 405 | 415 | 418 | 440 | 2 | 5 | 4 | 3 | YPOS | 11
|  | 12 | 445 | 455 | 458 | 480 | 2 | 5 | 4 | 3 | YPOS | 11
|  | 13 | 485 | 495 | 498 | 520 | 2 | 5 | 4 | 3 | YPOS | 11

## Strains
Run | Record | File | Date/Time | 2TM | TMFR | PSI | PHI | DSRD | XPOS | YPOS | ZPOS | DSTD | OSC | # points | Monitor | Time(s) | Max | Min
1 | 1 | 980010 | 2013-09-23 09:28 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 100.8 | -11.7 | 80 | 0 | OFF | 23 | 11000 | 41 | 202 | 58
2 | 2 | 980010 | 2013-09-23 09:45 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 107.8 | -11.5 | 80 | 0 | OFF | 23 | 16000 | 59 | 262 | 81
3 | 3 | 980010 | 2013-09-23 10:09 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 116.8 | -12.5 | 80 | 0 | OFF | 23 | 16000 | 60 | 191 | 91
4 | 4 | 980010 | 2013-09-23 10:33 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 125.8 | -11.6 | 80 | 0 | OFF | 23 | 16000 | 59 | 245 | 86
5 | 5 | 980010 | 2013-09-23 10:57 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 132.8 | -12.1 | 80 | 0 | OFF | 23 | 11000 | 41 | 175 | 65
6 | 6 | 980010 | 2013-09-23 11:21 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 126.8 | -11.7 | 80 | 0 | OFF | 23 | 14000 | 52 | 211 | 73
7 | 7 | 980010 | 2013-09-23 12:34 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 103.8 | -11.8 | 80 | 0 | OFF | 23 | 14000 | 52 | 258 | 76
8 | 8 | 980010 | 2013-09-23 12:55 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 111.8 | -12.3 | 80 | 0 | OFF | 23 | 16000 | 59 | 224 | 99
9 | 9 | 980010 | 2013-09-23 13:19 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 120.8 | -12.4 | 80 | 0 | OFF | 23 | 16000 | 59 | 218 | 91
10 | 10 | 980010 | 2013-09-23 13:43 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 129.8 | -12.1 | 80 | 0 | OFF | 23 | 14000 | 52 | 226 | 71
11 | 11 | 980010 | 2013-09-23 15:03 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 105.8 | -11.6 | 80 | 0 | OFF | 23 | 14000 | 51 | 241 | 72
12 | 12 | 980010 | 2013-09-23 15:24 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | -128.8 | -11.9 | 80 | 0 | OFF | 23 | 14000 | 52 | 53 | 29
13 | 12 | 980010 | 2013-09-23 15:49 | 71.87 | 35.935 | -45.1 | -90.2 | 9 | 128.8 | -11.9 | 80 | 0 | OFF | 23 | 14000 | 52 | 245 | 81

## 980010
Runs = | 2
Run : 1 Seq 1 Rec 1 File L3A:980010 Date 23-SEP-2013 09:27:51.38
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 11 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 100.800 YPOS= -11.700 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.4981 | 99.3771 | 0.13625 | 70.7652 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.69 | 41 | 11000 | 170 | 170.1422 | 0.00011899 | 1.3681
2 | -11.765 | 40 | 11000 | 159 | 170.1422 | 0.78081
3 | -11.815 | 42 | 11000 | 190 | 170.1422 | 2.0754
4 | -11.875 | 40 | 11000 | 161 | 170.1422 | 0.51913
5 | -11.935 | 40 | 11000 | 183 | 170.1422 | 0.9034
6 | -11.99 | 41 | 11000 | 149 | 170.1422 | 3
7 | -12.04 | 41 | 11000 | 172 | 170.1422 | 0.020066
8 | -12.095 | 41 | 11000 | 202 | 170.1422 | 5.0243
9 | -12.145 | 40 | 11000 | 164 | 170.1422 | 0.23004
10 | -12.2 | 41 | 11000 | 157 | 170.1422 | 1.1001
11 | -12.255 | 41 | 11000 | 168 | 170.1422 | 0.027316
12 | -12.32 | 41 | 11000 | 163 | 169.8696 | 0.28952
13 | -12.37 | 41 | 11000 | 172 | 164.5989 | 0.31847
14 | -12.425 | 40 | 11000 | 153 | 151.0458 | 0.024961
15 | -12.485 | 41 | 11000 | 118 | 126.9944 | 0.68559
16 | -12.53 | 41 | 11000 | 112 | 105.3426 | 0.39572
17 | -12.585 | 41 | 11000 | 88 | 85.7014 | 0.060042
18 | -12.655 | 41 | 11000 | 68 | 72.4539 | 0.29173
19 | -12.695 | 41 | 11000 | 65 | 70.7652 | 0.51134
20 | -12.755 | 41 | 11000 | 79 | 70.7652 | 0.85839
21 | -12.815 | 41 | 11000 | 85 | 70.7652 | 2.3839
22 | -12.86 | 40 | 11000 | 76 | 70.7652 | 0.36057
23 | -12.915 | 41 | 11000 | 58 | 70.7652 | 2.8095
Run : 2 Seq 2 Rec 2 File L3A:980010 Date 23-SEP-2013 09:45:18.85
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 16 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 107.800 YPOS= -11.500 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.1968 | 139.165 | 0.22503 | 90.6661 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.495 | 58 | 16000 | 239 | 229.831 | 0.35176 | 1.0812
2 | -11.565 | 60 | 16000 | 253 | 229.831 | 2.1217
3 | -11.62 | 58 | 16000 | 221 | 229.831 | 0.35288
4 | -11.67 | 59 | 16000 | 238 | 229.831 | 0.28039
5 | -11.735 | 59 | 16000 | 237 | 229.831 | 0.21685
6 | -11.785 | 60 | 16000 | 262 | 229.831 | 3.9498
7 | -11.84 | 59 | 16000 | 214 | 229.831 | 1.1711
8 | -11.9 | 60 | 16000 | 226 | 229.5294 | 0.055118
9 | -11.95 | 59 | 16000 | 202 | 226.3637 | 2.9386
10 | -12 | 59 | 16000 | 238 | 219.7508 | 1.3993
11 | -12.065 | 59 | 16000 | 192 | 206.0004 | 1.0209
12 | -12.12 | 58 | 16000 | 205 | 189.8151 | 1.1248
13 | -12.17 | 59 | 16000 | 171 | 171.4817 | 0.0013569
14 | -12.225 | 59 | 16000 | 145 | 148.4322 | 0.08124
15 | -12.28 | 60 | 16000 | 130 | 128.5655 | 0.015829
16 | -12.33 | 59 | 16000 | 116 | 114.1245 | 0.030323
17 | -12.39 | 59 | 16000 | 109 | 101.3456 | 0.53752
18 | -12.45 | 59 | 16000 | 81 | 93.5307 | 1.9385
19 | -12.495 | 60 | 16000 | 85 | 90.9271 | 0.41331
20 | -12.56 | 59 | 16000 | 96 | 90.6661 | 0.29636
21 | -12.615 | 59 | 16000 | 98 | 90.6661 | 0.54884
22 | -12.66 | 59 | 16000 | 85 | 90.6661 | 0.3777
23 | -12.73 | 59 | 16000 | 98 | 90.6661 | 0.54884
Run : 3 Seq 3 Rec 3 File L3A:980010 Date 23-SEP-2013 10:08:56.62
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 16 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 116.800 YPOS= -12.500 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -13.2483 | 70.1809 | 0.16295 | 99.6093 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -12.49 | 60 | 16000 | 191 | 169.7902 | 2.3553 | 1.0655
2 | -12.565 | 60 | 16000 | 183 | 169.7902 | 0.95355
3 | -12.615 | 60 | 16000 | 175 | 169.7902 | 0.1551
4 | -12.675 | 60 | 16000 | 177 | 169.7902 | 0.29368
5 | -12.74 | 60 | 16000 | 160 | 169.7902 | 0.59905
6 | -12.78 | 59 | 16000 | 160 | 169.7902 | 0.59905
7 | -12.835 | 60 | 16000 | 182 | 169.7902 | 0.81912
8 | -12.895 | 60 | 16000 | 151 | 169.7902 | 2.3382
9 | -12.945 | 59 | 16000 | 176 | 169.7902 | 0.2191
10 | -13 | 59 | 16000 | 191 | 169.7902 | 2.3553
11 | -13.06 | 60 | 16000 | 177 | 168.6366 | 0.39518
12 | -13.115 | 58 | 16000 | 140 | 163.5885 | 3.9744
13 | -13.16 | 60 | 16000 | 164 | 156.4745 | 0.34533
14 | -13.23 | 61 | 16000 | 148 | 140.0704 | 0.42486
15 | -13.29 | 59 | 16000 | 123 | 123.1399 | 0.00015923
16 | -13.34 | 60 | 16000 | 118 | 112.3066 | 0.2747
17 | -13.395 | 59 | 16000 | 96 | 104.2192 | 0.7037
18 | -13.45 | 59 | 16000 | 91 | 100.1433 | 0.91869
19 | -13.505 | 59 | 16000 | 110 | 99.6093 | 0.98152
20 | -13.56 | 59 | 16000 | 92 | 99.6093 | 0.62936
21 | -13.62 | 60 | 16000 | 104 | 99.6093 | 0.18537
22 | -13.67 | 60 | 16000 | 98 | 99.6093 | 0.026426
23 | -13.725 | 60 | 16000 | 109 | 99.6093 | 0.80905
Run : 4 Seq 4 Rec 4 File L3A:980010 Date 23-SEP-2013 10:33:10.38
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 16 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 125.800 YPOS= -11.600 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.4086 | 128.4192 | 0.20618 | 90.7724 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.6 | 60 | 16000 | 224 | 219.1916 | 0.10322 | 1.1513
2 | -11.66 | 59 | 16000 | 235 | 219.1916 | 1.0634
3 | -11.725 | 60 | 16000 | 240 | 219.1916 | 1.8041
4 | -11.775 | 59 | 16000 | 215 | 219.1916 | 0.081719
5 | -11.835 | 60 | 16000 | 245 | 219.1916 | 2.7187
6 | -11.89 | 60 | 16000 | 209 | 219.1916 | 0.49698
7 | -11.94 | 60 | 16000 | 235 | 219.1916 | 1.0634
8 | -12 | 59 | 16000 | 220 | 219.1916 | 0.0029704
9 | -12.055 | 59 | 16000 | 215 | 219.1916 | 0.081719
10 | -12.105 | 59 | 16000 | 208 | 219.1916 | 0.60217
11 | -12.16 | 59 | 16000 | 197 | 217.822 | 2.2008
12 | -12.215 | 59 | 16000 | 198 | 211.9853 | 0.98783
13 | -12.27 | 59 | 16000 | 205 | 201.5635 | 0.057607
14 | -12.325 | 59 | 16000 | 185 | 186.5565 | 0.013096
15 | -12.385 | 60 | 16000 | 189 | 164.9559 | 3.0588
16 | -12.44 | 59 | 16000 | 128 | 141.8599 | 1.5008
17 | -12.495 | 60 | 16000 | 129 | 122.5079 | 0.32673
18 | -12.545 | 60 | 16000 | 114 | 108.8939 | 0.2287
19 | -12.6 | 60 | 16000 | 87 | 98.2954 | 1.4665
20 | -12.655 | 60 | 16000 | 93 | 92.282 | 0.0055426
21 | -12.715 | 59 | 16000 | 86 | 90.7724 | 0.26483
22 | -12.77 | 60 | 16000 | 103 | 90.7724 | 1.4516
23 | -12.82 | 59 | 16000 | 90 | 90.7724 | 0.0066289
Run : 5 Seq 5 Rec 5 File L3A:980010 Date 23-SEP-2013 10:56:49.82
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 11 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 132.800 YPOS= -12.100 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.65 | 91.4007 | 0.25303 | 73.7586 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -12.09 | 41 | 11000 | 155 | 165.1593 | 0.66589 | 0.72313
2 | -12.165 | 41 | 11000 | 150 | 165.1593 | 1.532
3 | -12.215 | 41 | 11000 | 154 | 165.1593 | 0.80864
4 | -12.28 | 41 | 11000 | 168 | 165.1593 | 0.048032
5 | -12.33 | 41 | 11000 | 175 | 164.663 | 0.61059
6 | -12.38 | 41 | 11000 | 160 | 162.4344 | 0.037039
7 | -12.445 | 40 | 11000 | 152 | 156.8601 | 0.1554
8 | -12.5 | 42 | 11000 | 151 | 149.7796 | 0.0098638
9 | -12.545 | 41 | 11000 | 153 | 142.3748 | 0.73787
10 | -12.61 | 41 | 11000 | 140 | 129.1183 | 0.8458
11 | -12.665 | 41 | 11000 | 105 | 115.6989 | 1.0902
12 | -12.72 | 41 | 11000 | 94 | 103.3008 | 0.92027
13 | -12.775 | 41 | 11000 | 96 | 93.0695 | 0.089456
14 | -12.83 | 41 | 11000 | 84 | 85.005 | 0.012024
15 | -12.885 | 40 | 11000 | 91 | 79.1072 | 1.5543
16 | -12.94 | 40 | 11000 | 79 | 75.3762 | 0.16623
17 | -13 | 41 | 11000 | 68 | 73.7772 | 0.49083
18 | -13.05 | 41 | 11000 | 76 | 73.7586 | 0.066103
19 | -13.105 | 41 | 11000 | 65 | 73.7586 | 1.1802
20 | -13.16 | 41 | 11000 | 85 | 73.7586 | 1.4867
21 | -13.215 | 40 | 11000 | 79 | 73.7586 | 0.34775
22 | -13.27 | 41 | 11000 | 74 | 73.7586 | 0.00078738
23 | -13.32 | 41 | 11000 | 66 | 73.7586 | 0.91206
Run : 6 Seq 1 Rec 6 File L3A:980010 Date 23-SEP-2013 11:21:26.49
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 126.800 YPOS= -11.700 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.414 | 108.6492 | 0.21371 | 87.6692 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.7 | 52 | 14000 | 199 | 196.3184 | 0.036134 | 1.2153
2 | -11.77 | 52 | 14000 | 208 | 196.3184 | 0.65605
3 | -11.82 | 52 | 14000 | 176 | 196.3184 | 2.3457
4 | -11.875 | 52 | 14000 | 204 | 196.3184 | 0.28925
5 | -11.935 | 52 | 14000 | 189 | 196.3184 | 0.28338
6 | -11.99 | 53 | 14000 | 210 | 196.3184 | 0.89136
7 | -12.04 | 52 | 14000 | 187 | 196.3184 | 0.46435
8 | -12.095 | 52 | 14000 | 209 | 196.3184 | 0.76948
9 | -12.15 | 52 | 14000 | 211 | 195.4718 | 1.1428
10 | -12.205 | 52 | 14000 | 183 | 191.1939 | 0.36688
11 | -12.26 | 52 | 14000 | 175 | 183.3054 | 0.39417
12 | -12.315 | 53 | 14000 | 191 | 171.8064 | 1.9288
13 | -12.37 | 52 | 14000 | 155 | 156.6969 | 0.018577
14 | -12.425 | 52 | 14000 | 138 | 138.1201 | 0.00010448
15 | -12.485 | 51 | 14000 | 108 | 119.4464 | 1.2132
16 | -12.53 | 52 | 14000 | 112 | 108.261 | 0.12482
17 | -12.585 | 52 | 14000 | 105 | 97.8722 | 0.48386
18 | -12.655 | 51 | 14000 | 88 | 89.872 | 0.039822
19 | -12.695 | 52 | 14000 | 96 | 87.9263 | 0.67901
20 | -12.75 | 53 | 14000 | 96 | 87.6692 | 0.72293
21 | -12.81 | 52 | 14000 | 105 | 87.6692 | 2.8605
22 | -12.86 | 52 | 14000 | 77 | 87.6692 | 1.4783
23 | -12.915 | 52 | 14000 | 73 | 87.6692 | 2.9478
Run : 7 Seq 1 Rec 7 File L3A:980010 Date 23-SEP-2013 12:33:58.56
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 103.800 YPOS= -11.800 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.38 | 144.8084 | 0.17651 | 87.2752 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.8 | 52 | 14000 | 221 | 232.0835 | 0.55586 | 1.1455
2 | -11.865 | 52 | 14000 | 251 | 232.0835 | 1.4256
3 | -11.915 | 52 | 14000 | 230 | 232.0835 | 0.018874
4 | -11.98 | 52 | 14000 | 212 | 232.0835 | 1.9026
5 | -12.03 | 52 | 14000 | 258 | 232.0835 | 2.6034
6 | -12.085 | 52 | 14000 | 246 | 232.0835 | 0.78727
7 | -12.145 | 52 | 14000 | 220 | 231.8506 | 0.63835
8 | -12.195 | 52 | 14000 | 240 | 227.2874 | 0.67337
9 | -12.245 | 52 | 14000 | 203 | 216.8938 | 0.95093
10 | -12.305 | 51 | 14000 | 194 | 196.7253 | 0.038284
11 | -12.365 | 52 | 14000 | 167 | 168.1609 | 0.0080696
12 | -12.42 | 52 | 14000 | 149 | 138.3236 | 0.765
13 | -12.47 | 51 | 14000 | 119 | 116.8407 | 0.039182
14 | -12.525 | 52 | 14000 | 99 | 99.9436 | 0.0089938
15 | -12.58 | 51 | 14000 | 78 | 90.1014 | 1.8775
16 | -12.64 | 53 | 14000 | 94 | 87.2752 | 0.4811
17 | -12.695 | 52 | 14000 | 99 | 87.2752 | 1.3886
18 | -12.75 | 52 | 14000 | 94 | 87.2752 | 0.4811
19 | -12.805 | 52 | 14000 | 76 | 87.2752 | 1.6728
20 | -12.865 | 52 | 14000 | 76 | 87.2752 | 1.6728
21 | -12.92 | 52 | 14000 | 94 | 87.2752 | 0.4811
22 | -12.96 | 52 | 14000 | 83 | 87.2752 | 0.2202
23 | -13.025 | 52 | 14000 | 100 | 87.2752 | 1.6192
Run : 8 Seq 2 Rec 8 File L3A:980010 Date 23-SEP-2013 12:55:11.74
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 16 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 111.800 YPOS= -12.300 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.9324 | 96.1569 | 0.24988 | 107.6653 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -12.285 | 61 | 16000 | 224 | 203.8222 | 1.8176 | 0.86344
2 | -12.365 | 59 | 16000 | 217 | 203.8222 | 0.80025
3 | -12.42 | 60 | 16000 | 202 | 203.8222 | 0.016438
4 | -12.48 | 59 | 16000 | 197 | 203.8222 | 0.23626
5 | -12.535 | 59 | 16000 | 207 | 203.8222 | 0.048785
6 | -12.58 | 59 | 16000 | 220 | 203.8222 | 1.1896
7 | -12.645 | 60 | 16000 | 193 | 202.1729 | 0.43597
8 | -12.7 | 60 | 16000 | 195 | 198.2277 | 0.053424
9 | -12.745 | 60 | 16000 | 214 | 193.2612 | 2.0098
10 | -12.81 | 59 | 16000 | 157 | 183.3251 | 4.4141
11 | -12.865 | 60 | 16000 | 182 | 172.3679 | 0.50977
12 | -12.92 | 59 | 16000 | 164 | 159.0734 | 0.148
13 | -12.98 | 59 | 16000 | 145 | 143.6527 | 0.01252
14 | -13.035 | 59 | 16000 | 145 | 131.8511 | 1.1924
15 | -13.085 | 59 | 16000 | 113 | 123.1506 | 0.91181
16 | -13.135 | 60 | 16000 | 119 | 116.3818 | 0.057607
17 | -13.195 | 59 | 16000 | 103 | 110.809 | 0.59204
18 | -13.245 | 60 | 16000 | 104 | 108.2898 | 0.17695
19 | -13.305 | 60 | 16000 | 113 | 107.6653 | 0.25185
20 | -13.36 | 60 | 16000 | 111 | 107.6653 | 0.10018
21 | -13.41 | 59 | 16000 | 111 | 107.6653 | 0.10018
22 | -13.47 | 60 | 16000 | 116 | 107.6653 | 0.59886
23 | -13.53 | 59 | 16000 | 99 | 107.6653 | 0.75846
Run : 9 Seq 3 Rec 9 File L3A:980010 Date 23-SEP-2013 13:18:58.02
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 16 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 120.800 YPOS= -12.400 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -13.1284 | 88.1723 | 0.17082 | 103.2165 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -12.385 | 59 | 16000 | 193 | 191.3889 | 0.013449 | 1.2264
2 | -12.465 | 59 | 16000 | 217 | 191.3889 | 3.0227
3 | -12.525 | 59 | 16000 | 202 | 191.3889 | 0.55741
4 | -12.58 | 59 | 16000 | 218 | 191.3889 | 3.2484
5 | -12.635 | 60 | 16000 | 206 | 191.3889 | 1.0363
6 | -12.68 | 59 | 16000 | 168 | 191.3889 | 3.2562
7 | -12.735 | 59 | 16000 | 179 | 191.3889 | 0.85745
8 | -12.79 | 60 | 16000 | 192 | 191.3889 | 0.0019452
9 | -12.845 | 60 | 16000 | 183 | 191.3889 | 0.38455
10 | -12.9 | 59 | 16000 | 187 | 191.2653 | 0.09729
11 | -12.955 | 59 | 16000 | 192 | 187.9077 | 0.087225
12 | -13.015 | 60 | 16000 | 185 | 179.014 | 0.19369
13 | -13.075 | 59 | 16000 | 161 | 164.662 | 0.083294
14 | -13.12 | 59 | 16000 | 158 | 150.3161 | 0.37368
15 | -13.185 | 60 | 16000 | 113 | 129.0332 | 2.2749
16 | -13.23 | 60 | 16000 | 120 | 117.9776 | 0.034085
17 | -13.29 | 59 | 16000 | 129 | 108.0127 | 3.4145
18 | -13.355 | 59 | 16000 | 94 | 103.3768 | 0.93537
19 | -13.405 | 59 | 16000 | 107 | 103.2165 | 0.13378
20 | -13.45 | 59 | 16000 | 110 | 103.2165 | 0.41832
21 | -13.52 | 59 | 16000 | 111 | 103.2165 | 0.54579
22 | -13.57 | 60 | 16000 | 91 | 103.2165 | 1.64
23 | -13.615 | 59 | 16000 | 101 | 103.2165 | 0.048643
Run : 10 Seq 4 Rec 10 File L3A:980010 Date 23-SEP-2013 13:42:49.46
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 129.800 YPOS= -12.100 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.5981 | 116.7172 | 0.12712 | 90.25 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -12.1 | 52 | 14000 | 188 | 206.9672 | 1.9136 | 1.945
2 | -12.16 | 52 | 14000 | 226 | 206.9672 | 1.6029
3 | -12.22 | 52 | 14000 | 220 | 206.9672 | 0.77206
4 | -12.28 | 52 | 14000 | 210 | 206.9672 | 0.043799
5 | -12.33 | 52 | 14000 | 200 | 206.9672 | 0.24271
6 | -12.385 | 51 | 14000 | 197 | 206.9672 | 0.50429
7 | -12.445 | 52 | 14000 | 202 | 205.705 | 0.067955
8 | -12.5 | 53 | 14000 | 208 | 194.9631 | 0.81712
9 | -12.545 | 52 | 14000 | 174 | 178.0203 | 0.09289
10 | -12.615 | 52 | 14000 | 129 | 138.1171 | 0.64436
11 | -12.67 | 51 | 14000 | 128 | 111.2026 | 2.2043
12 | -12.725 | 52 | 14000 | 88 | 95.2505 | 0.59739
13 | -12.78 | 52 | 14000 | 118 | 90.25 | 6.526
14 | -12.835 | 53 | 14000 | 96 | 90.25 | 0.3444
15 | -12.885 | 52 | 14000 | 97 | 90.25 | 0.46972
16 | -12.94 | 51 | 14000 | 106 | 90.25 | 2.3402
17 | -13 | 51 | 14000 | 75 | 90.25 | 3.1008
18 | -13.055 | 52 | 14000 | 88 | 90.25 | 0.057527
19 | -13.105 | 52 | 14000 | 73 | 90.25 | 4.0762
20 | -13.155 | 52 | 14000 | 92 | 90.25 | 0.033289
21 | -13.215 | 52 | 14000 | 107 | 90.25 | 2.6221
22 | -13.265 | 53 | 14000 | 96 | 90.25 | 0.3444
23 | -13.325 | 52 | 14000 | 71 | 90.25 | 5.2192
Run : 11 Seq 1 Rec 11 File L3A:980010 Date 23-SEP-2013 15:02:41.89
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 105.800 YPOS= -11.600 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.2893 | 135.6387 | 0.216 | 85.6533 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.6 | 52 | 14000 | 225 | 221.2921 | 0.061106 | 1.1956
2 | -11.66 | 52 | 14000 | 215 | 221.2921 | 0.18414
3 | -11.725 | 51 | 14000 | 221 | 221.2921 | 0.00038599
4 | -11.78 | 51 | 14000 | 241 | 221.2921 | 1.6116
5 | -11.835 | 52 | 14000 | 212 | 221.2921 | 0.40728
6 | -11.89 | 52 | 14000 | 237 | 221.2921 | 1.0411
7 | -11.94 | 52 | 14000 | 206 | 221.2921 | 1.1352
8 | -12 | 53 | 14000 | 225 | 221.1127 | 0.067161
9 | -12.055 | 52 | 14000 | 203 | 217.6482 | 1.057
10 | -12.11 | 52 | 14000 | 209 | 209.7714 | 0.0028471
11 | -12.16 | 52 | 14000 | 203 | 198.7817 | 0.087657
12 | -12.215 | 52 | 14000 | 190 | 182.4811 | 0.29755
13 | -12.27 | 52 | 14000 | 148 | 161.7681 | 1.2808
14 | -12.33 | 53 | 14000 | 140 | 136.5611 | 0.084473
15 | -12.38 | 52 | 14000 | 141 | 119.1157 | 3.3966
16 | -12.44 | 53 | 14000 | 100 | 102.9948 | 0.089685
17 | -12.495 | 52 | 14000 | 78 | 92.8302 | 2.8197
18 | -12.55 | 52 | 14000 | 93 | 87.0781 | 0.37708
19 | -12.605 | 52 | 14000 | 90 | 85.6533 | 0.20993
20 | -12.66 | 53 | 14000 | 101 | 85.6533 | 2.3319
21 | -12.715 | 52 | 14000 | 84 | 85.6533 | 0.032542
22 | -12.77 | 52 | 14000 | 90 | 85.6533 | 0.20993
23 | -12.825 | 51 | 14000 | 72 | 85.6533 | 2.5891
Run : 12 Seq 2 Rec 12 File L3A:980010 Date 23-SEP-2013 15:23:40.22
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS=-128.800 YPOS= -11.900 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line.
POINT | YPOS | TIME | MON= DB | SIG= IC
1 | -11.895 | 52 | 14000 | 33
2 | -11.965 | 52 | 14000 | 53
3 | -12.015 | 52 | 14000 | 40
4 | -12.08 | 52 | 14000 | 47
5 | -12.13 | 52 | 14000 | 36
6 | -12.185 | 52 | 14000 | 35
7 | -12.24 | 52 | 14000 | 39
8 | -12.295 | 52 | 14000 | 39
9 | -12.35 | 51 | 14000 | 42
10 | -12.4 | 52 | 14000 | 29
11 | -12.455 | 52 | 14000 | 46
12 | -12.52 | 52 | 14000 | 44
13 | -12.575 | 52 | 14000 | 39
14 | -12.63 | 52 | 14000 | 39
15 | -12.685 | 52 | 14000 | 33
16 | -12.74 | 51 | 14000 | 47
17 | -12.795 | 51 | 14000 | 41
18 | -12.85 | 52 | 14000 | 50
19 | -12.905 | 52 | 14000 | 33
20 | -12.95 | 53 | 14000 | 51
21 | -13.02 | 52 | 14000 | 49
22 | -13.06 | 52 | 14000 | 40
23 | -13.115 | 52 | 14000 | 34
Run : 13 Seq 1 Rec 12 File L3A:980010 Date 23-SEP-2013 15:48:31.02
Mode: MW_ANGLE Npts 23 Rpts 0
Cmon: Mon1[ DB]= 1000 * 14 Mon2[CF]=* 0
Temp: Temperature control hardware not installed.
Monx: [ 0.00000]# 0
Anax: [ 0.00000]# 0
Drv : 2TM= 71.870 TMFR= 35.935 PSI= -45.100 PHI= -90.200 DSRD= 9.000
Drv : XPOS= 128.800 YPOS= -11.900 ZPOS= 80.000 DSTD= 0.000
Osc : DRIVE oscillation during count OFF.
Nam : Use NAME command to store text on this line.
Com : Use COMMENT command to store text on this line. | [6 empty] | Xcentre | Amp | Width | Back | PHI
[7 empty] | -12.4944 | 132.9599 | 0.2542 | 85.6503 | 90.2
POINT | YPOS | TIME | MON= DB | SIG= IC | Calc | Error | CHI2
1 | -11.895 | 53 | 14000 | 225 | 218.6102 | 0.18146 | 1.0011
2 | -11.965 | 53 | 14000 | 176 | 218.6102 | 10.3161
3 | -12.02 | 52 | 14000 | 195 | 218.6102 | 2.8587
4 | -12.07 | 52 | 14000 | 233 | 218.6102 | 0.88869
5 | -12.135 | 52 | 14000 | 218 | 218.6102 | 0.0017082
6 | -12.185 | 53 | 14000 | 245 | 217.3483 | 3.1209
7 | -12.24 | 53 | 14000 | 223 | 212.9792 | 0.4503
8 | -12.29 | 52 | 14000 | 199 | 206.2972 | 0.26758
9 | -12.345 | 52 | 14000 | 179 | 195.9659 | 1.6081
10 | -12.405 | 52 | 14000 | 169 | 181.1336 | 0.87115
11 | -12.46 | 52 | 14000 | 186 | 164.2723 | 2.5381
12 | -12.52 | 53 | 14000 | 143 | 142.9917 | 4.8616e-07
13 | -12.565 | 52 | 14000 | 140 | 128.5528 | 0.93599
14 | -12.62 | 52 | 14000 | 103 | 113.7444 | 1.1208
15 | -12.69 | 52 | 14000 | 94 | 99.4142 | 0.31185
16 | -12.73 | 53 | 14000 | 99 | 93.4968 | 0.30591
17 | -12.785 | 52 | 14000 | 88 | 88.0576 | 3.7755e-05
18 | -12.855 | 51 | 14000 | 92 | 85.6503 | 0.43824
19 | -12.9 | 52 | 14000 | 81 | 85.6503 | 0.26698
20 | -12.95 | 52 | 14000 | 85 | 85.6503 | 0.0049758
21 | -13.015 | 52 | 14000 | 86 | 85.6503 | 0.0014216
22 | -13.07 | 52 | 14000 | 85 | 85.6503 | 0.0049758
23 | -13.115 | 52 | 14000 | 87 | 85.6503 | 0.020938